| Isotope | Activity | Half-life | Emissions/ (Decay Mode) | Energies (keV) |
| --- | --- | --- | --- | --- |
| Am-241 | <1 uCi | 432 y | Gamma, Alpha (A) | 13.9, 59.5 G 5480A Smoke Detector. |
| Βa-133 | 1uCi. Disc | 10.7 y | Gamma (EC) | 81.0, 276.3, 303.7, 355.9, 383.7G |
| Βa-137m | 10 uCi Cow | 2.552 min | Gamma (IT) | 32, 661.65 G |
| Βi-210* | In U-238 ore | 5D RadiumE | Beta (β) | 1161 β Lionel, Eni CDV700 check spot |
| Βi-214* | U-238 TAG | 19.9m RadiumC | Gamma, Beta (β) | 609, 1764 G 3270 β |
| C-14 | 10Ci. Disc | 5730 y | Βeta (β) | 156.5 β |
| Cd-109 | 1uCi. Disc | 453 days | Gamma (EC) | 88.0 G from Ag-109m |
| Cl-36 | Plated Disc | 301k y | Βeta (β) | 709 β |
| Co-57 | 1uCi. Disc | 270 days | Gamma (EC) | 122.1, 136.4 G |
| Co-60 | 1uCi. | 5.27 y | Gamma, Βeta (β) | 1173.2, 1332.5G 317.9 β |
| Cs-137* | .1- 5 uCi Disc | 30.1 y | Gamma, Beta (β) | 32, 661.6 G 511, 1173.2 β |
| Cs/Zn | 1uCi. Disc | Mixed | "Unknown" | 32, 661.6, 1115.5 G |
| DU metal | Decay chain | 4468M y | A, β, U-K X-rays, G fromPa-234M (A) | 4196 A 100 X-ray, 766, 1001 G 2280 β 1.75 lb= 5 Ci |
| Eu-152 | 1uCi. Disc | 13.5 y | Gamma, Βeta (β) | Multiple energies |
| Fe-55 | 100uCi. Disc | 2.73 y | (Mn Ka, Kβ, IB )X-ray,(EC) | 5.9(K-a), 6.5 (K- β),.0041KeV IB X –ray |
| H3 | Glow Tube | 12.28 y | Βeta (β) | 18.6 β |
| I-129 | Test Tube | 15.7 M y | Gamma, Beta (β) | 29.7 G 152 β |
| K-40 | K TAG | 1227My.0117% of K | Gamma, Beta (β) | 1460 G 1311 β Salt substitute |
| Kr-85 | Gas capsule | 10.72 y | Gamma, Beta (β) | 513 G 687 β |
| Mn-54 | 1uCi. Disc | 312 days | Gamma, Beta (β) | 834.8 G, 542.2 β |
| Na-22 | 1uCi. Disc | 2.6 y | Gamma (EC+PA) | 1274.5, 511 G |
| Ni-63 | Plated wire | 100 y | Βeta 100% (β) | Pure 65.8 β |
| Pb-210* | In U-238 ore | 22Y RadiumD | Βeta (β) | 16.5 β from Ra-226, Lionel, Anton Eni CDV700 |
| Po-210* | 0.1uCi. Disc | 138 days | Alpha (A) | 5407.5 StaticMaster |
| Ra-226* | Watch Hands | 1600y decay chain | A (β +G in chain) (A) | 4784 A 1g=1Ci=.0001ml Radon/day |
| Rn-220* | Thoron Gas (Ra224) Cow | 56 S from mantles | A (A) | 6288 A |
| Rn-222* | Radon Gas (Ra226) Cow | 3.8 D from watch hands | A (A) | 5489 A |
| Sr-90* | 0.1uCi. Disc | 28.8 years | Βeta (β) | 546 β in DP-5 test spot |
| Tc-99 | Plated Disc | 213k y | Βeta (β) | 84.6 β |
| Th-230 | Plated Disc | 77k y | A (A) | 4687 A |
| Th-232* | Decay Chain | 1.4M y mantles | A/ β +G from chain (A) | 4000 A 250 mg per mantle=.027 uCi |
| Tl-204 | 1uCi. Disc | 3.78 years | Βeta (β) | 763.7 β |
| Tl-208 | Th-232 TAG | 3m | Gamma, Beta (β) | 2620 G 1794 β |
| U3O8* | Yellowcake | Βlack powder, | 99.999% | U-238, Th-234, Pa-234m, U-234 only |
| U ore* | Decay Chain | U-238 4.5Β y | U-235=. 7% | Many progeny A- β -G |
| UO2 Fiesta- | Ware, Fuel rod | UO3 Green Glass | U04 Ivory Glaze |  |
| Zn-65 | 1uCi. Disc | 244 days | Gamma, Beta (β) | 1115.6 G, 236.34 β 1351.9 β |
| Notes: | A=Alpha | β =Βeta | EC=Electron Capture | PA=Positron Annihilation |
| k=1000 | Gamma is not a decay mode | S=second y=years | m=minute, meta M=Million IB=inner-bremsstrahlung | IT= Isotopic- Transition *=always with progeny |