###### SPECTECH

Price List        Domestic Dealer

Jan 1, 2007

|  |  | Geiger-Mueller Counting Systems. | Dom | Dealer |
| --- | --- | --- | --- | --- |
|  |  | Radioactivity Demonstrator |  |  |
| New | Windows or Mac | This complete system is ideal for demonstrating the properties of radiation using a PC or Macintosh computer. The ST370 Radiation Counter interfaces to a computer via a USB port and provides complete control of high voltage and preset time. Data is stored in spreadsheet compatible files for exporting to Excel. The software displays counts, time, analog or digital countrate and HV setting. Supplied complete with interface, software, GM detector and stand, 11 radiation absorbers, a set of 3 alpha, beta and gamma sources and connecting cables. The system will also support a scintillation detector (not included) for measuring low activity gamma radiation. |  |  |
|  | ST370 | Radiatiion Counter interface |  |  |
|  | GP25 | Complete detector assembly with GM 25 probe, GMS 25 stand and cable |  |  |
|  | RAS11 | Set of 11 radiation absorbers |  |  |
|  | RSS-3 | Set of three sources, 1ea. Alpha, Beta and Gamma solid discs |  |  |
|  | USB-6 | USB cable, 6ft. |  |  |
|  | LM 4 | Nuclear Science Experiments Manuals for instructors and students with sample data. CD version |  |  |
|  |  | Ordering Information. ST370-PC /MAC. System Price. | $830 | $732 |
|  |  | Basic Nuclear Lab System. |  |  |
|  | Windows or Mac | A complete student nuclear lab station with built-in Geiger-Mueller counter, scaler with preset time, large 6-decade LED display, variable high voltage, sample positioning tray, 11-piece absorber set, and serial interface with DATALINK software for data transfer to PC or MAC. System includes alpha, beta and gamma radioisotope sources, experiment manuals, serial cable and software for PC or MAC. System consists of: |  |  |
|  | ST150 | Nuclear Lab Station with GM counter, serial interface and DATALINK software. |  |  |
|  | SDL-6 | Serial cable for PC or MAC computer. |  |  |
|  | RSS-3 | Set of three sources, 1ea. Alpha, Beta and Gamma solid discs. |  |  |
|  | LM 4 | Nuclear Science Experiments Manuals for instructors and students with sample data. CD version. |  |  |
| . |  | Ordering Information. ST150-PC for IBM-PC compatibles. System Price. | $960 | $827 |
| . |  | ST150-MAC for MACINTOSH computers. System Price. | $960 | $827 |
|  |  | Introductory Nuclear Lab System. |  |  |
|  | Windows or DOS | A portable battery powered analog ratemeter system complete with Geiger-Mueller detector and stand, alpha, beta and gamma radioisotope sources, 20-piece absorber set, serial cable and software for connecting to PC. An excellent system for demonstrating the characteristics of radiation. Use with PC for group displays. System consists of: |  |  |
|  | ST250 | Ratemeter with PC interface and RADEM software. |  |  |
|  | GP 25 | Complete detector assembly with GM 25 probe, GMS 25 stand and cable. |  |  |
|  | RAS 20 | Calibrated Absorber Set, 20 absorbers 5-7000 mg/cm2 range. |  |  |
|  | SDL-6 | Serial cable for PC, DB-9S/DB-9M connectors, 6ft.length. |  |  |
|  | RSS-3 | Set of three source, 1ea. Alpha, Beta and Gamma solid discs. |  |  |
|  | LM 4 | Nuclear Science Experiments Manuals for instructors and students with sample data. CD version. |  |  |
| . |  | Ordering Information. ST250-PC for IBM-PC compatibles. System Price. | $1010 | $887 |

|  |  | Intermediate Nuclear Lab System | Dom | Dealer |
| --- | --- | --- | --- | --- |
|  | Windows or MAC | The Intermediate System features the new ST360 Radiation Counter which is a direct replacement for the popular ST350. The counter has been upgraded to include both serial and USB interfaces for connection to PC or Macintosh computers and now includes support for optional NaI(Tl) scintillation detectors. As supplied, the system is ideally suited for studying the characteristics of radiation and conducting a wide variety of experiments. Features include preset time and preset count modes, a digital ratemeter with audible alarm point and digitally controlled high voltage. Included are an external GM counter and stand with 10-position slots, USB cable, LABLINK software for computer control and data transfer with PC or MAC, five radioisotope sources, 20-piece absorber set, lab manuals on CD with sample data and necessary cables. The complete system consists of: |  |  |
|  | ST360 | Radiation Counter with LABLINK software for PC and Macintosh. |  |  |
|  | GP 35 | Complete detector assembly with GM 35 probe, GMS 35 stand and cable. |  |  |
|  | RAS 20 | Calibrated Absorber Set, 20 absorbers 5-7000 mg/cm2 range. |  |  |
|  | USB-6 | USB cable, 6ft. |  |  |
|  | RSS-5 | Set of five sources, 1 x Alpha, 2 x Beta, 2 x Gamma, solid discs. |  |  |
|  | LM 4 | Nuclear Science Experiments Manuals for instructors and students with sample data. CD version. |  |  |
|  |  | Ordering Information. ST360-PC/MAC. System Price. | $1385 | $1212 |

|  |  | Scintillation Spectroscopy Systems. |  |  |
| --- | --- | --- | --- | --- |
|  |  | SCA Spectrometer System for PC or Mac. |  |  |
|  | Windows Or Mac | This spectrometer system provides a complete solution for counting the activity of specific gamma ray emission from radioisotopes. The system includes a 38x38mm scintillation detector with stand, lead shield and cables, a single channel analyzer with high voltage supply, amplifier and adjustable counting window and a counter/timer for displaying the activity. Also included is a serial cable and software for optional connection to a computer if required, and a set of 4 gamma sources for calibration. System may also be configured with SP78W-2 well detector assembly at additional cost. |  |  |
|  | SPA 38 | Complete scintillation probe with SDA 38 detector, SDS 38 stand, shield and cables. |  |  |
|  | ST450 | Scintillation SCA with adjustable high voltage and amplifier. |  |  |
|  | ST360 | Radiation Counter with USB and serial computer interface and software for PC and Mac. |  |  |
|  | RSS-4 | Set of 4 gamma sources, Co-57, Cs-135, Co-60 and “unknown”. |  |  |
|  | BNC-3 | Interconnecting cable. |  |  |
|  | USB-6 | USB cable for PC or MAC. |  |  |
|  |  | Ordering Information. ST450-PC/MAC. System Price | $2890 | $2522 |
|  |  | Advanced Spectroscopy Lab for PC. |  |  |
|  | Windows | Designed for conducting a wide selection of spectroscopy experiments, the Advanced Lab features the ICS-1KPCI Integrated Computer Spectrometer for IBM compatible computers. This PCI plug-in card contains a computer controlled amplifier, high voltage, 1024 channel MCA, upper and lower level discriminators and multichannel scaling for half life and decay studies. The complete system includes a Na(Tl) scintillation detector with lead shield and multi-position sample stand, a set of 8 gamma emitting radioisotope sources including an “unknown”, MCA software with ISOMATCH peak identification and a lab manual of experiments in spectroscopy. |  |  |
|  | ICS-1KPCI | Integrated Computer Spectrometer for PC with MCA software. |  |  |
|  | SPA 38 | Complete scintillation probe with SDA 38 detector, SDS 38 stand shield and cables. |  |  |
|  | RSS-8 | Set of eight gamma sources including "unknown". |  |  |
|  | LM 3 | "Experiments in Gamma Spectroscopy" manual. CD version. |  |  |
|  |  | Ordering Information. ICS-1KPCI-PC for IBM-PC compatibles. System Price. | $3380 | $2946 |

| New |  | UCS-30 Advanced Spectroscopy Lab for PC | Dom | Dealer |
| --- | --- | --- | --- | --- |
|  | Windows 2000/XP | Designed for conducting a wide selection of spectroscopy experiments, the Advanced Lab features the UCS30-1K Universal Computer Spectrometer for IBM compatible computers running Windows 2000 or XP. This external multichannel analyzer connects through a USB port and includes a computer controlled amplifier, high voltage, 1024 channel MCA, upper and lower level discriminators and multichannel scaling for half life and decay studies. The complete system includes a Na(Tl) scintillation detector with lead shield and multi-position sample stand, a set of 8 gamma emitting radioisotope sources including an “unknown”, MCA software with ISOMATCH peak identification and a lab manual of experiments in spectroscopy. |  |  |
|  | UCS30-1K | Integrated Computer Spectrometer for PC with MCA software. |  |  |
|  | SPA 38 | Complete scintillation probe with SDA 38 detector, SDS 38 stand shield and cables. |  |  |
|  | USB-6 | USB cable. |  |  |
|  | RSS-8 | Set of eight gamma sources including "unknown". |  |  |
|  | LM 3 | "Experiments in Gamma Spectroscopy" manual. CD version. |  |  |
|  |  | Ordering Information. UCS30-PC. System Price. | $3695 | $3215 |

| New |  | Universal Computer Spectrometer-USB |  |  |
| --- | --- | --- | --- | --- |
|  | Windows 2000/XP | The UCS30 is an upgraded version of our popular UCS20 MCA. This new model is available in three memory sizes of 1024, 2048 and 4096 channels. Features included integrated preamplifier for scintillation detectors, computer controlled amplifier with shaping time and polarity selection, 0 to +2500 volt high voltage supply, multichannel scaling and Mossbauer interface. The USB interface offers full Plug and Play capability and connectivity to many types of PC computers running Windows 2000 or XP. Direct input to the ADC with gating capability allows coincidence operation using external signal processing. The Mossbauer Interface provides dwell times as short as 200(sec with multi-pass and MSB synchronization. Preamplifier power output (( 12V) allows connection of proportional counters and other detectors operating with external preamplifiers. When using charged particle or scintillation detectors, the conversion gain may be set to 256, 512 or 1024 channels. Available options include negative high voltage and ROI output for X-ray mapping. |  |  |
|  | UCS30-1K | Universal Computer Spectrometer, 1024 channels for PC with MCA software. | $2295 | $1951 |
|  | UCS30-2K | Universal Computer Spectrometer, 2048 channels for PC with MCA software. | $2495 | $2121 |
|  | UCS30-4K | Universal Computer Spectrometer, 4096 channels for PC with MCA software. | $2695 | $2291 |
|  |  | Optional Equipment. |  |  |
|  | UCS30-HV | Negative high voltage option for UCS30 | $195 | $166 |
|  | UCS30-ROI | ROI output option for UCS30 | $50 | $43 |
|  | PA-1 | Charge sensitve preamplifier for use with proportional counters and charged particle detectors. (Includes 6ft. power cable) | $395 | $336 |
|  | USB-6 | USB cable, 6ft. | 15 | 14 |
|  | MHV-6 | MHV/MHV high voltage cable, 6ft. | 35 | 32 |
|  | BNC-6 | BNC/BNC signal cable, 6ft. | 15 | 14 |

|  |  | Gamma Counter for Wipe and Tube Samples | Dom | Dealer |
| --- | --- | --- | --- | --- |
|  |  | This system combines the ST360 Radiation Counter with the SD78W-1 Scintillation Well Detector assembly for gross gamma counting of wipes and tube samples. The USB interface and software allows optional connection to a PC or Macintosh computer for data collection and storage. The system is supplied with a calibrated Cs-137 source for checking system integrity and quality control. |  |  |
|  | ST360 | Radiation Counter with LABLINK software for PC and Macintosh. |  |  |
|  | SP78W-1 | NaI(Tl) well detector 1.75x2 in. with 0.7x1.5 in. well, complete with stand, shield and single cable. |  |  |
|  | USB-6 | USB cable, 6ft. |  |  |
|  | Cs-137CTS.1 | Calibrated Cs-137 tube check source. |  |  |
|  |  | Ordering Information. ST360W-PC/MAC. System Price. | $2475 | $2192 |

|  |  | Instruments and Accessories |  |  |
| --- | --- | --- | --- | --- |
|  | Model | Description | Dom | Dealer |
|  | ST150P | Nuclear Lab Station with GM counter, 11 absorbers, and DATALINK software for PC. | $760 | $646 |
|  | ST150M | Nuclear Lab Station with GM counter, 11 absorbers, and DATALINK software for MAC. | 760 | 646 |
|  | ST250 | Ratemeter with PC interface and RADEM software. | 495 | 421 |
|  | ST360 | Radiation Counter with serial and USB interface and LABLINK software for PC and Macintosh. | 755 | 642 |
| New | ST370 | Radiation Counter with USB interface for PC and Macintosh, no display, computer operated. | 365 | 311 |
|  | ST400 | Scintillation Processor. Includes amplifier and high voltage supply for connecting detector to MCA. | 795 | 676 |
|  | ST450 | Scintillation SCA. Includes amplifier high voltage supply and single channel analyzer. | 925 | 787 |
| New | ICS-1KPCI | Integrated Computer Spectrometer, 1024 channels for PC with MCA, MCS and ISOMATCH software. | 1995 | 1696 |
| New | ICS-2KPCI | Integrated Computer Spectrometer, 2048 channels for PC with MCA, MCS and ISOMATCH software. | 2195 | 1866 |
| New | ICS-4KPCI | Integrated Computer Spectrometer, 1024 channels for PC with MCA, MCS and ISOMATCH software. | 2495 | 2121 |
| New | UCS30-1K | Universal Computer Spectrometer, 1024 channels, USB interface, with MCA software for PC. | 2295 | 1951 |
| New | UCS30-2K | Universal Computer Spectrometer, 2048 channels, USB interface, with MCA software for PC. | 2495 | 2121 |
| New | UCS30-4K | Universal Computer Spectrometer, 4096 channels, USB interface, with MCA software for PC. | 2695 | 2291 |
|  | GP 25 | Complete detector assembly with GM 25 probe, GMS 25 stand and cable. | 215 | 195 |
|  | GP 35 | Complete detector assembly with GM 35 probe, GMS 35 stand and cable. | 240 | 218 |
|  | GM 25 | Replacement Geiger Mueller Probe, 25mm end window for alpha, beta, gamma. | 110 | 99 |
|  | GM 35 | Replacement Geiger Mueller Probe, 35mm end window for alpha, beta, gamma. | 135 | 122 |
|  | GPI | GM Pulse Inverter | 195 | 166 |
|  | PA-1 | Charge Sensitive Preamp, use with prop. counter or charge particle detector, (6’ pwr cord included) | 395 | 336 |
|  | RAS 11 | Set of 11 absorbers | 50 | 45 |
|  | RAS 20 | Calibrated Absorber Set, 20 absorbers 5-7000 mg/cm2 range. | 100 | 90 |
|  | SPA 38 | Complete scintillation probe with SDA 38 detector, SDS 38 stand, shield and cables. | 1000 | 903 |
|  | SDA 38 | Replacement scintillation detector, 38mm x 38mm, with 12-pin PMT and integrated tube base. | 835 | 752 |
|  | SP78W-1 | NaI(Tl) well detector 1.75x2 in. with 0.7x1.5 in. well, complete with stand, shield and single cable. | 1600 | 1441 |
|  | SP78W-2 | NaI(Tl) well detector 1.75x2 in. with 0.7x1.5 in. well, complete with stand, shield and two cables. | 1600 | 1441 |
|  | SD78W | Replacement well detector for SP78W-1 and SP78W-2. 1.75x2 in. with 0.7x1.5 in. well. | 1015 | 914 |
|  | SD38 | Replacement NaI(Tl) detector 38mm x38mm with 12-pin PMT. For use with detachable tube base. | 745 | 671 |
|  | SD51 | NaI(Tl) detector 2x2 in. with 14-pin PMT | 875 | 788 |
|  | SD76 | NaI(Tl) detector 3x3 in. with 14-pin PMT. | 1295 | 1166 |
|  | TB38 | Tube base for 12-pin PMT. MHV and BNC connectors. | 205 | 185 |
|  | TB51 | Tube base for 14-pin PMT. MHV and BNC connectors. | 215 | 194 |
|  | TS51-1 | Vertical tube base and stand for 14-pin PMT. Includes single 6ft. MHV cable. | 250 | 225 |
|  | TS51-2 | Vertical tube base and stand for 14-pin PMT. Includes 6ft. BNC and MHV cables. | 265 | 239 |
|  | LS325 | Lead shield, ring construction, top plug, HT 15.25”, OD 7”, ID 3.25”, wall thickness 1.875” | 725 | 653 |
|  | LS473 | Lead shield, steel cased with rotating solid top, HT 18’, OD 8.6”, ID 4.375”. wall thickness 1.75” | 1895 | 1706 |
|  | LS562 | Lead shield, steel cased with rotating solid top, HT 18”, OD 8.6”, ID 5.625”, wall thickness 1.125” | 1775 | 1598 |
|  | EN26A | Lead shield, steel cased with split rotating top, HT 18”, OD 10”, ID 6”, wall thickness 1.75” | 1975 | 1778 |
|  | LSDISK35 | Lead shield for disk source, HT 3.8”, OD 1.8”, wall thickness 0.35” | 30 | 27 |
|  | LSDISK50 | Lead shield for disk source, HT 3.7”, OD 2.3”, wall thickness 0.50” | 30 | 27 |
|  | BNC-3 | BNC / BNC cable, 3ft. length. | 15 | 14 |
|  | BNC-6 | BNC / BNC cable, 6ft. length. | 15 | 14 |
|  | MHV-6 | MHV / MHV high voltage cable, 6ft. length. | 35 | 32 |
|  | SDL-6P | PC serial cable for ST150P, ST250 and ST360, DB-9S/DB-9M, 6ft.length. | 15 | 14 |
|  | SDL-6M | MAC serial cable for ST150M and ST360M, 8-pin MINIDIN/DB-9M, 6ft. length. | 15 | 14 |
|  | USB-6 | USB cable for UCS-20, ST360 and ST370. | 15 | 14 |
|  | LM 3 | Spectroscopy manual "Experimental Gamma-Ray Spectroscopy". CD version. | 25 | 23 |
|  | LM 4 | Nuclear Science Experiments Manuals for instructors and students with sample data. CD version. | 50 | 45 |

Radioisotopes

Radioisotopes are exempt from NRC licensing and require no special handling, storage or disposal.

Disc and Laminate Sources

These general purpose uncalibrated check sources are supplied as 1 in. diameter solid discs or in plastic laminate.

Calibrated gamma sources and other activities are available on special order.

|  | Model | Activity | Description | Half-Life | Dom | Dealer |
| --- | --- | --- | --- | --- | --- | --- |
|  | Ba-133S | 1 Ci | Solid source, 1 in. disc, gamma. | 10.7 years | $45 | $41 |
|  | Cd-109S | 1 Ci | Solid source, 1 in. disc, gamma. | 453 days | 45 | 41 |
|  | Co-57S | 1 Ci | Solid source, 1 in. disc, gamma. | 270 days | 45 | 41 |
|  | Co-60S | 1 Ci | Solid source, 1 in. disc, gamma. | 5.27 years | 45 | 41 |
| New | Cs-137S.2 | 0.2 Ci | Solid source, 1 in. disc, beta and gamma. | 30.1 years | 45 | 41 |
| New | Cs-137S.5 | 0.5 Ci | Solid source, 1 in. disc, beta and gamma. | 30.1 years | 45 | 41 |
|  | Cs-137S | 1 Ci | Solid source, 1 in. disc, beta and gamma. | 30.1 years | 45 | 41 |
|  | Cs-137S5 | 5 Ci | Solid source, 1 in. disc, beta and gamma. | 30.1 years | 45 | 41 |
|  | Cs/ZnS | 1 Ci | Solid source, 1 in. disc, mixture of Cs-137 and Zn-65 ("unknown"). | Mixed | 45 | 41 |
|  | Eu-152 | 1 Ci | Solid source, 1 in. disc, gamma. | 13.5 years | 85 | 77 |
|  | Mn-54S | 1 Ci | Solid source, 1 in. disc, gamma. | 312 days | 45 | 41 |
|  | Na-22S | 1 Ci | Solid source, 1 in. disc, gamma. | 2.6 years | 45 | 41 |
|  | Po-210S | 0.1Ci | Solid source, 1 in. disc, alpha. | 138 days | 45 | 41 |
|  | Sr-90S | 0.1Ci | Solid source, 1 in. disc, beta. | 28.5 years | 45 | 41 |
|  | Tl-204S | 1 Ci | Solid source, 1 in. disc, beta (for backscatter). | 3.78 years | 45 | 41 |
|  | Zn-65S | 1 Ci | Solid source, 1 in. disc, gamma. | 244 days | 45 | 41 |
| New | C-14S | 10 uCi | Solid source, 1.75 in. laminate, beta | 5730 years | 75 | 68 |
| New | Fe-55S | 100 uCi | Solid source, 1.75 in. laminate, beta, X-ray | 2.73 years | 125 | 113 |
|  | Calibration |  | Per gamma source |  | $100 | $90 |

Solid Disc Source Sets

|  | RSS-2 | Resolving Time set consisting of 2 each Tl-204 half discs plus a blank for determining GM deadtime. | $95 | $86 |
| --- | --- | --- | --- | --- |
|  | RSS-3 | Set of three solid sources, Po-210S alpha, Sr-90S beta, Co-60S gamma. | 135 | 122 |
|  | RSS-4 | Set of four gamma sources, Co-57, Cs-137, Co-60 and “unknown”. | 180 | 162 |
|  | RSS-5 | Set of five solid sources, Po-210S alpha, Sr-90S beta, Tl-204S beta, Co-60S gamma, Cs-137S5 gamma. | 225 | 203 |
|  | RSS-8 | Set of eight gamma sources for scintillation spectrometry. Includes Ba-133S, Cd-109S, Co-57S, Co-60S, Cs-137S, Mn-54S, Na-22S and the mixed source Cs/ZnS as an "unknown" for student identification. | 360 | 324 |

Contact factory for activities not listed.

Needle Sources

These sources are designed for use with Cloud Chambers. The activity is deposited into the eye of the needle to produce a point source.  The source is packaged in a test tube with the needle inserted on the inside of the stopper.

|  | Model | Activity | Description | Half-Life | Dom | Dealer |
| --- | --- | --- | --- | --- | --- | --- |
|  | NS-Po210 | 0.01 Ci | Polonium 210 alpha emitter. | 138 days | $35 | $32 |
|  | NS-Sr90 | 0.01 Ci | Strontium 90 beta emitter. | 28.5 years | 35 | 32 |
|  | NS-Pb210 | 0.01 Ci | Lead 210 alpha and beta emitter. | 20.4 years | 35 | 32 |

Tube and Rod Sources

Tube and rod sources are used for checking the energy calibration of  systems with well detectors. The sources are uncalibrated and of nominal activity. The isotope is deposited in the bottom of the tube or plastic rod and then sealed with epoxy. Three tube sizes are offered as standard, 13x100mm, 16x125mm, and 16x150mm.

Rods are available as 0.375” or 0.5” diameters. Order as Xx-xxxRS and specify diameter.

Other tubes sizes and activities are available on special order. Calibrated tube sources are also available on special order.

|  | Model | Activity | Description | Half-Life | Dom | Dealer |
| --- | --- | --- | --- | --- | --- | --- |
|  | Ba-133TS | 1 Ci | Tube source. (Specify size, e.g. Ba-133TS-13x100.) | 10.7 years | $80 | $72 |
|  | Cd-109TS | 1 Ci | Tube source. (Specify size, e.g. Cd-109TS-13x100.) | 453 days | 80 | 72 |
|  | Co-57TS | 1 Ci | Tube source. (Specify size, e.g. Co-57TS-13x100.) | 270 days | 80 | 72 |
|  | Co-60TS | 1 Ci | Tube source. (Specify size, e.g. Co-60TS-13x100.) | 5.27 years | 80 | 72 |
|  | Cs-137TS | 0.1 Ci | Tube source. (Specify size, e.g. Cs-137TS-13x100.) | 30.1 years | 80 | 72 |
|  | Cs-137TS | 1 Ci | Tube source. (Specify size, e.g. Cs-137TS-13x100.) | 30.1 years | 80 | 72 |
|  | Eu-152TS | 1 Ci | Tube source. (Specify size, e.g. Eu-152TS-13x100.) | 13.5 years | 120 | 108 |
|  | Mn-54TS | 1 Ci | Tube source. (Specify size, e.g. Mn-54TS-13x100.) | 312 days | 80 | 72 |
|  | Na-22TS | 1 Ci | Tube source. (Specify size, e.g. Na-22TS-13x100.) | 2.6 years | 80 | 72 |
|  | Zn-65TS | 1 Ci | Tube source. (Specify size, e.g. Zn-65TS-13x100.) | 244 days | 80 | 72 |
|  | Ba/CsTS | 1 Ci | Mixture of Ba-133 and Cs-137. (Specify size, e.g. Ba/CsTS-13x100.) | Mixed | 80 | 72 |
|  | Cs/CoTS | 1 Ci | Mixture of Cs-137 and Co-60. (Specify size, e.g. Cs/CoTS-13x100.) | Mixed | 80 | 72 |

Contact factory for activities not listed.

Isotope Generator.

The Cs-137/Ba-137m Isotope Generator provides a convenient means of producing a short half-life isotope for demonstrating radioactive decay experiments. This improved design is based on the original Union Carbide patent and can produce up to 1000 samples of the Ba-137 isotope with a half-life of 2.6 minutes using a simple eluting solution of 0.9% NaCl. The kit is supplied complete with the Cs-137/Ba-137m generator, 250 ml of eluting solution, a syringe for the elution and a storage case.

|  | Model | Activity | Description | Half-Life | Dom | Dealer |
| --- | --- | --- | --- | --- | --- | --- |
|  | Cs/Ba-137m | 10 Ci | Cs-137/Ba-137m Isotope Generator with 250ml of eluting solution | 30.1 years | $215 | $183 |
|  | ELSN |  | Replacement Eluting Solution, 250ml |  | 15 | 14 |
|  | CC1 |  | 1’ diameter steel planchet, package of 100 |  | 20 | 18 |

SPECTRUM TECHNIQUES, LLC.

106 Union Valley Road

Oak Ridge, TN 37830

Tel.  	(865) 482-9937

Fax. 	(865) 483-0473

E-mail    sales@spectrumtechniques.com

Internet  http://www.spectrumtechniques.com