SANTA FE COUNTY

Resolution No. 2000-

A RESOLUTION ESTABLISHING FIRE HYDRANT TESTING REQUIREMENTS FOR SANTA FE COUNTY.

WHEREAS, the Santa Fe County Fire Department is responsible for public safety in the

areas of fire, rescue, emergency medical services and special operations within Santa Fe County;

and,

WHEREAS, an essential part of fire protection is water-based systems accessed by fire

hydrants of various types; and,

WHEREAS, Santa Fe County has adopted the 1997 Uniform Fire Code, the 1997 National

Fire Protection Association Guidelines and the Insurance Standards Office standards; and,

WHEREAS, the Santa Fe County Fire Department is mandated to enforce the above codes

and standards and to protect life, environment and property; and,

WHEREAS, the Santa Fe County Fire Department is required to interpret and apply the

above codes in the most reasonable and consistent manner possible; and,

WHEREAS, the most reasonable and effective means to ensure the availability,

operability and reliability of water based fire protection fire hydrants is to test twice annually;

THEREFORE BE IT RESOLVED by the Board of County Commissioners of Santa Fe

County that the Commission supports the requirement of one actual water flow test and one

pressure test annually for each hydrant, each test occurring no closer than four months from

one another in Santa Fe County and supports the Santa Fe County Fire Department in its efforts

in assuring and enforcing this requirement for all such systems, both publicly and privately

operated and/or owned in Santa Fe County.

APPROVED, ADOPTED AND PASSED  this 9th day of June, 1998.

BOARD OF COUNTY COMMISSIONERS

____________________________________

Joe Griñé, Chairman

ATTEST:

______________________________________

Rebecca Bustamante, County Clerk

Approved as to form:

______________________________________

Santa Fe County Legal Department