Santa Fe County Fire Department

Fire Alarm System Submittal Checklist

Y      N                                    ADMINISTRATIVE

|  |  | A. | Permit Application | UFC 1001.3 |  |
| --- | --- | --- | --- | --- | --- |
|  |  | B. | Installing contractors name, address, phone number. | UFC 1001.3 |  |
|  |  | C. | Contractors license & local business license numbers | UFC 1001.3 |  |
|  |  | D. | Site Address | UFC 1001.3 |  |
|  |  | E. | Basis for system installation/ building code occupancy | UFC 1001.3 |  |
|  |  | F. | Building owner and/ or tenant. | UFC 1001.3 |  |
|  |  |  | # Fire Alarm Equipment |  |  |
|  |  | A. | Manufacturer’s specification sheets. | UFC 1001.3 |  |
|  |  | B. | Equipment application per listing/ approvals. | UFC 1001.3 |  |
|  |  |  | # General Information |  |  |
|  |  | A. | Appropriate codes & standards, including edition. | UFC 1001.3 |  |
|  |  | B. | Type of system or service involved. | NFPA 72 |  |
|  |  | C. | Voice evacuation message/ language(s), if involved. | NFPA 72, 3-2.4.1 |  |
|  |  | D. | Written sequence of operation or matrix table. | UFC 1007.3.4.3 |  |
|  |  | F. | Special system features/ operations. | UFC 1007.3.4.3 |  |
|  |  | G. | Required placarding. | UFC 1007.3.4.2 & NFPA 72 |  |
|  |  |  | # Plans & Drawings |  |  |
|  |  | A. | Scaled floor plans, including north reference. | UFC 1001.3 |  |
|  |  | B. | Completed title block with site address and installing contractors business address. | UFC 1001.3 |  |
|  |  | C. | Identification of each rooms use. | UFC 1001.3 |  |
|  |  | D. | Location of all components, including end of line devices, if involved. | UFC 1001.3 |  |
|  |  | E. | Symbol legend, including quantities, mfg name, model, etc… | UFC 1001.3 |  |
|  |  | F. | Identification of circuit styles, designations and methods | UFC 1001.3 |  |
|  |  | G. | Description of zone assignments/ device addresses. | UFC 1001.3, 1007.3.3.7 |  |
|  |  | H. | Complete building cross section, include attic, soffit, or ceiling details. |  |  |
|  |  | I. | Location of sprinkler system test valve. | UFC 1001.3 |  |
|  |  | J. | Specifications and details of through-penetration fire stopping, if required. | U.L., Fire Resistance Directories |  |
|  |  | K. | Device mounting heights for manual boxes and visable notification appliances. | NFPA 72, 3-8.1.1, 5-9.1.1 & 6-4.1.1 |  |
|  |  | L. | Primary power supply details | NFPA 72, 1-5.2.4,.2.8 |  |
|  |  | M. | Secondary power supply details. | NFPA 72, 1-5.2.5 |  |
|  |  | N. | Voltage drop calculations | UFC 1001.3 |  |
|  |  |  | # SINGLE LINE (RISER) DIAGRAM |  |  |
|  |  | A. | Conductor information, including size, stranding, insulation type, etc. | NEC |  |
|  |  | B. | Conduit fill calculations |  |  |
|  |  | C. | Location of end-of-line devices | UFC 1001.3 |  |