Radio Astronomy log book
for
Jan Lustrup
Norway

Updated July 7th, 2020
Most of these images are made with two 1.9meter dish antennas on each leg, but some observations are done with one 1.9m dish and a “Horn of plenty”.
East Antenna is phase switched by a double balanced mixer type “M1J”. This mixer is switched at a rate of 940Hz by a +- 12Volt source from a reference oscillator. The mixer current is limited to 25mA.
The two antenna coaxial cables go thru a bias “T”’s each, then they are combined with a three port  “ZESC 2-11” combiner / power splitter.

The combined signal is now filtered with a 1420MHz,  (5MHz wide) band pass filter, amplified 30dB then a 1420MHz (5MHz wide)  band pass  filter again, and lastly amplified 30dB before going to a H.P. 8565A Spectrum Analyzer which is centered on 2119MHz and a 3MHz bandwidth filter is chosen. The analyzer’s BNC vertical scope output is fed to an Ithaco 390e “lock-in” amplifier. This “lock-in” is connected to the same reference 940Hz square wave oscillator so any phase differences between the input and the reference shows up as a varying analogue voltage that is proportional to the phase angle difference ( low passed time average is 8 seconds, producing fringing on moving objects across the antenna’s east-west baseline). This fringe voltage is then fed to a Labjack 14bit A/D that is connected via USB cable to the PC’s USB user port. Charting, graph displaying and logging is all done under Windows 10 with “Radio Skypipe” software by Jim Sky.

The east antenna is a 1.9meter mesh dish kit by “RFham Design”, F=0.45,  home made full wavelength ring feed on a 15x10.5cm copper plate reflector. The LNA is a kit type “G4DDK” with 0.32dB N.F. and 38dB gain. This antenna is az/el  motorized by a “Spid Ras” with 0.2 degree resolvers and controlled with “PSTrotator” software program.
The west antenna is an old 12GHz satellite fiber glass dish and is fixed in azimuth due south to the meridian. It has a  f/d of around 0.35, uses a homemade ring feed on a copper plate also. This feed has a R.A.S. “Radio Astronomy Supply” LNA with 0.37dB NF and 34dB gain. This antenna elevation has to be moved and set manually to the desired declination for each observation.
Both antennas have 100 feet of LMR-400 with N-connectors.

A drift scan of the sun showing the Sun transit antenna patterns for both dishes. (Red is mesh dish)
[image: image1.jpg]i B o]
10:33:04 10.45:03 10:57:03 11:09:02 11:21:01 11:33:01 11:45:00 11:57:00 12:08:59 12:20:69 12:32:68
Sun meridian transit 11:34 utc 30 may 2020 Blue is 1420MHz (2 meter dish)...... Red is 1296MHz (2.3meter dish) Both in 10 kHz bandwicth





I have been working on the blue 12GHz sat dish to improved sun noise.  Horn of plenty also used . 
[image: image2.jpg]


[image: image3.jpg]



East and West antennas shown here on the left and my “Horn of plenty” on the right. My east-west 17.2 meter base line is pointing 100 and 280 degrees which is about 10 degrees off true “east-west”.
Here are my observations to date 
The Sun

[image: image4.jpg]| o]

W
09:39:30 10:01:04 10:22:38 10:44:12 11:05:46 12719 114853 12:10:27 12:32:01 126335 13:15:08
21cm Sun, Taurus A . Moon merdian transit @ 11:33__ 12:62__ 14:51__26 may2020 2m dish & Hom





The Moon [image: image5.jpg]2.

20:03:07 20:09:53 20:16:38 202323 20:30:09 20:36:54 20:43:40 2050:25 2057:10 21:03:56 21:1041
Moon transit 2037UTC. @1420MHz 1 july 2020




Cassiopeia A  RA23:23:21  DEC +58:49:59   (Flux 2400 Janskys @ 1420MHz)
[image: image6.jpg]SR
04:18:20 042755 04:37:30 04:47:06 04:56:41 05:06:16 05:15:51 05:25:27 05:35:02 05:44:37 05:54:12
Dec +60 meridian transit @ 1419MHz ~ glass dish+ hom 22 June 2020 3MHz BW





Cygnus A   RA 19:59:28  DEC 40:44:00  (Flux 1500 Janskys @1420)  [image: image7.jpg]4
023

"
7:02

025204

03:07:05

03:22:06
Cygnus A

T i |
03:37:07 03:52:09 04:07:10 04:22:11
1416 MHz 03:50:22 utc 3MHz BW 18may 2020

04:37:12

04:52:13

|
05:07:15




Taurus A

[image: image8.jpg]ilia

132335

1330:22

13:37:09

13:43:55

13:5042 13:57:29 14:04:16
1416 MHz Taurus A 1365 utc 3 MHz BW 10 MAY 2020

14:11:02 14:17:49

1424:36

14:31:23




Virgo A

[image: image9.jpg]19:40:01

18:41:57

1847:45

18:53:34

18:59:22

19:05:11 19:10:59 19:16:47
Virgo A 1420MHz 6JUNE2020 19:12:10 utc

19:22:36

19:28:24

19:34:13




Hercules A / 3C348    RA 16:51:09  DEC +4:58:59  Flux 325  (Flux 47 Janskys @ 1420MHz)
[image: image10.jpg]06°

T B [ a0
00:23:54 00:29:55 00:35:57 00:41:59 00:48:01 00:54:02 01:00:04 01:06:06 01:12:08 01:18:09 01:24:11
Hercules A on 1416 MHz transit 00:64:421 utc May 152020 3MHz BW.





2C390

[image: image11.jpg]ol arc b Al 1AV Vo B )
vmvwvw \// g Vi v Uu\f \f\/w

00:46:23 00:54:06 01:01:48 01:09:31 01:47:13 01:24:55 01:32:38 01:40:20 01:48:02 01:55:45 02:03:27
3C353 ( CTAT6) 1420MHz 5JUNE2020 00-01:07 utc





2C390 and CTB59 

[image: image12.jpg]59

Wik
AR

Pl Baatity AT

=

01:49:24 02
meridian transit 23

03:24:57 03:44:03





CTB56, CTB 59, 2C390.2 and 3C392

[image: image13.jpg]187

00:46:23 00:54:06 01:01:48

01:09:31

01:47:13 01:24:55 01:32:38
3C353 ( CTATE) 1420MHz 5JUNE2020 00-01:07 utc

01:40:20

01:48:02 01:55:45 02:03:27




3C40

[image: image14.jpg]"
10:24:49 1031:67 10:39:05 10:46:13 10:53:21 11:00:29 11:07:38 11:14:46 12154 11:29:02 11:36:10
Cygnus A 1416 MHz 03:50:22 utc  3MHz BW 18may 2020





3C157

[image: image15.jpg]4.
13:51

,m/WM

I
0:01

1354:02

13:58:04

T B B8
14:02:05 14:06:06 14:10:08 14:14:09 14:18:10
Cygnus A 1416 MHz 03:50:22 utc  3MHz BW 18may 2020

14:22:12 14:26:13

14:30:14




3C353 / 3C353    RA 17:20:33 DEC +0:58:57   (Flux 57 Janskys @ 1420MHz)
[image: image16.jpg]303537
T e Y A AT e Y, Al e Y AR

0%
22:05:06

222654 22:48:43 231031 233219 23:54:08 00:15°56 00:37:45 00:59:33 01:21:21 01:43:10
meridian transit 23:47:31




3C392

[image: image17.jpg]5
)

23:44:05 234935 235504 00-00:34 00:06:03 00:11:33 00:17:02 00:22:32 00:28:02 00:33:31 00:39:01
25 june 2020 Dec +4 meridian transit @ 1420MHz  mesh dish+ glassfiber dish  3MHz BW





3C395

[image: image18.jpg]O b Y T B e

S
223137 23:00:06 23:28:35 235704 00:25:33 00:54:02 01:22:31 01:51:00 0219:29 02:47:58 03:16:27
Hercules A.. meridian transit 23:47:31 utc 31 may 2020





3C400

[image: image19.jpg]" 0 i B8
03:00:28 03.06:28 03:12:29 03:18:29 03:24:29 03:30:30 03:36:30 03:42:31 03:48:31 03:54:32 04:00:32
CTB73 (3C400) on 1416 MHz transit 03:30:31 utc May 14 2020 (this fringe rate will be 169 seconds) 3 MHz BW




CTA37   “Orion ”

[image: image20.jpg]NAYAYRVAVAVAVATAY,

04%

13:14:19 1319:28 13:24:37 13:29:46 13:34:56 13:40:04 13:45:13 13:50:22

CTA37 Orion Nubula MA2 on 1416 MHz transit 13:40:19 utc May 14 2020

3 MHz BW

13:56:31

14:00:40

14:05:49




CTB21  “Rosette nebula” RA 06:32:03  DEC +04:50:59  (Flux 342 Janskys @ 960MHz)
[image: image21.jpg]417
14:19:50 14:22:40 14:25:30

i | a0
14:28:21 143111 14:34:01 14:36:51 14:39:41 14:42:31 14:45:21
CTB21 Rosetta Nebula on 1416 MHz transit 14:33:01 utc May 152020 3MHz BW

14:48:11




CTB52

[image: image22.jpg]i 1 I | [ ‘ “‘m" I |

00:32:12 00:38:01 00:43:49 00:49:37 00:55:25 01:01:13 01:07:02 01:12:50 01:18:38 01:24:26 01:30:14
meridian transit @dec-15 time 16:03:77 utc 1420MHz




CTB 53 and CTB 52

[image: image23.jpg]21

00:20:01 00:29:07 00:38:13 004719 nnaszs 010532 012548 01:32:51 01:41:67 01:51:03
\\\\\\\\\\\ it @dec-15 time 16:03: 77 ‘ 142an





CTB56, CTB59, 3C390.2 and 3C392
[image: image24.jpg]187

00:46:23 00:54:06 01:01:48

01:09:31

01:47:13 01:24:55 01:32:38
3C353 ( CTATE) 1420MHz 5JUNE2020 00-01:07 utc

01:40:20

01:48:02 01:55:45 02:03:27




CTB59
[image: image25.jpg]59

Wik
AR

Pl Baatity AT

=

01:49:24 02
meridian transit 23

03:24:57 03:44:03





Later observations:

3C310  RA 15,08  DEC+ 26,00    (Flux 7 Jansky @ 1420 MHz)
3C317  RA 15,28  DEC+07,00     (Flux 10 jansky? @1420MHz) 
