50 MHz Digital Storage Oscilloscoop

PM3350 / PM3352

Service Handleiding

4811 872 05324
871204

MAT3046

Waarschuwing :	Deze service handleiding mag alleen door gekwalificeerd personeel gebruikt worden. Om het risico van een elektrische schok te voorkomen, doe geen ander onderhoud dan anders dan aangegeven in de operating handleiding is aangegeven, ten zij u een volledig gekwalificeerd per500n bent om onderhoud te doen.

2

IMPORTANT:	In correspondence concerning this instrument, please quote the type number and serial number as given on the type plate.

NOTE:	The design of this instrument is subject to continuous development and improvement. Consequently, this instrument may incorporate minor changes in detail from the information contained in this manual.

|  | N.V. PHILIPS G10EILAMPENFABRIEKEN-EINDHOVEN-THE NETHERLANDS-1987 PRINTED IN THE NETHERLANDS |
| --- | --- |

3

25. 	PARTS LIST	25-1

| 25.1 Mechanical parts • • • • • • • • • • • • • • • • • • • • • • • • • • • • • • • • • • • • • • 25.1.1 Mechanical parts indicated in figure 25.1 25.1.2 Mechanical parts indicated in figure 25.2 25.1.3 Mechanical parts indicated in figure 25.3 25.2 Units • • • • • • • • • • • • • • • • • • • • • • • • • • • • • • • • • • • • • • • • • • 25.3 Cables and connectors 25.3.1 Flatcables and connectors 25.3.2 p.c.b.-connectors (male headers) 25.3.3 50 Ohm cables and connectors 25.3.4 Miscellaneous cables 25.3.5 Miscellaneous sockets and connectors 25.4 Electrical parts 25.4.1 Capacitors 25.4.2 Resistors 25.4.3 Semi-conductors 25.4.4 Integrated circuits 25.4.5 Miscellaneous 25-4-6 Coils 25-4-7 Switches | 25-1 25-1 25-4 25-4 25-4 25-5 25-5 25-6 25-6 25-6 25-6 25-7 25-7 25-20 25-44 25-52 25-56 25-55 25-57 |
| --- | --- |

25-1

25. PARTS LIST

(subject to alteration without notice)

25.1	MECHANICAL PARTS

25.1.1	Mechanical parts indicated in figure 25.1.

| Item | Qty | Description | Ordering code |
| --- | --- | --- | --- |
| 1 1a 1b 2 3 3 4 5 6 7 8 9 10 11 12 13 14 15 16 17 18 19 20 21 22 23 24 25 26 27 28 29 31 32 33 34 35 36 37 38 39 - - 40 41 | 1 1 1 1 1 1 1 1 11 1 1 1 1 1 2 1 1 2 2 1 6 1 2 4 3 3 3 1 1 23 1 1 5 2 1 1 1 4 4 1 3 2 2 2 2 | Bezel Button Cover Contrast filter blue Textfilm on bezel PM3350 Textfilm on bezel PM3352 CAL socket Clamping spring for CAL socket Control knob with spring Front frame Textfilm CRT unit Tex~film for handle PM3350 Handle assembly Power-on knob, green-brown Spring for handle Extension part for power-on switch Upper cabinet p.c.b. guiding for A6 p.c.b. support for A3 Chassis p.c.b. support Bottom cabinet Attenuator cover Bottom foot BNC spacer ring BNC extension bush BNC socket Front unit frame Text film for front unit Softkey brown Softkey mushroom Softkey green UP-DOWN key brown Range indication spring LCD window Battery back-up holder FAN assembly Panel support Panel support clamp Metal fastener for Al8 Delay line cable clamp Heatsink for V3011 and V3012 Flat cable clamp Rubber support Battery holder | 5322 459 20503 5322 414 20213 5322 464 90484 5322 480 30181 5322 455 81058 5322 455 81062 5322 268 14052 4822 530 70296 5322 414 10018 5322 464 90252 5322 455 81026 5322 455 81057 5322 498 50219 5322 414 60142 5322 492 63355 5322 535 80735 5322 462 10264 5322 462 10265 5322 464 90486 5322 462 30304 5322 464 90249 5322 464 90253 5322 462 50325 5322 532 21188 5322 506 41006 5322 267 10004 5322 464 90254 5322 455 81061 5322 276 11856 5322 276 12332 5322 276 11857 5322 277 10878 5322 492 63354 5322 450 60952 5322 256 60289 5322 361 10326 5322 462 30377 4822 530 70296 5322 417 20154 5322 401 10954 5322 255 40054 5322 290 40257 5322 532 11588 5322 256 64014 |

25-2

Figure 25.1 Exploded view

25-3

MAT3064

Figure 25.2 Rear view

MAT2296

Figure 25.3 Inside view showing the parts in the CRT compartiment

..

MAT3055

25.2 UNITS (see figure 25.4)

25-4

25.1.2 Mechanical parts indicated in figure 25.2

| Item | Qty | Description | Ordering code |
| --- | --- | --- | --- |
| 1 2 3 4 5 6 7 8 9 10 | 2 1 4 1 1 1 1 1 1 1 1 1 1 1 | Rear foot BNC socket for Z-MOD Screws for Analog Plot outand Mains input sockets Analog plot out socket Analog plot and sticker Line cable, European version Line cable, USA version Line cable, British version Line cable, Swiss version Line cable, Australean version Mains input socket, incl. fuse holder Fuse 1,6A (for mains input) IEEE socket IEEE sticker | 5322 462 50324 5322 267 10004 5322 502 12003 5322 321 22614 5322 455 81059 5322 321 21616 5322 321 10466 5322 321 21617 5322 321 21618 5322 321 21781 5322 219 81119 4822 253 30024 5322 321 22615 5322 455 81063 |

25.1.3 Mechanical parts indicated in figure 25.3

| Item | Qty | Description | Ordering code |
| --- | --- | --- | --- |
| 1 2 3 4 5 6 | 1 1 1 1 1 1 | CRT front rubber Light conductor for CRT Lamp 28V-40mA CRT shielding CRT manchet, rubber CRT support | 5322 460 60404 5322 462 40957 5322 134 40534 5322 466 30163 5322 466 30164 5322 462 10263 |

25-2	UNITS (see figure 25.4)

| Item | Qty | Description | Ordering code |
| --- | --- | --- | --- |
| 1 2 3 4 5 6 7 8 9 10 11 12 13 14 15 16 17 | A1 A2 A3 A4 A5 A6 A7 A8 A11 A12 A13 A14 A15 A16 A17 A18 A19 | Attenuator unit Pre-amplifier unit XYZ-amplifier unit Time-base unit. CRT-control uni7 Power supply unit Front unit LCD unit IEEE unit Microprocessor unit DCL unit ACL unit ADC-DAC unit Adaptation unit Mini CCD unit P²CCD unit Cursor unit | 5322 216 51114 5322 216 51196 5322 216 51117 5322 216 51208 5322 216 51118 5322 216 51195 5322 216 51197 5322 216 51207 5322 216 51198 5322 216 51199 5322 216 51201 5322 216 51202 5322 216 51203 5322 216 51204 5322 216 51205 5322 210 51206 5322 216 51209 |

25-5

2.5.3	CABLES AND CONNECTORS

25.3.1	Flatcables and connectors

For the flatcables used in this oscilloscope, the required version must be made by yourself with the following parts:

| Type | Item | Ordering number |
| --- | --- | --- |
| - Universal flatcable, 40 wires, length 60 cm |  | 5322 323 50112 |

To get the required number of wires, the flat cable must be split by means of a pair of scissors or a knife.

The cable must be cut to the required length.

- Flatcable connectors

The connectors can be mounted on the flatcable by means of a pair of pliers or in a bench-vice.

ATTENTION: Check the position of the flatcable in the connector before pressing the connector together.

The following connectors are available:

| Type | Item | Ordering number |
| --- | --- | --- |
| 6 pole cable connector 10 pole cable connector 20 pole cable connector 26 pole cable connector 34 pole cable connector 40 pole cable connector | X7019 X505 - X606 - X806 - X4016 - X5007 - X6007 X91 - X803 - X2010 - X3002 -X3003 - X4002 - X4010 - X6009 - X7091 X102 – X1009 - X2009 X69(X97)-X2001-X4001 X98-X808 | 5322 268 40301 5322 268 40234 5322 268 40235 5322 167 70175 5322 268 40236 5322 268 70227 |

The following AMP-connectors are available:

| 2 pole-single, without contact pins 3 pole-single, without contact pins bus contact for AMP-cable connector, per piece: 5 pole connector for power-in: bus contact for connector, per piece: | 5322 268 40232 5322 268 40233 5322 268 20152 5322 268 50452 5322 268 24128 |
| --- | --- |

NOTE: The flatcables are fixed onto the p.c.b.
connectors by means of flatcable

| connector clamps, per piece: | 5322 401 11156 |
| --- | --- |

25-6

25.3.2	p.c.b.-Connectors (male headers)

| Type | Item | Ordering number |
| --- | --- | --- |
| 3 pole-single 3 pole-single 3 pole-single 3 ole-single 90° type 5 pole-single 6 pole-single 10 pole-single 10 pole-single 90° type 20 pole-single 26 pole-single 34 pole-single 40 pole-single | X2013-X4017-X6020 X6008-X6019 X6018 (power supply) X2004-X3004-X3005- X3008 X6014 X7013 X606-X806-X4016- X5007-X6007 X505 X91-X803-X2010-X3002-X3003-X4002-X4010-X6003-X709 Xl02-Xl009-X2009 X96-X97-X2001-X4001 X98-X808 | 5322 265 20275 5322 265 30434 5322 265 40435 5322 265 30433 5322 265 40436 5322 265 30591 5322 265 40485 5322 265 51188 5322 265 51129 5322 265 61071 5322 265 61069 5322 265 61072 |

2.5.3.3  50 Ohm cables and connectors

The 50 Ohm coax-cables are standerdized, so some cables are a little bit too long.

The tules around the cable end might have the wrong colour, but if necessary it can be replaced by the original one.

| - Cable, 30 cm long, 90°type - Cable, 45 cm long |  | 5322 321 22617 5322 321 22616 |
| --- | --- | --- |

The 50 Ohm coax-connector socket consists of two parts, bush and pin.

| - Outer part (bush) - Inner part (pin) |  | 5322 268 24116 5322 268 14141 |
| --- | --- | --- |

2.5.3.4 Miscelleneous cables

| - Delay line cable, 54 cm long - Flex jump cable, used for interconnection for A3 - 11-pole. |  | 5322 321 21595 5322 290 60605 |
| --- | --- | --- |

25.3.5	Miscellaneous sockets and connectors

| CRT-socket p.c.b. socket, 96-pole, triple p.c.b. connector, 96 pole, triple Socket for D314 Socket for D801 Socket for D214, 48 pins Socket for D216, 32 pins p.c.b. socket, 8-pole p.c.b. socket, 8-pole | (X621, X622, X623, X624) (X2021, X2022, 2023, X2024) | 5322 255 40502 5322 267 70167 5322 265 61029 5322 255 40677 5322 255 40815 5322 255 40851 5322 255 40829 5322 265 40483 5322 267 50786 |
| --- | --- | --- |

25-7

25.4 ELECTRICAL PARTS

25.4.1   CAPASITORS

| POSNR | DESCRIPTION |  | ORDERING CODE |
| --- | --- | --- | --- |
| C 0201 | -10+50% | 33UF | 4822 124 20712 |
| C 0202 | -10+50% | 33UF | 4822 124 20712 |
| C 0203 | 63V 10% | 220nF | 5322 121 43084 |
| C 0204 | 63V 10% | 100nF | 5322 121 43083 |
| C 0251 | -20+50% | 10nF | 4822 122 31414 |
| C 0252 | -10+50% | 220UF | 4822 124 20681 |
| C 0253 | -20+50% | 10nF | 4822 122 31414 |
| C 0254 | -20+50% | 10nF | 4822 122 31414 |
| C 0256 | -20+50% | 10nF | 4822 122 31414 |
| C 0257 | -20+50% | 10nF | 4822 122 31414 |
| C 0258 | -20+50% | 10nF | 4822 122 31414 |
| C 0259 | -20+50% | 10nF | 4822 122 31414 |
| C 0261 | -20+50% | 10nF | 4822 122 31414 |
| C 0262 | -20+50% | 10nF | 4822 122 31414 |
| C 0263 | -20+50% | 10nF | 4822 122 31414 |
| C 0264 | -20+50% | 10nF | 4822 122 31414 |
| C 0266 | -20+50% | 10nF | 4822 122 31414 |
| C 0261 | -20+50% | 10nF | 4822 122 31414 |
| C 0268 | -20+50% | 10nF | 4822 122 31414 |
| C 0269 | -20+50% | 10nF | 4822 122 31414 |
| C 0211 | -20+50% | 10nF | 4822 122 31414 |
| C 0212 | -20+50% | 10nF | 4822 122 31414 |
| C 0273 | -20+50% | 10nF | 4822 122 31414 |
| C 0274 | -20+50% | 10nF | 4822 122 31414 |
| C 0276 | -20+50% | 10nF | 4822 122 31414 |
| C 0277 | -20+50% | 10nF | 4822 122 31414 |
| C 0278 | -20+50% | 10nF | 4822 122 31414 |
| C 0279 | 63V 10% | 100nF | 5322 121 43083 |
| C 0281 | -10+50% | 100uF | 4822 124 20679 |
| C 0282 | -10+50% | 100uF | 4822 124 20679 |
| C 0283 | -10+50% | 100uF | 4822 124 20679 |
| C 0284 | -10+50% | 100uF | 4822 124 20679 |
| C 0301 | -20+50% | 10nF | 4822 122 31414 |
| C 0302 | -20+50% | 10nF | 4822 122 31414 |
| C 0303 | -20+50% | 10nF | 4822 122 31414 |
| C 0304 | -20+50% | 10nF | 4822 122 31414 |
| C 0306 | -20+50% | 10nF | 4822 122 31414 |
| C 0308 | -20+50% | 10nF | 4822 122 31414 |
| C 0309 | -20+50% | 10nF | 4822 122 31414 |
| C 0311 | -20+50% | 10nF | 4822 122 31414 |
| C 0312 | -20+50% | 10nF | 4822 122 31414 |
| C 0313 | -20+50% | 10nF | 4822 122 31414 |
| C 0314 | -20+50% | 10nF | 4822 122 31414 |
| C 0316 | -10+50% | 220UF | 4822 124 20681 |
| C 0317 | 63V 10% | 100nF | 5322 121 43083 |
| C 0318 | -10+50% | 100uF | 4822 124 20679 |
| C 0319 | -20+50% | 10nF | 4822 122 31414 |
| C 0321 | -20+50% | 10nF | 4822 122 31414 |
| C 0322 | -20+50% | 10nF | 4822 122 31414 |
| C 0323 | -20+50% | 10nF | 4822 122 31414 |
| C 0324 | -20+50% | 10nF | 4822 122 31414 |
| C 0326 | -20+50% | 10nF | 4822 122 31414 |
| C 0401 | -20+50% | 10nF | 4822 122 31414 |
| C 0402 | -20+50% | 10nF | 4822 122 31414 |
| C 0403 | -20+50% | 10nF | 4822 122 31414 |

25-8

| POSNR | DESCRIPTION |  | ORDERING CODE |
| --- | --- | --- | --- |
| C 0404 | -20+50% | 10nF | 4822 122 31414 |
| C 0406 | -20+50% | 10nF | 4822 122 31414 |
| C 0407 | -20+50% | IONF | 4822 122 31414 |
| C 0408 | -20+50% | 10nF | 4822 122 31414 |
| C 0409 | -20+50% | 10nF | 4822 122 31414 |
| C 0411 | -20+50% | 10nF | 4822 122 31414 |
| C 0412 | -20+50% | 10nF | 4822 122 31414 |
| C 0413 | -20+50% | 10nF | 4822 122 31414 |
| C 0414 | -20+50% | 10nF | 4822 122 31414 |
| C 0416 | -20+50% | 10nF | 4822 122 31414 |
| C 0417 | -10+50% | 220UF | 4822 124 20681 |
| C 0418 | 63V 10% | 100nF | 5322 121 43083 |
| C 0419 | 2% | 82PF | 4822 122 31237 |
| C 0421 | -10+50% | 220UF | 4822 124 20681 |
| C 0422 | -20+50% | 10nF | 4822 122 31414 |
| C 0423 | 2% | 82PF | 4822 122 31237 |
| C 0424 | 2% | 82PF | 4822 122 31237 |
| C 0511 | -20+50% | 10nF | 4822 122 31414 |
| C 0512 | 63V 10% | 100nF | 5322 121 43083 |
| C 0513 | -20+50% | 10nF | 4822 122 31414 |
| C 0514 | 63V 10% | 100nF | 5322 121 43083 |
| C 0511 | -20+50% | 10nF | 4822 122 31414 |
| C 0519 | -20+50% | 10nF | 4822 122 31414 |
| C 0521 | 630V 1% | 470pF | 5322 121 50999 |
| C 0522 | 630V 1% | 470pF | 5322 121 50999 |
| C 0523 | 100V 10% | 10nF | 5322 121 43086 |
| C 0524 | 10% | 1NF | 4822 122 30027 |
| C 0526 | 100V 10% | 10nF | 5322 121 43086 |
| C 0527 | 10% | 1NF | 4822 122 30027 |
| C 0528 | 2% | 12PF | 4822 122 31056 |
| C 0531 | -20+50% | 10nF | 4822 122 31414 |
| C 0532 | -20+50% | 10nF | 4822 122 31414 |
| C 0533 | 63V 10% | 100nF | 5322 121 43083 |
| C 0534 | 63V 10% | 100nF | 5322 121 43083 |
| C 0535 | -20+50% | 10nF | 4822 122 31414 |
| C 0536 | 63V 10% | 100nF | 5322 121 43083 |
| C 0538 | -20+50% | 10nF | 4822 122 31414 |
| C 0539 | 2% | 10pF | 4822 122 32185 |
| C 0541 | -20+50% | 10nF | 4822 122 31414 |
| C 0542 | -10+50% | 68UF | 4822 124 20689 |
| C 0543 | -20+50% | 10nF | 4822 122 31414 |
| C 0544 | -20+50% | 10nF | 4822 122 31414 |
| C 0546 | -20+50% | 10nF | 4822 122 31414 |
| C 0547 | -20+50% | 10nF | 4822 122 31414 |
| C 0548 | -20+50% | 10nF | 4822 122 31414 |
| C 0549 | -10+50% | 68UF | 4822 124 20689 |
| C 0551 | -20+50% | 10nF | 4822 122 31414 |
| C 0552 | -20+50% | 10nF | 4822 122 31414 |
| C 0553 | -20+50% | 10nF | 4822 122 31414 |
| C 0554 | -20+50% | 10nF | 4822 122 31414 |
| C 0555 | -20+50% | 10nF | 4822 122 31414 |
| C 0556 | -20+50% | 10nF | 4822 122 31414 |
| C 0557 | -10+50% | 47NF | 4822 124 20699 |
| C 0558 | -20+50% | 10nF | 4822 122 31414 |
| C 0559 | -10+50% | 150nF | 4822 124 20672 |
| C 0561 | -20+50% | 10nF | 4822 122 31414 |
| C 0562 | -20+50% | 10nF | 4822 122 31414 |
| C 0563 | -20+50% | 10nF | 4822 122 31414 |

25-9

| POSNR | DESCRIPTION |  | ORDERING CODE |
| --- | --- | --- | --- |
| C 0564 | -20+50% | 10nF | 4822 122 31414 |
| C 0565 | -10+50% | 47NF | 4822 124 20699 |
| C 0571 | -20+50% | 10nF | 4822 122 31414 |
| C 0572 | 63V 10% | 100nF | 5322 121 43083 |
| C 0573 | -20+50% | 10nF | 4822 122 31414 |
| C 0574 | 63V 10% | 100nF | 5322 121 43083 |
| C 0591 | -20+50% | 10nF | 4822 122 31414 |
| C 0593 | -20+50% | 10nF | 4822 122 31414 |
| C 0594 | 2% | 15PF | 4822 122 31823 |
| C 0596 | 100V 10% | 10nF | 5322 121 43086 |
| C 0597 | 10% | INF | 4822 122 30027 |
| C 0601 | -20+50% | 10nF | 4822 122 31414 |
| C 0601 | -20+50% | 10nF | 4822 122 31414 |
| C 0602 | -20+50% | 10nF | 4822 122 31414 |
| C 0602 | -20+50% | 10nF | 4822 122 31414 |
| C 0603 | -20+50% | 10nF | 4822 122 31414 |
| C 0604 | 10% | 470pF | 4822 122 30034 |
| C 0606 | 10% | 1NF | 4822 122 30027 |
| C 0681 | -10+50% | 47NF | 4822 124 20699 |
| C 0682 | -20+50% | 10nF | 4822 122 31414 |
| C 0683 | -10+50% | 47NF | 4822 124 20699 |
| C 0684 | -20+50% | 10nF | 4822 122 31414 |
| C 0689 | -20+50% | 10nF | 4822 122 31414 |
| C 0691 | -20+50% | 10nF | 4822 122 31414 |
| C 0692 | -20+50% | 10nF | 4822 122 31414 |
| C 0693 | -20+50% | 10nF | 4822 122 31414 |
| C 0701 | 50V 5% | 8.2PF | 5322 122 33244 |
| C 0702 | 50V 10% | 22nF | 5322 122 32654 |
| C 0703 | 50V 5% | 8.2PF | 5322 122 33244 |
| C 0704 | 50V 10% | 22nF | 5322 122 32654 |
| C 0705 | 50V 5% | 18PF | 5322 122 32965 |
| C 0706 | 50V 10% | 22nF | 5322 122 32654 |
| C 0701 | 50V 10% | 22nF | 5322 122 32654 |
| C 0721 | 50V 10% | 22nF | 5322 122 32654 |
| C 0722 | 50V 10% | 22nF | 5322 122 32654 |
| C 0723 | 50V 10% | 22nF | 5322 122 32654 |
| C 0724 | 50V 10% | 22nF | 5322 122 32654 |
| C 0725 | 50V 10% | 22nF | 5322 122 32654 |
| C 0731 | 50V 10% | 22nF | 5322 122 32654 |
| C 0732 | 50V 10% | 22nF | 5322 122 32654 |
| C 0733 | 50V 10% | 22nF | 5322 122 32654 |
| C 0734 | 50V 10% | 22nF | 5322 122 32654 |
| C 0736 | 50V 10% | 22nF | 5322 122 32654 |
| C 0737 | 50V 10% | 22nF | 5322 122 32654 |
| C 0738 | 50V 10% | 22nF | 5322 122 32654 |
| C 0739 | 50V 10% | 22nF | 5322 122 32654 |
| C 0741 | 50V 5% | 100pF | 5322 122 32532 |
| C 0761 | 50V 10% | 22nF | 5322 122 32654 |
| C 0763 | 50V 10% | 22nF | 5322 122 32654 |
| C 0764 | 50V 10% | 22nF | 5322 122 32654 |
| C 0766 | 50V 10% | 22nF | 5322 122 32654 |
| C 0767 | 50V 10% | 22nF | 5322 122 32654 |
| C 0768 | 50V 10% | 22nF | 5322 122 32654 |
| C 0769 | 50V 10% | 22nF | 5322 122 32654 |
| C 0710 | 50V 10% | 22nF | 5322 122 32654 |
| C 0711 | 50V 5% | 100pF | 5322 122 32532 |
| C 0791 | 50V 10% | 22nF | 5322 122 32654 |
| C 0792 | 50V 10% | 22nF | 5322 122 32654 |

25-10

| POSNR | DESCRIPTION |  |  | ORDERING CODE |
| --- | --- | --- | --- | --- |
| C 0793 | 50V 10% | 22nF |  | 5322 122 32654 |
| C 0794 | 50V 10% | 22nF |  | 5322 122 32654 |
| C 0796 | 50V 10% | 22nF |  | 5322 122 32654 |
| C 0802 | -20+50% | 10nF |  | 4822 122 31414 |
| C 0804 | -20+50% | 10nF |  | 4822 122 31414 |
| C 0807 | -20+50% | 10nF |  | 4822 122 31414 |
| C 0809 | -20+50% | 10nF |  | 4822 122 31414 |
| C 0811 | -10+50% | 100nF |  | 4822 124 20679 |
| C 0814 | -20+50% | 10nF |  | 4822 122 31414 |
| C 0817 | -20+50% | 10nF |  | 4822 122 31414 |
| C 0818 | 2% | 10pF |  | 4822 122 32185 |
| C 0819 | -20+50% | 10nF |  | 4822 122 31414 |
| C 0823 | -20+50% | 10nF |  | 4822 122 31414 |
| C 0824 | 2% | 10pF |  | 4822 122 32185 |
| C 0825 | -20+50% | 10nF |  | 4822 122 31414 |
| C 0826 | -10+50% | 100nF |  | 4822 124 20679 |
| C 0832 | -20+50% | 10nF |  | 4822 122 31414 |
| C 0834 | -20+50% | 10nF |  | 4822 122 31414 |
| C 0835 | -10+50% | 100nF |  | 4822 124 20679 |
| C 0837 | -20+50% | 10nF |  | 4822 122 31414 |
| C 0839 | -20+50% | 10nF |  | 4822 122 31414 |
| C 0844 | -20+50% | 10nF |  | 4822 122 31414 |
| C 0847 | -20+50% | 10nF |  | 4822 122 31414 |
| C 0848 | 2% | 10pF |  | 4822 122 32185 |
| C 0849 | -20+50% | 10nF |  | 4822 122 31414 |
| C 0851 | -10+50% | 100nF |  | 4822 124 20679 |
| C 0853 | -20+50% | 10nF |  | 4822 122 31414 |
| C 0854 | 2% | 10pF |  | 4822 122 32185 |
| C 0855 | -20+50% | 10nF |  | 4822 122 31414 |
| C 0861 | -20+50% | 10nF |  | 4822 122 31414 |
| C 0862 | -20+50% | 10nF |  | 4822 122 31414 |
| C 0865 | 2% | 12pF |  | 4822 122 31056 |
| C 0866 | 2% | 39PF |  | 4822 122 31069 |
| C 0867 | 10% | 1nF |  | 4822 122 30027 |
| C 0869 | 10% | 1nF |  | 4822 122 30027 |
| C 0871 | 10% | 470pF |  | 4822 122 30034 |
| C 0872 | -20+50% | 10nF |  | 4822 122 31414 |
| C 0814 | 10% | 1nF |  | 4822 122 30027 |
| C 0875 | 2% | 100pF |  | 4822 122 31316 |
| C 0883 | -10+50% | 150nF |  | 4822 124 20672 |
| C 0884 | -10+50% | 150nF |  | 4822 124 20672 |
| C 0895 | -20+50% | 10nF |  | 4822 122 31414 |
| C 0896 | -20+50% | 10nF |  | 4822 122 31414 |
| C 0897 | -20+50% | 10nF |  | 4822 122 31414 |
| C 0898 | -10+50% | 47nF |  | 4822 124 20699 |
| C 0899 | -20+50% | 10nF |  | 4822 122 31414 |
| C 0901 | 100V 10% | 22nF |  | 5322 121 43087 |
| C 0903 | 2% | 56pF |  | 4822 122 32027 |
| C 0906 | 100V 10% | 22nF |  | 5322 121 43087 |
| C 0908 | 2% |  | 56pF | 4822 122 32027 |
| C 0911 | 100V 10% |  | 22nF | 5322 121 43087 |
| C 0913 | 2% |  | 56pF | 4822 122 32027 |
| C 0916 | 100V 10% |  | 22nF | 5322 121 43087 |
| C 0917 | -20+50% |  | 10nF | 4822 122 31414 |
| C 0918 | 2% |  | 56pF | 4822 122 32027 |
| C 0920 | -20+50% |  | 10nF | 4822 122 31414 |
| C 0921 | -10+50% |  | 100uF | 4822 124 20679 |

25-11

| POSNR |  | DESCRIPTION |  |  | ORDERING CODE |
| --- | --- | --- | --- | --- | --- |
| C 0922 |  | -20+50% |  | 10nF | 4822 122 31414 |
| C 0923 |  | -20+50% |  | 10nF | 4822 122 31414 |
| C 0924 |  | -20+50% |  | 10nF | 4822 122 31414 |
| C 0925 |  | -20+50% |  | 10nF | 4822 122 31414 |
| C 0926 |  | -20+50% |  | 10nF | 4822 122 31414 |
| C 0927 |  | -20+50% |  | 10nF | 4822 122 31414 |
| C 0928 |  | -20+50% |  | 10nF | 4822 122 31414 |
| C 0929 |  | -20+50% |  | 10nF | 4822 122 31414 |
| C 0930 |  | -20+50% |  | 10nF | 4822 122 31414 |
| C 0931 |  | -20+50% |  | 10nF | 4822 122 31414 |
| C 0932 |  | -20+50% |  | 10nF | 4822 122 31414 |
| C 0933 | -20+50% |  | 10nF |  | 4822 122 31414 |
| C 0934 | -20+50% |  | 10nF |  | 4822 122 31414 |
| C 0935 | -20+50% |  | 10nF |  | 4822 122 31414 |
| C 0936 | -20+50% |  | 10nF |  | 4822 122 31414 |
| C 0937 | -20+50% |  | 10nF |  | 4822 122 31414 |
| C 0938 | -20+50% |  | 10nF |  | 4822 122 31414 |
| C 0939 | -20+50% |  | 10nF |  | 4822 122 31414 |
| C 0942 | -20+50% |  | 10nF |  | 4822 122 31414 |
| C 0951 | -20+50% |  | 10nF |  | 4822 122 31414 |
| C 0952 | -20+50% |  | 10nF |  | 4822 122 31414 |
| C 0953 | -20+50% |  | 10nF |  | 4822 122 31414 |
| C 0954 | -20+50% |  | 10nF |  | 4822 122 31414 |
| C 0956 | -20+50% |  | 10nF |  | 4822 122 31414 |
| C 0957 | -20+50% |  | 10nF |  | 4822 122 31414 |
| C 0958 | -20+50% |  | 10nF |  | 4822 122 31414 |
| C 0959 | -20+50% |  | 10nF |  | 4822 122 31414 |
| C 0960 | -20+50% |  | 10nF |  | 4822 122 31414 |
| C 0961 | -20+50% |  | 10nF |  | 4822 122 31414 |
| C 0962 | -10+50% |  | 150nF |  | 4822 124 20672 |
| C 0963 | -10+50% |  | 150nF |  | 4822 124 20672 |
| C 0964 | -10+50% |  | 150nF |  | 4822 124 20672 |
| C 0965 | -20+50% |  | 10nF |  | 4822 122 31414 |
| C 0966 | -20+50% |  | 10nF |  | 4822 122 31414 |
| C 0967 | -20+50% |  | 10nF |  | 4822 122 31414 |
| C 0968 | -20+50% |  | 10nF |  | 4822 122 31414 |
| C 0969 | -20+50% |  | 10nF |  | 4822 122 31414 |
| C 0911 | -20+50% |  | 10nF |  | 4822 122 31414 |
| C 0912 | -20+50% |  | 10nF |  | 4822 122 31414 |
| C 0913 | -20+50% |  | 10nF |  | 4822 122 31414 |
| C 0974 | -20+50% |  | 10nF |  | 4822 122 31414 |
| C 0976 | -10+50% |  | 15nF |  | 4822 124 20729 |
| C 0977 | -10+50% |  | 47nF |  | 4822 124 20699 |
| C 0978 | -10+50% |  | 68nF |  | 4822 124 20689 |
| C 0979 | -10+50% |  | 68nF |  | 4822 124 20689 |
| C 0980 | -20+50% |  | 10nF |  | 4822 122 31414 |
| C 0981 | -20+50% |  | 10nF |  | 4822 122 31414 |
| C 0982 | -20+50% |  | 10nF |  | 4822 122 31414 |
| C 0983 | -20+50% |  | 10nF |  | 4822 122 31414 |
| C 0984 | -20+50% |  | 10nF |  | 4822 122 31414 |
| C 0985 | -20+50% |  | 10nF |  | 4822 122 31414 |
| C 0986 | -20+50% |  | 10nF |  | 4822 122 31414 |
| C 0987 | -10+50% |  | 47nF |  | 4822 124 20699 |
| C 0988 | -20+50% |  | 10nF |  | 4822 122 31414 |
| C 0996 | -20+50% |  | 10nF |  | 4822 122 31414 |
| C 0997 | -10+50% |  | 150nF |  | 4822 124 20672 |
| C 0998 | -20+50% |  | 10nF |  | 4822 122 31414 |

25-12

| POSNR | DESCRIPTION |  | ORDERING CODE |
| --- | --- | --- | --- |
| C 1001 | -20+50% | 10nF | 4822 122 31414 |
| C 1002 | 400V 10% | 22nF | 5322 121 40308 |
| C 1003 | -20+50% | 10nF | 4822 122 31414 |
| C 1004 | -20+50% | 10nF | 4822 122 31414 |
| C 1006 | -20+50% | 10nF | 4822 122 31414 |
| C 1009 | 2% | 33pF | 5322 122 32072 |
| C 1011 | 63V 10% | 220nF | 5322 121 43084 |
| C 1012 | 63V 10% | 220nF | 5322 121 43084 |
| C 1013 | 2% | 15pF | 4822 122 31823 |
| C 1016 | 0.25PF | 3.3pF | 5322 122 32549 |
| C 1017 | 0.25PF | 3.3pF | 4822 122 31821 |
| C 1018 | 0.25PF | 2.7pF | 5322 122 32894 |
| C 1019 | 2% | 33pF | 5322 122 32072 |
| C 1021 | -20+50% | 10nF | 4822 122 31414 |
| C 1022 | 2% | 22pF | 5322 122 32143 |
| C 1023 | 7-10pF | MUR | 5322 125 11013 |
| C 1024 | -20+50% | 10nF | 4822 122 31414 |
| C 1026 | 0.25PF | 3.3PF | 5322 122 32549 |
| C 1027 | 0.25PF | 2.2pF | 5322 122 32774 |
| C 1028 | 2% | 33pF | 5322 122 32072 |
| C 1029 | 7-10pF | MUR | 5322 125 11013 |
| C 1031 | -20+50% | 10nF | 4822 122 31414 |
| C 1032 | 2% | 33pF | 5322 122 32551 |
| C 1033 | 7-10pF | MUR | 5322 125 11013 |
| C 1034 | -20+50% | 10nF | 4822 122 31414 |
| C 1035 | -20+50% | 10nF | 4822 122 31414 |
| C 1036 | 2% | 39pF | 4822 122 31069 |
| C 1037 | 2% | 22pF | 5322 122 32143 |
| C 1038 | 2% | 100pF | 4822 122 31316 |
| C 1039 | 0.25pF | 2.2pF | 4822 122 31036 |
| C 1041 | 63V 10% | 100nF | 5322 121 43083 |
| C 1042 | -20+50% | 10nF | 4822 122 31414 |
| C 1043 | -20+50% | 10nF | 4822 122 31414 |
| C 1044 | -20+50% | 10nF | 4822 122 31414 |
| C 1045 | -20+50% | 10nF | 4822 122 31414 |
| C 1046 | -10+50% | 68nF | 4822 124 20689 |
| C 1041 | 0.25pF | 4.7pF | 4822 122 31822 |
| C 1061 | 10% | 470pF | 4822 122 30034 |
| C 1062 | 0.25pF | 3.3PF | 4822 122 31821 |
| C 1063 | 2% | 33pF | 5322 122 32072 |
| C 1064 | 10% | 680pF | 4822 122 30053 |
| C 1067 | 2% | 68pF | 4822 122 31349 |
| C 1068 | -20+50% | 10nF | 4822 122 31414 |
| C 1071 | -20+50% | 10nF | 4822 122 31414 |
| C 1072 | -20+50% | 10nF | 4822 122 31414 |
| C 1076 | 10% | 1.5nF | 4822 122 31169 |
| C 1077 | 10% | 1.5nF | 4822 122 31169 |
| C 1101 | -20+50% | 10nF | 4822 122 31414 |
| C 1102 | 400V 10% | 22nF | 5322 121 40308 |
| C 1103 | -20+50% | 10nF | 4822 122 31414 |
| C 1104 | -20+50% | 10nF | 4822 122 31414 |
| C 1106 | -20+50% | 10nF | 4822 122 31414 |
| C 1109 | 2% | 33pF | 5322 122 32072 |
| C 1111 | 63V 10% | 220nF | 5322 121 43084 |
| C 1112 | 63V 10% | 220nF | 5322 121 43084 |
| C 1113 | 2% | 15pF | 4822 122 31823 |
| C 1116 | 0.25pF | 3.3pF | 5322 122 32549 |

25-13

| POSNR | DESCRIPTION |  | ORDERING CODE |
| --- | --- | --- | --- |
| C 1117 | 0.25pF | 3.3pF | 4822 122 31821 |
| C 1118 | 0.25pF | 2.7pF | 5322 122 32894 |
| C 1119 | 2% | 33pF | 5322 122 32072 |
| C 1121 | -20+50% | 10nF | 4822 122 31414 |
| C 1122 | 2% | 22pF | 5322 122 32143 |
| C 1123 | 7-10pF | MUR | 5322 125 11013 |
| C 1124 | -20+50% | 10nF | 4822 122 31414 |
| C 1126 | 0.25pF | 3.3PF | 5322 122 32549 |
| C 1127 | 0.25pF | 2.2pF | 5322 122 32774 |
| C 1128 | 2% | 33pF | 5322 122 32072 |
| C 1129 | 7-10pF | MUR | 5322 125 11013 |
| C 1131 | -20+50% | 10nF | 4822 122 31414 |
| C 1132 | 2% | 33pF | 5322 122 32551 |
| C 1133 | 7-10pF | MUR | 5322 125 11013 |
| C 1134 | -20+50% | 10nF | 4822 122 31414 |
| C 1135 | -20+50% | 10nF | 4822 122 31414 |
| C 1136 | 2% | 39pF | 4822 122 31069 |
| C 1137 | 2% | 22pF | 5322 122 32143 |
| C 1138 | 2% | 100pF | 4822 122 31316 |
| C 1139 | 0.25PF | 2.2pF | 4822 122 31036 |
| C 1141 | 63V 10% | 100nF | 5322 121 43083 |
| C 1142 | -20+50% | 10nF | 4822 122 31414 |
| C 1143 | -20+50% | 10nF | 4822 122 31414 |
| C 1144 | -20+50% | 10nF | 4822 122 31414 |
| C 1145 | -20+50% | 10nF | 4822 122 31414 |
| C 1146 | -10+50% | 68nF | 4822 124 20689 |
| C 1147 | 0.25PF | 4.7pF | 4822 122 31822 |
| C 1161 | 10% | 470pF | 4822 122 30034 |
| C 1162 | 0.25pF | 3.3pF | 4822 122 31821 |
| C 1163 | 2% | 33pF | 5322 122 32072 |
| C 1164 | 10% | 680pF | 4822 122 30053 |
| C 1167 | 2% | 68pF | 4822 122 31349 |
| C 1168 | -20+50% | 10nF | 4822 122 31414 |
| C 1171 | -20+50% | 10nF | 4822 122 31414 |
| C 1172 | -20+50% | 10nF | 4822 122 31414 |
| C 1176 | 10% | 1.5nF | 4822 122 31169 |
| C 1177 | 10% | 1.5nF | 4822 122 31169 |
| C 1201 | -20+50% | 10nF | 4822 122 31414 |
| C 1202 | 400V 10% | 22nF | 5322 121 40308 |
| C 1203 | 2% | 33pF | 5322 122 32551 |
| C 1204 | 0.25PF | 3.9PF | 4822 122 31217 |
| C 1206 | 7-10pF | MUR | 5322 125 11013 |
| C 1207 | 2% | 22pF | 5322 122 32143 |
| C 1208 | -20+50% | 10nF | 4822 122 31414 |
| C 1210 | 0.25PF | 0.56pF | 5322 122 32107 |
| C 1211 | -20+50% | 10nF | 4822 122 31414 |
| C 1212 | 2% | 100pF | 4822 122 31316 |
| C 1216 | 0.25PF | 4.7pF | 4822 122 31822 |
| C 1211 | -20+50% | 10nF | 4822 122 31414 |
| C 1401 | -20+50% | 10nF | 4822 122 31414 |
| C 1402 | -20+50% | 10nF | 4822 122 31414 |
| C 1403 | -20+50% | 10nF | 4822 122 31414 |
| C 1404 | -10+50% | 68nF | 4822 124 20689 |
| C 1405 | -20+50% | 10nF | 4822 122 31414 |
| C 1401 | -20+50% | 10nF | 4822 122 31414 |
| C 1408 | -20+50% | 10nF | 4822 122 31414 |
| C 1409 | -10+50% | 68nF | 4822 124 20689 |

25-14

| POSNR | DESCRIPTION |  | ORDERING CODE |
| --- | --- | --- | --- |
| C 1411 | -20+50% | 10nF | 4822 122 31414 |
| C 1412 | -20+50% | 10nF | 4822 122 31414 |
| C 1413 | -10+50% | 47nF | 4822 124 20699 |
| C 1414 | -20+50% | 10nF | 4822 122 31414 |
| C 1420 | -20+50% | 10nF | 4822 122 31414 |
| C 1421 | -20+50% | 10nF | 4822 122 31414 |
| C 1422 | -20+50% | 10nF | 4822 122 31414 |
| C 1423 | -20+50% | 10nF | 4822 122 31414 |
| C 1424 | -10+50% | 68nF | 4822 124 20689 |
| C 1427 | -20+50% | 10nF | 4822 122 31414 |
| C 1428 | -20+50% | 10nF | 4822 122 31414 |
| C 1429 | -10+50% | 68nF | 4822 124 20689 |
| C 1431 | -20+50% | 10nF | 4822 122 31414 |
| C 1432 | -20+50% | 10nF | 4822 122 31414 |
| C 1433 | -10+50% | 47nF | 4822 124 20699 |
| C 1434 | -20+50% | 10nF | 4822 122 31414 |
| C 1441 | -20+50% | 10nF | 4822 122 31414 |
| C 1442 | -10+50% | 68nF | 4822 124 20689 |
| C 1443 | -20+50% | 10nF | 4822 122 31414 |
| C 1444 | -20+50% | 10nF | 4822 122 31414 |
| C 1446 | -10+50% | 68nF | 4822 124 20689 |
| C 1447 | -20+50% | 10nF | 4822 122 31414 |
| C 2049 | 10% | 1.5nF | 4822 122 31169 |
| C 2050 | -20+50% | 10nF | 4822 122 31414 |
| C 2051 | 10% | 1.5nF | 4822 122 31169 |
| C 2149 | 10% | 1.5nF | 4822 122 31169 |
| C 2150 | -20+50% | 10nF | 4822 122 31414 |
| C 2151 | 10% | 1.5nF | 4822 122 31169 |
| C 2201 | -20+50% | 10nF | 4822 122 31414 |
| C 2203 | -20+50% | 10nF | 4822 122 31414 |
| C 2215 | 0.25PF | 6.8PF | 4822 122 31049 |
| C 2216 | 0.25PF | 2.7pF | 4822 122 31038 |
| C 2211 | -20+50% | 10nF | 4822 122 31414 |
| C 2218 | 0.25PF | 2.7pF | 4822 122 31038 |
| C 2220 | 0.25PF | 5.6pF | 5322 122 32163 |
| C 2221 | 10% | 1.5nF | 4822 122 31169 |
| C 2222 | 0.25PF | 8.2pF | 4822 122 31052 |
| C 2223 | 10% | 1.5nF | 4822 122 31169 |
| C 2224 | 10% | 1.5nF | 4822 122 31169 |
| C 2225 | 10% | 470pF | 4822 122 30034 |
| C 2226 | 10% | 470pF | 4822 122 30034 |
| C 2229 | 10% | 470pF | 4822 122 30034 |
| C 2230 | 10% | 470pF | 4822 122 30034 |
| C 2305 | -20+50% | 10nF | 4822 122 31414 |
| C 2306 | 10% | 1.5nF | 4822 122 31169 |
| C 2307 | 10% | 1.5nF | 4822 122 31169 |
| C 2317 | 0.25PF | 1.5PF | 5322 122 32101 |
| C 2318 | 10% | 470pF | 4822 122 30034 |
| C 2321 | 0.25PF | 1.5PF | 5322 122 32101 |
| C 2326 | -20+50% | 10nF | 4822 122 '31414 |
| C 2327 | -20+50% | 10nF | 4822 122 31414 |
| C 2328 | 63V 10% | 100nF | 5322 121 43083 |
| C 2329 | 63V 10% | 100nF | 5322 121 43083 |
| C 2331 | 63V 10% | 100nF | 5322 121 43083 |
| C 2332 | 63V 10% | 100nF | 5322 121 43083 |
| C 2333 | 63V 10% | 100nF | 5322 121 43083 |
| C 2335 | 2% | 12pF | 4822 122 31056 |

25-15

| POSNR | DESCRIPTION |  | ORDERING CODE |
| --- | --- | --- | --- |
| C 2336 | -20+50% | 10nF | 4822 122 31414 |
| C 2337 | -20+50% | 10nF | 4822 122 31414 |
| C 2338 | 10% | 470pF | 4822 122 30034 |
| C 2342 | 2% | 22pF | 5322 122 32143 |
| C 2345 | 0.25PF | 1.8PF | 5322 122 32162 |
| C 2346 | 10% | 1.5nF | 4822 122 31169 |
| C 2348 | 10% | 1.5nF | 4822 122 31169 |
| C 2350 | 0.25PF | 2.7pF | 4822 122 31038 |
| C 2600 | 2% | 22pF | 5322 122 32143 |
| C 2601 | 63V 10% | 100nF | 5322 121 43083 |
| C 2602 | -20+50% | 10nF | 4822 122 31414 |
| C 2611 | 10% | lNF | 4822 122 30027 |
| C 2612 | -20+50% | 10nF | 4822 122 31414 |

| C 2613 | 10% | 470pF | 4822 122 30034 |
| --- | --- | --- | --- |
| C 2616 | 10% | 470pF | 4822 122 30034 |
| C 2701 | -10+50% | 100nF | 4822 124 20679 |
| C 2702 | -20+50% | 10nF | 4822 122 31414 |
| C 2703 | -20+50% | 10nF | 4822 122 31414 |
| C 2704 | -20+50% | 10nF | 4822 122 31414 |
| C 2706 | -10+50% | 100nF | 4822 124 20679 |
| C 2707 | -20+50% | 10nF | 4822 122 31414 |
| C 2705 | -20+50% | 10nF | 4822 122 31414 |
| C 2709 | -20+50% | 10nF | 4822 122 31414 |
| C 2711 | -20+50% | 10nF | 4822 122 31414 |
| C 2716 | -10+50% | 68nF | 4822 124 20689 |
| C 2717 | -20+50% | 10nF | 4822 122 31414 |
| C 2718 | -20+50% | 10nF | 4822 122 31414 |
| C 2722 | -20+50% | 10nF | 4822 122 31414 |
| C 2726 | -10+50% | 68nF | 4822 124 20689 |
| C 2727 | -20+50% | 10nF | 4822 122 31414 |
| C 2728 | -20+50% | 10nF | 4822 122 31414 |
| C 2741 | -20+50% | 10nF | 4822 122 31414 |
| C 2744 | -20+50% | 10nF | 4822 122 31414 |
| C 2746 | -20+50% | 10nF | 4822 122 31414 |
| C 2747 | -10+50% | 68nF | 4822 124 20689 |
| C 2748 | -20+50% | 10nF | 4822 122 31414 |
| C 2751 | -10+50% | 47nF | 4822 124 20699 |
| C 2752 | -20+50% | 10nF | 4822 122 31414 |
| C 2753 | -20+50% | 10nF | 4822 122 31414 |
| C 2754 | -20+50% | 10nF | 4822 122 31414 |
| C 2771 | -20+50% | 10nF | 4822 122 31414 |
| C 2772 | -10+50% | 150nF | 4822 124 20672 |
| C 2773 | -20+50% | 10nF | 4822 122 31414 |
| C 2774 | -10+50% | 68nF | 4822 124 20689 |
| C 2776 | -20+50% | 10nF | 4822 122 31414 |
| C 2777 | 63V 10% | 100nF | 5322 121 43083 |
| C 2781 | -20+50% | 10nF | 4822 122 31414 |
| C 3001 | -20+50% | 10nF | 4822 122 31414 |
| C 3002 | 10% | 1.5nF | 4822 122 31169 |
| C 3003 | 10% | 1.5nF | 4822 122 31169 |
| C 3004 | 7-10pF | MUR | 5322 125 11013 |
| C 3005 | 2-20pF | MUR | 5322 125 50296 |
| C 3006 | 0.25PF | 5.6pF | 5322 122 32163 |
| C 3007 | 7-10pF | MUR | 5322 125 11013 |

25-16

| POSNR | DESCRIPTION |  |  | ORDERING CODE |
| --- | --- | --- | --- | --- |
| C 3009 | 2% | 15pF |  | 4822 122 31823 |
| C 3011 | 2% | 68pF |  | 4822 122 31349 |
| C 3013 | 0.25PF | 2.7pF |  | 4822 122 31038 |
| C 3014 | 0.25PF | 2.7pF |  | 4822 122 31038 |
| C 3016 | 2-20pF | MUR |  | 5322 125 50296 |
| C 3017 | -20+50% | 10nF |  | 4822 122 31414 |
| C 3018 | 0.25PF | 5.6pF |  | 5322 122 32163 |
| C 3021 | -20+50% | 10nF |  | 4822 122 31414 |
| C 3022 | -20+50% | 10nF |  | 4822 122 31414 |
| C 3101 | 10% | 1.5nF |  | 4822 122 31169 |
| C 3102 | 10% | 1.5nF |  | 4822 122 31169 |
| C 3104 | 100V 10% | 47nF |  | 5322 121 43088 |
| C 3105 | -20+50% | 10nF |  | 4822 122 31414 |
| C 3106 | 63V 10% | 100nF |  | 5322 121 43083 |
| C 3107 | 0.25PF | 2.7pF |  | 4822 122 31038 |
| C 3108 | 0.25PF | 0.82pF |  | 4822 122 31214 |
| C 3109 | 63V 10% | 100nF |  | 5322 121 43083 |
| C 3110 | -20+50% | 10nF |  | 4822 122 31414 |
| C 3111 | -20+50% | 10nF |  | 4822 122 31414 |
| C 3113 | 0.25PF | 0.82pF |  | 4822 122 31214 |
| C 3114 | 100V 10% | 47nF |  | 5322 121 43088 |
| C 3116 | 63V 10% |  | 100nF | 5322 121 43083 |
| C 3200 | 0.25PF |  | 0.56pF | 5322 122 32107 |
| C 3201 | 0.25PF |  | 0.56pF | 5322 122 32107 |
| C 3202 | 63V 10% |  | 100nF | 5322 121 43083 |
| C 3203 | 63V 10% |  | 100nF | 5322 121 43083 |
| C 3204 | -20+50% |  | 10nF | 4822 122 31414 |
| C 3206 | 63V 10% |  | 100nF | 5322 121 43083 |
| C 3208 | 10% |  | 470pF | 4822 122 30034 |
| C 3209 | -20+50% |  | 2.2nF | 5322 122 50093 |
| C 3211 | -20+50% |  | 2.2nF | 5322 122 50093 |
| C 3250 | 100V 10% |  | 10nF | 5322 121 43086 |
| C 3251 | 100V 10% |  | 47nF | 5322 121 43088 |
| C 3252 | -20+50% |  | 2.2nF | 5322 122 50093 |
| C 3253 | -20+50% |  | 10nF | 4822 122 31414 |
| C 3254 | -20+50% |  | 10nF | 4822 122 31414 |
| C 3256 | 0.25PF |  | 0.56pF | 5322 122 32107 |
| C 3257 | -20+50% |  | 10nF | 4822 122 31414 |
| C 3258 | -20+50% |  | 2.2nF | 5322 122 50093 |
| C 3301 | -20+50% |  | 10nF | 4822 122 31414 |
| C 3302 | -20+50% |  | 10nF | 4822 122 31414 |
| C 3303 | -10+50% |  | 47nF | 4822 124 20699 |
| C 3304 | -20+50% |  | 10nF | 4822 122 31414 |
| C 3306 | -20+50% |  | 10nF | 4822 122 31414 |
| C 3307 | -20+50% |  | 10nF | 4822 122 31414 |
| C 3308 | -20+50% |  | 10nF | 4822 122 31414 |
| C 3309 | -20+50% |  | 10nF | 4822 122 31414 |
| C 3311 | -20+50% |  | 10nF | 4822 122 31414 |
| C 3312 | -10+50% |  | 47nF | 4822 124 20699 |
| C 3313 | -20+50% |  | 10nF | 4822 122 31414 |
| C 3314 | -10+50% |  | 15nF | 4822 124 20729 |
| C 3316 | -20+50% |  | 10nF | 4822 122 31414 |
| C 3317 | -20+50% |  | 10nF | 4822 122 31414 |
| C 3318 | -20+50% |  | 10nF | 4822 122 31414 |
| C 3319 | -10+50% |  | 15nF | 4822 124 20729 |
| C 3321 | -20+50% |  | 10nF | 4822 122 31414 |
| C 3322 | -20+50% |  | 10nF | 4822 122 31414 |

25-17

| POSNR | DESCRIPTION |  | ORDERING CODE |
| --- | --- | --- | --- |
| C 3324 | -20+50% | 10nF | 4822 122 31414 |
| C 3326 | -20+50% | 10nF | 4822 122 31414 |
| C 4001 | 63V 10% | 100nF | 5322 121 43083 |
| C 4002 | -10+50% | 47nF | 4822 124 20699 |
| C 4003 | 63V 10% | 100nF | 5322 121 43083 |
| C 4004 | -20+50% | 10nF | 4822 122 31414 |
| C 4005 | -20+50% | 10nF | 4822 122 31414 |
| C 4006 | 10% | 4.7nF | 4822 122 31125 |
| C 4007 | 10% | 4.7nF | 4822 122 31125 |
| C 4008 | 10% | 470pF | 4822 122 30034 |
| C 4009 | 0.25PF | 3.9PF | 5322 122 34107 |
| C 4011 | 2% | 100pF | 4822 122 31316 |
| C 4021 | -10+50% | 47nF | 4822 124 20699 |
| C 4022 | -20+50% | 10nF | 4822 122 31414 |
| C 4028 | 2% | 100pF | 4822 122 31316 |
| C 4029 | 2% | 100pF | 4822 122 31316 |
| C 4101 | -20+50% | 10nF | 4822 122 31414 |
| C 4103 | -20+50% | 10nF | 4822 122 31414 |
| C 4105 | 63V 10% | 100nF | 5322 121 43083 |
| C 4106 | -10+50% | 150nF | 4822 124 20672 |
| C 4107 | -20+50% | 10nF | 4822 122 31414 |
| C 4108 | 2% | 100pF | 4822 122 31316 |
| C 4109 | -20+50% | 10nF | 4822 122 31414 |
| C 4110 | 63V 10% | 470nF | 5322 121 43085 |
| C 4112 | -20+50% | 10nF | 4822 122 31414 |
| C 4113 | 630V 1% | 1nF | 4822 121 50591 |
| C 4114 | 100V 10% | 10nF | 5322 121 41727 |
| C 4116 | 10% | 1.5nF | 4822 122 31169 |
| C 4117 | 2% | 100pF | 4822 122 31316 |
| C 4118 | -20+50% | 10nF | 4822 122 31414 |
| C 4120 | 100V 10% | 47nF | 5322 121 43088 |
| C 4122 | 63V 10% | 100nF | 5322 121 43083 |
| C 4123 | -10+50% | 47nF | 4822 124 20699 |
| C 4124 | -20+50% | 10nF | 4822 122 31414 |
| C 4126 | -10+50% | 47nF | 4822 124 20699 |
| C 4301 | 63V 10% | 100nF | 5322 121 43083 |
| C 4302 | -10+50% | 15nF | 4822 124 20729 |
| C 4303 | 100V 10% | 10nF | 5322 121 43086 |
| C 4304 | 2% | 330pF | 4822 122 31353 |
| C 4306 | -20+50% | 10nF | 4822 122 31414 |
| C 4307 | -20+50% | 10nF | 4822 122 31414 |
| C 4311 | 2% | 100pF | 4822 122 31316 |
| C 4501 | -20+50% | 10nF | 4822 122 31414 |
| C 4502 | -20+50% | 10nF | 4822 122 31414 |
| C 4503 | 0.25PF | 3.9pF | 5322 122 34107 |
| C 4521 | 63V 10% | 100nF | 5322 121 43083 |
| C 4601 | 63V 10% | 100nF | 5322 121 43083 |
| C 4602 | 0.25PF | 8.2pF | 4822 122 31052 |
| C 4603 | 0.25PF | 8.2pF | 4822 122 31052 |
| C 4611 | -20+50% | 10nF | 4822 122 31414 |
| C 4612 | -20+50% | 10nF | 4822 122 31414 |
| C 4613 | 2% | 10pF | 4822 122 32185 |
| C 4701 | 10% | 1nF | 4822 122 30027 |
| C 4702 | 2% | 220pF | 4822 122 30094 |
| C 4703 | 10% | 1nF | 4822 122 30027 |
| C 4704 | -20+50% | 10nF | 4822 122 31414 |
| C 4801 | -20+20% | 2200nF | 4822 124 21382 |

25-18

| POSNR | DESCRIPTION |  | ORDERING CODE |
| --- | --- | --- | --- |
| C 4804 | -10+50% | 150nF | 4822 124 20672 |
| C 4807 | -20+50% | 10nF | 4822 122 31414 |
| C 4808 | -10+50% | 68nF | 4822 124 20689 |
| C 4811 | -20+50% | 10nF | 4822 122 31414 |
| C 4812 | -10+50% | 47nF | 4822 124 20699 |
| C 4813 | -20+50% | 10nF | 4822 122 31414 |
| C 4819 | -20+50% | 10nF | 4822 122 31414 |
| C 4820 | -20+50% | 10nF | 4822 122 31414 |
| C 4822 | -20+50% | 10nF | 4822 122 31414 |
| C 4825 | -20+50% | 10nF | 4822 122 31414 |
| C 4829 | -20+50% | 10nF | 4822 122 31414 |
| C 4831 | -20+50% | 10nF | 4822 122 31414 |
| C 4832 | -10+50% | 47nF | 4822 124 20699 |
| C 4833 | -20+50% | 10nF | 4822 122 31414 |
| C 4835 | -20+50% | 10nF | 4822 122 31414 |
| C 4836 | -20+50% | 10nF | 4822 122 31414 |
| C 4837 | -10+50% | 47nF | 4822 124 20699 |
| C 4839 | 2% | 12pF | 4822 122 31056 |
| C 5001 | -20+50% | 10nF | 4822 122 31414 |
| C 5002 | -20+50% | 10nF | 4822 122 31414 |
| C 5003 | -20+50% | 10nF | 4822 122 31414 |
| C 5004 | -20+50% | 10nF | 4822 122 31414 |
| C 5006 | -20+50% | 10nF | 4822 122 31414 |
| C 6001 | 250V 10% | 220nF | 5322 121 44142 |
| C 6002 | ME275 20% | 1nF | 5322 121 42583 |
| C 6003 | 63V 10% | 100nF | 5322 121 43083 |
| C 6004 | 63V 10% | 100nF | 5322 121 43083 |
| C 6005 | -20+50% | l.5nF | 5322 122 50092 |
| C 6006 | ME275 20% | 1nF | 5322 121 42583 |
| C 6007 | -20+20% | 68nF | 5322 124 21938 |
| C 6008 | -20+20% | 68nF | 5322 124 21938 |
| C 6009 | 63V 10% | 100nF | 5322 121 43083 |
| C 6011 | -10+50% | 33NF | 4822 124 20712 |
| C 6012 | 2% | 220pF | 4822 122 30094 |
| C 6013 | 10% | 4.7nF | 4822 122 31125 |
| C 6014 | 160V 1% | 33nF | 5322 121 50997 |
| C 6011 | 2000V 5% | 1.5nF | 4822 121 40541 |
| C 6018 | 10% | 4.7nF | 4822 122 31125 |
| C 6031 | 10% | 2.2nF | 4822 122 30114 |
| C 6032 | 63V 10% | 220nF | 5322 121 43084 |
| C 6033 | 10% | 4.7nF | 4822 122 31125 |
| C 6041 | 63V 10% | 100nF | 5322 121 43083 |
| C 6042 | 63V 10% | 100nF | 5322 121 43083 |
| C 6100 | -20+20% | 6800nF | 4822 124 40692 |
| C 6101 | -20+20% | 6800nF | 4822 124 40692 |
| C 6102 | -10+50% | 680nF | 4822 124 20685 |
| C 6103 | -10+50% | 680nF | 4822 124 20685 |
| C 6104 | -10+50% | 220nF | 4822 124 20681 |
| C 6106 | -10+50% | 470nF | 4822 124 20695 |
| C 6107 | -10+50% | 150nF | 4822 124 20691 |
| C 6108 | -10+50% | 470nF | 4822 124 20695 |
| C 6109 | -10+50% | 150nF | 4822 124 20691 |
| C 6111 | -10+50% | 220nF | 4822 124 20704 |
| C 6112 | -10+50% | 100nF | 4822 124 20701 |
| C 6113 | -10+50% | 100nF | 4822 124 20701 |
| C 6114 | -10+50% | 100nF | 4822 124 20701 |
| C 6116 | -10+50% | 68nF | 4822 124 20734 |

25-19

| POSNR | DESCRIPTION |  | ORDERING CODE |
| --- | --- | --- | --- |
| C 6117 | -10+50% | 22nF | 4822 124 20731 |
| C 6119 | -10+50% | 22nF | 4822 124 20731 |
| C 6120 | -20+50% | 10nF | 4822 122 31414 |
| C 6121 | -10+50% | 22nF | 4822 124 20731 |
| C 6122 | 630V 1% | 680pF | 5322 121 51214 |
| C 6131 | 63V 10% | 470nF | 5322 121 43085 |
| C 6132 | -10+50% | 100nF | 4822 124 20679 |
| C 6133 | 63V 10% | 100nF | 5322 121 43083 |
| C 6134 | 10% | 1nF | 4822 122 30027 |
| C 6135 | -20+50% | 10nF | 4822 122 31414 |
| C 6201 | 100V 10% | 47nF | 5322 121 43088 |
| C 6202 | 2% | 47PF | 4822 122 31072 |
| C 6204 | 63V 10% | 100nF | 5322 121 43083 |
| C 6206 | 10% | 1nF | 4822 122 30027 |
| C 6207 | 10% | 4.7nF | 4822 122 31125 |
| C 6208 | -10+50% | 68nF | 4822 124 20734 |
| C 6209 | -20+50% | 2.2nF | 5322 122 50093 |
| C 6211 | -20+50% | 10nF | 5322 122 50091 |
| C 6212 | -10+10% | 33pF | 5322 122 33081 |
| C 6213 | 10% | 47NF | 4822 122 31125 |
| C 6214 | 20% | 470pF | 5322 122 50086 |
| C 6311 | -20+50% | 10nF | 4822 122 31414 |
| C 6401 | 63V 10% | 100nF | 5322 121 43083 |
| C 6402 | -10+50% | 68nF | 4822 124 20689 |
| C 6500 | -10+50% | 68nF | 4822 124 20689 |
| C 6501 | -20+50% | 10nF | 4822 122 31414 |
| C 6502 | 100V 10% | 10nF | 5322 121 43086 |
| C 6503 | 2% | 100pF | 4822 122 31316 |
| C 6506 | 2% | 100pF | 4822 122 31316 |
| C 7004 | -20+50% | 10nF | 4822 122 31414 |
| C 7006 | -20+50% | 10nF | 4822 122 31414 |
| C 7007 | 63V 10% | 100nF | 5322 121 43083 |
| C 7008 | 10% | 680pF | 4822 122 30053 |
| C 7009 | 63V 10% | 100nF | 5322 121 43083 |
| C 7011 | -20+50% | 10nF | 4822 122 31414 |
| C 7012 | -20+50% | 10nF | 4822 122 31414 |
| C 7013 | -20+50% | 10nF | 4822 122 31414 |
| C 7014 | -20+50% | 10nF | 4822 122 31414 |
| C 7016 | -20+50% | 10nF | 4822 122 31414 |
| C 7011 | -20+50% | 10nF | 4822 122 31414 |
| C 7013 | -20+50% | 10nF | 4822 122 31414 |
| C 7019 | -20+50% | 10nF | 4822 122 31414 |
| C 7101 | -20+50% | 10nF | 4822 122 31414 |
| C 7102 | -20+50% | 10nF | 4822 122 31414 |
| C 7103 | -20+50% | 10nF | 4822 122 31414 |
| C 7104 | -10+50% | 100nF | 4822 124 20679 |
| C 7106 | -20+50% | 10nF | 4822 122 31414 |
| C 7107 | -20+50% | 10nF | 4822 122 31414 |
| C 7108 | -20+50% | 10nF | 4822 122 31414 |
| C 7109 | -20+50% | 10nF | 4822 122 31414 |
| C 7111 | -20+50% | 10nF | 4822 122 31414 |
| C 7112 | -20+50% | 10nF | 4822 122 31414 |
| C 7114 | -10+50% | 33NF | 4822 124 20712 |
| C 7116 | -20+50% | 10nF | 4822 122 31414 |
| C 7117 | -20+50% | 10nF | 4822 122 31414 |

25-20

25.4.2   RESISTORS

| POS NR | DESCRIPTION |  |  | ORDERING CODE |
| --- | --- | --- | --- | --- |
| R 0200 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 0201 | MRS25 | 1% | 100K | 4822 116 52973 |
| R 0202 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 0203 | MRS25 | 1% | 100K | 4822 116 52973 |
| R 0204 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 0206 | MRS25 | 1% | 11K | 4822 116 52907 |
| R 0207 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 0208 | MRS25 | 1% | 1K | 4822 116 53108 |
| R 0209 | MRS25 | 1% | 90K9 | 5322 116 53582 |
| R 0211 | MRS25 | 1% | 1K | 4822 116 53108 |
| R 0212 | MRS25 | 1% | 46K4 | 5322 116 53314 |
| R 0213 | MRS25 | 1% | 3K16 | 4822 116 53021 |
| R 0214 | MRS25 | 1% | 46K4 | 5322 116 53314 |
| R 0216 | MRS25 | 1% | 2K15 | 5322 116 53239 |
| R 0217 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 0218 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 0219 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 0221 | MRS25 | 1% | 3K16 | 4822 116 53021 |
| R 0222 | MRS25 | 1% | 3K16 | 4822 116 53021 |
| R 0223 | MRS25 | 1% | 3K16 | 4822 116 53021 |
| R 0224 | MRS25 | 1% | 3K16 | 4822 116 53021 |
| R 0226 | MRS25 | 1% | 51E1 | 5322 116 53213 |
| R 0227 | MRS25 | 1% | 51E1 | 5322 116 53213 |
| R 0228 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 0229 | MRS25 | 1% | 51E1 | 5322 116 53213 |
| R 0231 | MRS25 | 1% | 51E1 | 5322 116 53213 |
| R 0232 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 0233 | MRS25 | 1% | 3K16 | 4822 116 53021 |
| R 0251 | MRS25 | 1% | 10E | 4822 116 52891 |
| R 0301 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 0302 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 0303 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 0304 | MRS25 | 1% | 1K33 | 5322 116 53512 |
| R 0306 | MRS25 | 1% | 1K33 | 5322 116 53512 |
| R 0307 | MRS25 | 1% | 1K33 | 5322 116 53512 |
| R 0309 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 0312 | MRS25 | 1% | 2K15 | 5322 116 53239 |
| R 0313 | MRS25 | 1% | 100K | 4822 116 52973 |
| R 0401 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 0402 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 0403 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 0404 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 0406 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 0407 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 0408 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 0409 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 0411 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 0412 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 0413 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 0414 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 0416 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 0417 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 0418 | MRS25 | 1% | 1K33 | 5322 116 53512 |
| R 0419 | MRS25 | 1% | 1K33 | 5322 116 53512 |

25-21

| POS NR | DESCRIPTION |  |  | ORDERING CODE |
| --- | --- | --- | --- | --- |
| R 0421 | MRS25 | 1% | 1K33 | 5322 116 53512 |
| R 0422 | MRS25 | 1% | 1K33 | 5322 116 53512 |
| R 0423 | MRS25 | 1% | 1K33 | 5322 116 53512 |
| R 0424 | MRS25 | 1% | 1K33 | 5322 116 53512 |
| R 0426 | MRS25 | 1% | 1K33 | 5322 116 53512 |
| R 0427 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 0501 | MRS25 | 1% | 909E | 4822 116 53533 |
| R 0502 | MRS25 | 1% | 909E | 4822 116 53533 |
| R 0503 | MRS25 | 1% | 511E | 5322 116 53135 |
| R 0504 | MRS25 | 1% | 511E | 5322 116 53135 |
| R 0506 | MRS25 | 1% | 750E | 5322 116 53265 |
| R 0507 | MRS25 | 1% | 1K62 | 5322 116 53257 |
| R 0508 | MRS25 | 1% | 909E | 4822 116 53533 |
| R 0509 | MRS25 | 1% | 909E | 4822 116 53533 |
| R 0510 | MRS25 | 1% | 511E | 5322 116 53135 |
| R 0511 | MRS25 | 1% | 511E | 5322 116 53135 |
| R 0512 | MRS25 | 1% | 750E | 5322 116 53265 |
| R 0513 | MRS25 | 1% | 1K | 4822 116 53108 |
| R 0514 | MRS25 | 1% | 1K96 | 5322 116 53237 |
| R 0515 | MRS25 | 1% | 2K37 | 5322 116 53536 |
| R 0516 | MRS25 | 1% | 5K11 | 5322 116 53494 |
| R 0517 | MRS25 | 1% | 10E | 4822 116 52891 |
| R 0518 | MRS25 | 1% | 10E | 4822 116 52891 |
| R 0519 | MRS25 | 1% | 10E | 4822 116 52891 |
| R 0521 | MRS25 | 1% | 287E | 5322 116 53221 |
| R 0522 | MRS25 | 1% | 1K | 4822 116 53108 |
| R 0523 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 0524 | MRS25 | 1% | 1K | 4822 116 53108 |
| R 0525 | MRS25 | 1% | 1K | 4822 116 53108 |
| R 0526 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 0527 | MRS25 | 1% | 1K | 4822 116 53108 |
| R 0528 | MRS25 | 1% | 287E | 5322 116 53221 |
| R 0531 | MRS25 | 1% | 2K15 | 5322 116 53239 |
| R 0532 | MRS25 | 1% | 10E | 4822 116 52891 |
| R 0533 | MRS25 | 1% | 10E | 4822 116 52891 |
| R 0534 | MRS25 | 1% | 42E2 | 5322 116 53515 |
| R 0536 | MRS25 | 1% | 422E | 5322 116 53592 |
| R 0537 | MRS25 | 1% | 42E2 | 5322 116 53515 |
| R 0538 | MRS25 | 1% | 51E1 | 5322 116 53213 |
| R 0539 | MRS25 | 1% | 422E | 5322 116 53592 |
| R 0541 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 0543 | MRS25 | 1% | 316K | 4822 116 53058 |
| R 0545 | MRS25 | 1% | 2K87 | 5322 116 53513 |
| R 0546 | MRS25 | 1% | 2K87 | 5322 116 53513 |
| R 0548 | MRS25 | 1% | 10E | 4822 116 52891 |
| R 0549 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 0551 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 0554 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 0555 | MRS25 | 1% | 31K6 | 5322 116 53262 |
| R 0556 | MRS25 | 1% | 12K1 | 4822 116 52957 |
| R 0557 | MRS25 | 1% | 1K1 | 5322 116 53473 |
| R 0558 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 0559 | MRS25 | 1% | 31K6 | 5322 116 53262 |
| R 0560 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 0561 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 0562 | MRS25 | 1% | 10K | 4822 116 53022 |

25-22

| POS NR | DESCRIPTION |  |  | ORDERING CODE |
| --- | --- | --- | --- | --- |
| R 0563 | MRS25 | 1% | 31K6 | 5322 116 53262 |
| R 0564 | MRS25 | 1% | 2K15 | 5322 116 53239 |
| R 0565 | MRS25 | 1% | 5K11 | 5322 116 53494 |
| R 0566 | MRS25 | 1% | 1K | 4822 116 53108 |
| R 0568 | MRS25 | 1% | 4K64 | 5322 116 53212 |
| R 0569 | MRS25 | 1% | 42E2 | 5322 116 53515 |
| R 0570 | MRS25 | 1% | 19K6 | 5322 116 53258 |
| R 0571 | MRS25 | 1% | 3K83 | 4822 116 53079 |
| R 0572 | MRS25 | 1% | 8K25 | 5322 116 53267 |
| R 0573 | MRS25 | 1% | 3K48 | 4822 116 53315 |
| R 0574 | MRS25 | 1% | 1K78 | 5322 116 53208 |
| R 0575 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 0576 | MRS25 | 1% | 5K11 | 5322 116 53494 |
| R 0577 | MRS25 | 1% | 5K11 | 5322 116 53494 |
| R 0578 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 0579 | MRS25 | 1% | 10E | 4822 116 52891 |
| R 0580 | MRS25 | 1% | 19K6 | 5322 116 53258 |
| R 0581 | MRS25 | 1% | 10E | 4822 116 52891 |
| R 0582 | MRS25 | 1% | 1K21 | 4822 116 52956 |
| R 0583 | MRS25 | 1% | 10E | 4822 116 52891 |
| R 0584 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 0585 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 0586 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 0587 | MRS25 | 1% | 26K1 | 5322 116 53261 |
| R 0588 | MRS25 | 1% | 7K5 | 4822 116 53028 |
| R 0589 | MRS25 | 1% | 15K4 | 5322 116 53234 |
| R 0591 | MRS25 | 1% | 46K4 | 5322 116 53314 |
| R 0592 | MRS25 | 1% | 46K4 | 5322 116 53314 |
| R 0593 | MRS25 | 1% | 5K11 | 5322 116 53494 |
| R 0594 | MRS25 | 1% | 3K16 | 4822 116 53021 |
| R 0595 | MRS25 | 1% | 10E | 4822 116 52891 |
| R 0596 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 0598 | MRS25 | 1% | 51E1 | 5322 116 53213 |
| R 0599 | MRS25 | 1% | 511E | 5322 116 53135 |
| R 0600 | MRS25 | 1% | 100K | 4822 116 52973 |
| R 0601 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 0602 | MRS25 | 1% | 5K62 | 5322 116 53495 |
| R 0602 | MRS25 | 1% | 11K | 4822 116 52907 |
| R 0603 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 0603 | MRS25 | 1% | 261E | 5322 116 53549 |
| R 0604 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 0604 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 0605 | MRS25 | 1% | 100K | 4822 116 52973 |
| R 0605 | MRS25 | 1% | 11K | 4822 116 52907 |
| R 0606 | MRS25 | 1% | 16K2 | 5322 116 53589 |
| R 0607 | MRS25 | 1% | 2K15 | 5322 116 53239 |
| R 0607 | MRS25 | 1% | 511E | 5322 116 5·3135 |
| R 0608 | MRS25 | 1% | 2K15 | 5322 116 53239 |
| R 0608 | MRS25 | 1% | 511E | 5322 116 53135 |
| R 0609 | MRS25 | 1% | 2K15 | 5322 116 53239 |
| R 0609 | MRS25 | 1% | 511E | 5322 116 53135 |
| R 0610 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 0611 | MRS25 | 1% | 2K15 | 5322 116 53239 |
| R 0611 | MRS25 | 1% | 511E | 5322 116 53135 |
| R 0612 | MRS25 | 1% | 422E | 5322 116 53592 |
| R 0612 | MRS25 | 1% | 2K15 | 5322 116 53239 |

25-23

| POS NR | DESCRIPTION |  |  | ORDERING CODE |
| --- | --- | --- | --- | --- |
| R 0613 | MRS25 | 1% | 422E | 5322 116 53592 |
| R 0613 | MRS25 | 1% | 7K5 | 4822 116 53028 |
| R 0614 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 0614 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 0615 | MRS25 | 1% | 1K47 | 5322 116 53185 |
| R 0616 | MRS25 | 1% | 75E | 5322 116 53339 |
| R 0616 | MRS25 | 1% | 12K1 | 4822 116 52957 |
| R 0617 | MRS25 | 1% | 75E | 5322 116 53339 |
| R 0618 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 0619 | MRS25 | 1% | 2K15 | 5322 116 53239 |
| R 0621 | MRS25 | 1% | 51El | 5322 116 53213 |
| R 0621 | MRS25 | 1% | 5E11 | 4822 116 52999 |
| R 0622 | MRS25 | 1% | 1K62 | 5322 116 53257 |
| R 0622 | MRS25 | 1% | 5E11 | 4822 116 52999 |
| R 0623 | MRS25 | 1% | 1K62 | 5322 116 53257 |
| R 0624 | MRS25 | 1% | 178K | 5322 116 53555 |
| R 0624 | MRS25 | 1% | 5E11 | 4822 116 52999 |
| R 0626 | MRS25 | 1% | 26K1 | 5322 116 53261 |
| R 0627 | MRS25 | 1% | 17K8 | 5322 116 53235 |
| R 0627 | MRS25 | 1% | 5E11 | 4822 116 52999 |
| R 0628 | MRS25 | 1% | 1M | 4822 116 52843 |
| R 0628 | MRS25 | 1% | 5E11 | 4822 116 52999 |
| R 0629 | MRS25 | 1% | 2K15 | 5322 116 53239 |
| R 0629 | MRS25 | 1% | 5E11 | 4822 116 52999 |
| R 0631 | MRS25 | 1% | 12K1 | 4822 116 52957 |
| R 0633 | MRS25 | 1% | 1M | 4822 116 52843 |
| R 0634 | MRS25 | 1% | 2K15 | 5322 116 53239 |
| R 0636 | MRS25 | 1% | 51K1 | 4822 116 53121 |
| R 0637 | MRS25 | 1% | 16K2 | 5322 116 53589 |
| R 0638 | MRS25 | 1% | 511E | 5322 116 53135 |
| R 0639 | MRS25 | 1% | 511E | 5322 116 53135 |
| R 0641 | MRS25 | 1% | 12K1 | 4822 116 52957 |
| R 0642 | MRS25 | 1% | 422E | 5322 116 53592 |
| R 0643 | MRS25 | 1% | 422E | 5322 116 53592 |
| R 0644 | MRS25 | 1% | 16K2 | 5322 116 53589 |
| R 0646 | MRS25 | 1% | 5K62 | 5322 116 53495 |
| R 0647 | MRS25 | 1% | 1K78 | 5322 116 53208 |
| R 0648 | MRS25 | 1% | 6K81 | 5322 116 53252 |
| R 0649 | MRS25 | 1% | 51K1 | 4822 116 53121 |
| R 0651 | MRS25 | 1% | 16K2 | 5322 116 53589 |
| R 0652 | MRS25 | 1% | 511E | 5322 116 53135 |
| R 0653 | MRS25 | 1% | 511E | 5322 116 53135 |
| R 0654 | MRS25 | 1% | 422E | 5322 116 53592 |
| R 0656 | MRS25 | 1% | 422E | 5322 116 53592 |
| R 0657 | MRS25 | 1% | 16K2 | 5322 116 53589 |
| R 0658 | MRS25 | 1% | 51K1 | 4822 116 53121 |
| R 0659 | MRS25 | 1% | 5K62 | 5322 116 53495 |
| R 0661 | MRS25 | 1% | 1K78 | 5322 116 53208 |
| R 0662 | MRS25 | 1% | 6K81 | 5322 116 53252 |
| R 0663 | MRS25 | 1% | 51K1 | 4822 116 53121 |
| R 0666 | MRS25 | 1% | 51E1 | 5322 116 53213 |
| R 0669 | MRS25 | 1% | 1K62 | 5322 116 53257 |
| R 0671 | MRS25 | 1% | 1K62 | 5322 116 53257 |
| R 0681 | MRS25 | 1% | 5E11 | 4822 116 52999 |
| R 0682 | MRS25 | 1% | 5E11 | 4822 116 52999 |
| R 0701 | MCR18 | 1% | 4K7 | 5322 111 90111 |
| R 0702 | MCR18 | 1% | 47E | 4822 111 90217 |

25-24

| POS NR | DESCRIPTION |  |  | ORDERING CODE |
| --- | --- | --- | --- | --- |
| R 0703 | MCR18 | 1% | 100E | 5322 111 91134 |
| R 0704 | MCR18 | 1% | 10K | 4822 111 90249 |
| R 0706 | MCR18 | 1% | 180E | 5322 111 90242 |
| R 0707 | MCR18 | 1% | 47E | 4822 111 90217 |
| R 0708 | MCR18 | 1% | 4K7 | 5322 111 90111 |
| R 0709 | MCR18 | 1% | 330E | 5322 111 90106 |
| R 0711 | MCR18 | 1% | 470E | 5322 111 90109 |
| R 0712 | MCR18 | 1% | 3K3 | 4822 111 90157 |
| R 0713 | MCR18 | 1% | 470E | 5322 111 90109 |
| R 0714 | MCR18 | 1% | 330E | 5322 111 90106 |
| R 0715 | MCR18 | 1% | 100E | 5322 111 91134 |
| R 0716 | MCR18 | 1% | 750E | 5322 111 91539 |
| R 0717 | MCR18 | 1% | 10K | 4822 111 90249 |
| R 0718 | MCR18 | 1% | 10K | 4822 111 90249 |
| R 0719 | MCR18 | 1% | 750E | 5322 111 91539 |
| R 0720 | MCR18 | 1% | 220E | 4822 111 90178 |
| R 0721 | MCR18 | 1% | 10K | 4822 111 90249 |
| R 0722 | MCR18 | 1% | 3K9 | 5322 111 91135 |
| R 0723 | MCR18 | 1% | 15K | 4822 111 90196 |
| R 0724 | MCR18 | 1% | 10K | 4822 111 90249 |
| R 0725 | MCR18 | 1% | 1K | 5322 111 90092 |
| R 0726 | MCR18 | 1% | 22K | 5322 111 91349 |
| R 0727 | MCR18 | 1% | 27K | 4822 111 90542 |
| R 0728 | MCR18 | 1% | 10K | 4822 111 90249 |
| R 0729 | MCR18 | 1% | 22K | 5322 111 91349 |
| R 0731 | MCR18 | 1% | 6K8 | 4822 111 90544 |
| R 0732 | MCR18 | 1% | 27K | 4822 111 90542 |
| R 0733 | MCR18 | 1% | 100E | 5322 111 91134 |
| R 0734 | MCR18 | 1% | 1K2 | 5322 111 90096 |
| R 0735 | MCR18 | 1% | 100E | 5322 111 91134 |
| R 0736 | MCR18 | 1% | 1K | 5322 111 90092 |
| R 0737 | MCR18 | 1% | 3K9 | 5322 111 91135 |
| R 0738 | MCR18 | 1% | 15K | 4822 111 90196 |
| R 0739 | MCR18 | 1% | 27K | 4822 111 90542 |
| R 0741 | MCR18 | 1% | 3K3 | 4822 111 90157 |
| R 0742 | MCR18 | 1% | 15K | 4822 111 90196 |
| R 0743 | MCR18 | 1% | 1K | 5322 111 90092 |
| R 0744 | MCR18 | 1% | 3K9 | 5322 111 91135 |
| R 0746 | MCR18 | 1% | 10K | 4822 111 90249 |
| R 0747 | MCR18 | 1% | 270E | 4822 111 90154 |
| R 0748 | MCR18 | 1% | 270E | 4822 111 90154 |
| R 0749 | MCR18 | 1% | 330E | 5322 111 90106 |
| R 0751 | MCR18 | 1% | 10K | 4822 111 90249 |
| R 0752 | MCR18 | 1% | 68K | 4822 111 90202 |
| R 0753 | MCR18 | 1% | 4K7 | 5322 111 90111 |
| R 0754 | MCR18 | 1% | 10K | 4822 111 90249 |
| R 0755 | MCR18 | 1% | 3K3 | 4822 111 90157 |
| R 0756 | MCR18 | 1% | 10K | 4822 111 90249 |
| R 0760 | MCR18 | 1% | 1K | 5322 111 90092 |
| R 0761 | MCR18 | 1% | 6K8 | 4822 111 90544 |
| R 0762 | MCR18 | 1% | 27K | 4822 111 90542 |
| R 0763 | MCR18 | 1% | 100E | 5322 111 91134 |
| R 0764 | MCR18 | 1% | 1K2 | 5322 111 90096 |
| R 0765 | MCR18 | 1% | 1K | 5322 111 90092 |
| R 0766 | MCR18 | 1% | 100E | 5322 111 91134 |
| R 0767 | MCR18 | 1% | 3K9 | 5322 111 91135 |
| R 0768 | MCR18 | 1% | 15K | 4822 111 90196 |

25-25

| POS NR | DESCRIPTION |  |  |  | ORDERING CODE |
| --- | --- | --- | --- | --- | --- |
| R 0769 | MCR18 | 1% | 27K |  | 4822 111 90542 |
| R 0770 | MCR18 | 1% | 1K |  | 5322 111 90092 |
| R 0771 | MCR18 | 1% | 3K3 |  | 4822 111 90157 |
| R 0772 | MCR18 | 1% | 15K |  | 4822 111 90196 |
| R 0773 | MCR18 | 1% | 1K |  | 5322 111 90092 |
| R 0774 | MCR18 | 1% | 3K9 |  | 5322 111 91135 |
| R 0776 | MCR18 | 1% | 10K |  | 4822 111 90249 |
| R 0777 | MCR18 | 1% | 270E |  | 4822 111 90154 |
| R 0778 | MCR18 | 1% | 270E |  | 4822 111 90154 |
| R 0779 | MCR18 | 1% | 330E |  | 5322 111 90106 |
| R 0781 | MCR18 | 1% |  | 10K | 4822 111 90249 |
| R 0782 | MCR18 | 1% |  | 68K | 4822 111 90202 |
| R 0783 | MCR18 | 1% |  | 4K7 | 5322 111 90111 |
| R 0784 | MCR18 | 1% |  | 10K | 4822 111 90249 |
| R 0785 | MCR18 | 1% |  | 3K3 | 4822 111 90157 |
| R 0786 | MCR18 | 1% |  | 10K | 4822 111 90249 |
| R 0791 | MCR18 | 1% |  | 10E | 5322 111 90095 |
| R 0792 | MCR18 | 1% |  | 10E | 5322 111 90095 |
| R 0793 | MCR18 | 1% |  | 10E | 5322 111 90095 |
| R 0794 | MCR18 | 1% |  | 10E | 5322 111 90095 |
| R 0801 | MRS25 | 1% |  | 10E | 4822 116 52891 |
| R 0802 | MRS25 | 1% |  | 100E | 5322 116 53126 |
| R 0804 | MRS25 | 1% |  | 348E | 5322 116 53591 |
| R 0805 | MRS25 | 1% |  | 348E | 5322 116 53591 |
| R 0806 | MRS25 | 1% |  | 10E | 4822 116 52891 |
| R 0807 | MRS25 | 1% |  | 100E | 5322 116 53126 |
| R 0809 | MRS25 | 1% |  | 348E | 5322 116 53591 |
| R 0810 | MRS25 | 1% |  | 215E | 5322 116 53325 |
| R 0811 | MRS25 | 1% |  | 348E | 5322 116 53591 |
| R 0812 | MRS25 | 1% |  | 1K | 4822 116 53108 |
| R 0813 | MRS25 | 1% |  | 2K61 | 5322 116 53327 |
| R 0814 | MRS25 | 1% |  | 100E | 5322 116 53126 |
| R 0815 | MRS25 | 1% |  | 237E | 5322 116 53259 |
| R 0816 | MRS25 | 1% |  | 10E | 4822 116 52891 |
| R 0817 | MRS25 | 1% |  | 100E | 5322 116 53126 |
| R 0819 | MRS25 | 1% |  | 162E | 5322 116 53523 |
| R 0821 | MRS25 | 1% |  | 162E | 5322 116 53523 |
| R 0822 | MRS25 | 1% |  | 10E | 4822 116 52891 |
| R 0823 | MRS25 | 1% |  | 100E | 5322 116 53126 |
| R 0825 | MRS25 | 1% |  | 162E | 5322 116 53523 |
| R 0826 | MRS25 | 1% |  | 162E | 5322 116 53523 |
| R 0827 | MRS25 | 1% |  | 100E | 5322 116 53126 |
| R 0828 | MRS25 | 1% |  | 215E | 5322 116 53325 |
| R 0829 | MRS25 | 1% |  | 215E | 5322 116 53325 |
| R 0831 | MRS25 | 1% |  | 10E | 4822 116 52891 |
| R 0832 | MRS25 | 1% |  | 100E | 5322 116 53126 |
| R 0834 | MRS25 | 1% |  | 348E | 5322 116 53591 |
| R 0835 | MRS25 | 1% |  | 348E | 5322 116 53591 |
| R 0836 | MRS25 | 1% |  | 10E | 4822 116 52891 |
| R 0837 | MRS25 | 1% |  | 100E | 5322 116 53126 |
| R 0839 | MRS25 | 1% |  | 348E | 5322 116 53591 |
| R 0840 | MRS25 | 1% |  | 215E | 5322 116 53325 |
| R 0841 | MRS25 | 1% |  | 348E | 5322 116 53591 |
| R 0842 | MRS25 | 1% |  | 1K | 4822 116 53108 |
| R 0843 | MRS25 | 1% |  | 2K61 | 5322 116 53327 |
| R 0844 | MRS25 | 1% |  | 100E | 5322 116 53126 |
| R 0845 | MRS25 | 1% |  | 237E | 5322 116 53259 |

25-26

| POS NR | DESCRIPTION |  |  | ORDERING CODE |
| --- | --- | --- | --- | --- |
| R 0846 | MRS25 | 1% | 10E | 4822 116 52891 |
| R 0847 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 0849 | MRS25 | 1% | 162E | 5322 116 53523 |
| R 0851 | MRS25 | 1% | 162E | 5322 116 53523 |
| R 0852 | MRS25 | 1% | 10E | 4822 116 52891 |
| R 0853 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 0855 | MRS25 | 1% | 162E | 5322 116 53523 |
| R 0856 | MRS25 | 1% | 162E | 5322 116 53523 |
| R 0857 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 0858 | MRS25 | 1% | 215E | 5322 116 53~25 |
| R 0859 | MRS25 | 1% | 215E | 5322 116 53325 |
| R 0861 | MRS25 | 1% | 5E11 | 4822 116 52999 |
| R 0862 | MRS25 | 1% | 2K15 | 5322 116 53239 |
| R 0863 | MRS25 | 1% | 1K | 4822 116 53108 |
| R 0864 | MRS25 | 1% | 422E | 5322 116 53592 |
| R 0865 | MRS25 | 1% | 1K | 4822 116 53108 |
| R 0866 | MRS25 | 1% | 51E1 | 5322 116 53213 |
| R 0867 | MRS25 | 1% | 511E | 5322 116 53135 |
| R 0868 | MRS25 | 1% | 237E | 5322 116 53259 |
| R 0869 | MRS25 | 1% | 51E1 | 5322 116 53213 |
| R 0871 | MRS25 | 1% | 681E | 4822 116 53123 |
| R 0872 | MRS25 | 1% | 5E11 | 4822 116 52999 |
| R 0873 | MRS25 | 1% | 2K15 | 5322 116 53239 |
| R 0874 | MRS25 | 1% | 1K | 4822 116 53108 |
| R 0875 | MRS25 | 1% | 1K | 4822 116 53108 |
| R 0876 | MRS25 | 1% | 2K15 | 5322 116 53239 |
| R 0877 | MRS25 | 1% | 2K15 | 5322 116 53239 |
| R 0878 | MRS25 | 1% | 2K15 | 5322 116 53239 |
| R 0879 | MRS25 | 1% | 2K15 | 5322 116 53239 |
| R 0881 | MRS25 | 1% | 1K | 4822 116 53108 |
| R 0882 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 0883 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 0884 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 0885 | MRS25 | 1% | 1K | 4822 116 53108 |
| R 0886 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 0887 | MRS25 | 1% | 2K61 | 5322 116 53327 |
| R 0888 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 0889 | MRS25 | 1% | 121E | 4822 116 52955 |
| R 0890 | MRS25 | 1% | 316E | 5322 116 53514 |
| R 0891 | MRS25 | 1% | 5K11 | 5322 116 53494 |
| R 0892 | 0.3W | 25% | 10K | 4822 105 10455 |
| R 0893 | MRS25 | 1% | 5K11 | 5322 116 53494 |
| R 0894 | 0.3W | 25% | 10K | 4822 105 10455 |
| R 0895 | MRS25 | 1% | 17K8 | 5322 116 53235 |
| R 0896 | 0.3W | 25% | 10K | 4822 105 10455 |
| R 0897 | MRS25 | 1% | 14K7 | 4822 116 53531 |
| R 0898 | MRS25 | 1% | 14K7 | 4822 116 53531 |
| R 0901 | MRS25 | 1% | 6K81 | 5322 116 53252 |
| R 0902 | 0.3W | 25% | 10K | 4822 105 10455 |
| R 0903 | MRS25 | 1% | 1K | 4822 116 53108 |
| R 0904 | MRS25 | 1% | 4K22 | 5322 116 53246 |
| R 0905 | MRS25 | 1% | 4K22 | 5322 116 53246 |
| R 0906 | MRS25 | 1% | 4K22 | 5322 116 53246 |
| R 0908 | MRS25 | 1% | 1K | 4822 116 53108 |
| R 0909 | MRS25 | 1% | 4K22 | 5322 116 53246 |
| R 0911 | MRS25 | 1% | 9K09 | 5322 116 53253 |
| R 0913 | MRS25 | 1% | 1K | 4822 116 53108 |

25-27

| POS NR | DESCRIPTION |  |  |  | ORDERING CODE |
| --- | --- | --- | --- | --- | --- |
| R 0914 | MRS25 | 1% | 4K22 |  | 5322 116 53246 |
| R 0915 | M1RS25 | 1% | 4K22 |  | 5322 116 53246 |
| R 0916 | MRS25 | 1% | 6K81 |  | 5322 116 53252 |
| R 0917 | 0.3W | 25% | 4K7 |  | 5322 105 20034 |
| R 0918 | MRS25 | 1% | 1K |  | 4822 116 53108 |
| R 0919 | MRS25 | 1% | 4K22 |  | 5322 116 53246 |
| R 0921 | MRS25 | 1% | 4K22 |  | 5322 116 53246 |
| R 0922 | MRS25 | 1% | 4K22 |  | 5322 116 53246 |
| R 0924 | MRS25 | 1% | 5K11 |  | 5322 116 53494 |
| R 0925 | MRS25 | 1% | 5K11 |  | 5322 116 53494 |
| R 0926 | MRS25 | 1% | 2K87 |  | 5322 116 53513 |
| R 0927 | MRS25 | 1% | 100E |  | 5322 116 53126 |
| R 0929 | 0.3W | 25% |  | 4K7 | 5322 105 20034 |
| R 0931 | MRS25 | 1% |  | 1K47 | 5322 116 53185 |
| R 0932 | 0.3W | 25% |  | 4K7 | 5322 105 20034 |
| R 0933 | MRS25 | 1% |  | 17K8 | 5322 116 53235 |
| R 0934 | MRS25 | 1% |  | 5K11 | 5322 116 53494 |
| R 0935 | MRS25 | 1% |  | 5K11 | 5322 116 53494 |
| R 0936 | MRS25 | 1% |  | 5K11 | 5322 116 53494 |
| R 0937 | MRS25 | 1% |  | 100E | 5322 116 53126 |
| R 0939 | 0.3W | 25% |  | 4K7 | 5322 105 20034 |
| R 0941 | MRS25 | 1% |  | 1K47 | 5322 116 53185 |
| R 0942 | 0.3W | 25% |  | 4K7 | 5322 105 20034 |
| R 0944 | MRS25 | 1% |  | 5K11 | 5322 116 53494 |
| R 0945 | MRS25 | 1% |  | 5K11 | 5322 116 53494 |
| R 0946 | MRS25 | 1% |  | 2K87 | 5322 116 53513 |
| R 0947 | MRS25 | 1% |  | 100E | 5322 116 53126 |
| R 0953 | MRS25 | 1% |  | 1K78 | 5322 116 53208 |
| R 0954 | MRS25 | 1% |  | 5K11 | 5322 116 53494 |
| R 0955 | MRS25 | 1% |  | 5K11 | 5322 116 53494 |
| R 0956 | MRS25 | 1% |  | 5K11 | 5322 116 53494 |
| R 0957 | MRS25 | 1% |  | 100E | 5322 116 53126 |
| R 0958 | MRS25 | 1% |  | 4K64 | 5322 116 53212 |
| R 0961 | MRS25 | 1% |  | 121E | 4822 116 52955 |
| R 0962 | MRS25 | 1% |  | 75E | 5322 116 53339 |
| R 0965 | MRS25 | 1% |  | 10K | 4822 116 53022 |
| R 0966 | 0.3W | 25% |  | 10K | 4822 105 10455 |
| R 0967 | MRS25 | 1% |  | 10K | 4822 116 53022 |
| R 0968 | MRS25 | 1% |  | 100E | 5322 116 53126 |
| R 0969 | MRS25 | 1% |  | 10K | 4822 116 53022 |
| R 0970 | 0.3W | 25% |  | 10K | 4822 105 10455 |
| R 0971 | MRS25 | 1% |  | 10K | 4822 116 53022 |
| R 0972 | MRS25 | 1% |  | 100E | 5322 116 53126 |
| R 0973 | MRS25 | 1% |  | 10K | 4822 116 53022 |
| R 0974 | 0.3W | 25% |  | 10K | 4822 105 10455 |
| R 0975 | MRS25 | 1% |  | 10K | 4822 116 53022 |
| R 0976 | MRS25 | 1% |  | 10K | 4822 116 53022 |
| R 0977 | 0.3W | 25% |  | 10K | 4822 105 10455 |
| R 0978 | MRS25 | 1% |  | 10K | 4822 116 53022 |
| R 0981 | MRS25 | 1% |  | 17K8 | 5322 116 53235 |
| R 0983 | MRS25 | 1% |  | 5E11 | 4822 116 52999 |
| R 0984 | MRS25 | 1% |  | 5E11 | 4822 116 52999 |
| R 0985 | MRS25 | 1% |  | 5E11 | 4822 116 52999 |
| R 0986 | MRS25 | 1% |  | 5E11 | 4822 116 52999 |
| R 0987 | MRS25 | 1% |  | 10K | 4822 116 53022 |
| R 0988 | MRS25 | 1% |  | 14K7 | 4822 116 53531 |
| R 0989 | MRS25 | 1% |  | 10K | 4822 116 53022 |

25-28

| POS NR | DESCRIPTION |  |  | ORDERING CODE |
| --- | --- | --- | --- | --- |
| R 0991 | MRS25 | 1% | 14K7 | 4822 116 53531 |
| R 0992 | MRS25 | 1% | 1K | 4822 116 53108 |
| R 0993 | MRS25 | 1% | 1K | 4822 116 53108 |
| R 0996 | MRS25 | 1% | 1E | 4822 116 52976 |
| R 0997 | MRS25 | 1% | 1E | 4822 116 52976 |
| R 1001 | MRS25 | 1% | 1K | 4822 116 53108 |
| R 1002 | MRS25 | 1% | 42E2 | 5322 116 53515 |
| R 1003 | MRS25 | 1% | 61E9 | 5322 116 53645 |
| R 1004 | - | 0.25% | 10K1 | 5322 116 53404 |
| R 1006 | MRS25 | 1% | 61E9 | 5322 116 53645 |
| R 1007 | - | 0.25% | 900K | 5322 116 53414 |
| R 1008 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 1009 | MRS25 | 1% | 21K5 | 5322 116 53241 |
| R 1011 | - | 0.25% | 111K | 5322 116 53409 |
| R 1012 | - | 0.25% | 750K | 5322 116 53588 |
| R 1013 | - | 0.25% | 1M | 5322 116 53398 |
| R 1014 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 1016 | MRS25 | 1% | 21K5 | 5322 116 53241 |
| R 1017 | - | 0.25% | 250K | 5322 116 53587 |
| R 1018 | MRS25 | 1% | 10E | 4822 116 52891 |
| R 1019 | - | 0.25% | 990K | 5322 116 53415 |
| R 1022 | MRS25 | 1% | 61E9 | 5322 116 53645 |
| R 1023 | VR25 | 10% | 22M | 5322 116 51785 |
| R 1024 | MRS25 | 1% | 10E | 4822 116 52891 |
| R 1026 | MRS25 | 1% | 51E1 | 5322 116 53213 |
| R 1027 | VR25 | 10% | 22M | 5322 116 51785 |
| R 1028 | MRS25 | 1% | 10E | 4822 116 52891 |
| R 1029 | - | 0.25% | 1M | 5322 116 53398 |
| R 1031 | VR25 | 10% | 22M | 5322 116 51785 |
| R 1032 | MRS25 | 1% | 10E | 4822 116 52891 |
| R 1033 | VR25 | 10% | 22M | 5322 116 51785 |
| R 1034 | MRS25 | 1% | 1M | 4822 116 52843 |
| R 1035 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 1036 | 0.3W | 25% | 22K | 5322 105 20035 |
| R 1037 | MRS25 | 1% | 100K | 4822 116 52973 |
| R 1038 | VR25 | 10% | 22M | 5322 116 51785 |
| R 1039 | MRS25 | 1% | 1K96 | 5322 116 53237 |
| R 1040 | MRS25 | 1% | 281E | 5322 116 53221 |
| R 1041 | MRS25 | 1% | 1K96 | 5322 116 53237 |
| R 1043 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 1044 | MRS25 | 1% | 825E | 5322 116 53541 |
| R 1045 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 1046 | MRS25 | 1% | 511E | 5322 116 53135 |
| R 1047 | MRS25 | 1% | 2K15 | 5322 116 53239 |
| R 1048 | MRS25 | 1% | 5K11 | 5322 116 53494 |
| R 1049 | MRS25 | 1% | 1K47 | 5322 116 53185 |
| R 1050 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 1051 | MRS25 | 1% | 681E | 4822 116 53123 |
| R 1052 | MRS25 | 1% | 1K78 | 5322 116 53208 |
| R 1053 | - | 0.25% | 250E | 5322 116 53406 |
| R 1054 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 1055 | MRS25 | 1% | 1K78 | 5322 116 53208 |
| R 1056 | - | 0.25% | 375E | 5322 116 53407 |
| R 1057 | - | 0.25% | 150E | 5322 116 53399 |
| R 1058 | - | 0.25% | 150E | 5322 116 53399 |
| R 1061 | MRS25 | 1% | 237E | 5322 116 53259 |
| R 1062 | MRS25 | 1% | 133E | 5322 116 53424 |

25-29

| POS NR | DESCRIPTION |  |  | ORDERING CODE |
| --- | --- | --- | --- | --- |
| R 1063 | MRS25 | 1% | 26K1 | 5322 116 53261 |
| R 1064 | 0.3W | 25% | 10K | 4822 105 10455 |
| R 1066 | MRS25 | 1% | 16K2 | 5322 116 53589 |
| R 1067 | MRS25 | 1% | 12K1 | 4822 116 52957 |
| R 1068 | MRS25 | 1% | 133E | 5322 116 53424 |
| R 1069 | 0.3W | 25% | 100E | 5322 105 20029 |
| R 1071 | MRS25 | 1% | 26K1 | 5322 116 53261 |
| R 1072 | 0.3W | 25% | 10K | 4822 105 10455 |
| R 1073 | MRS25 | 1% | 4K64 | 5322 116 53212 |
| R 1074 | MRS25 | 1% | 5K62 | 5322 116 53495 |
| R 1076 | 0.3W | 25% | 100E | 5322 105 20029 |
| R 1077 | MRS25 | 1% | 31E6 | 5322 116 54964 |
| R 1078 | MRS25 | 1% | 12K1 | 4822 116 52957 |
| R 1079 | MRS25 | 1% | 1K62 | 5322 116 53257 |
| R 1081 | MRS25 | 1% | 511E | 5322 116 53135 |
| R 1082 | MRS25 | 1% | 100K | 4822 116 52973 |
| R 1083 | MRS25 | 1% | 11K | 4822 116 52907 |
| R 1084 | MRS25 | 1% | 82K5 | 5322 116 53581 |
| R 1086 | MRS25 | 1% | 12K1 | 4822 116 52957 |
| R 1087 | MRS25 | 1% | 1M | 4822 116 52843 |
| R 1088 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 1089 | MRS25 | 1% | 422E | 5322 116 53592 |
| R 1091 | 0.3W | 25% | 100E | 5322 105 20029 |
| R 1092 | MRS25 | 1% | 10E | 4822 116 52891 |
| R 1093 | MRS25 | 1% | 422E | 5322 116 53592 |
| R 1094 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 1096 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 1097 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 1098 | MRS25 | 1% | 1K21 | 4822 116 52956 |
| R 1099 | MRS25 | 1% | 1K21 | 4822 116 52956 |
| R 1101 | MRS25 | 1% | 1K | 4822 116 53108 |
| R 1102 | MRS25 | 1% | 42E2 | 5322 116 53515 |
| R 1103 | MRS25 | 1% | 61E9 | 5322 116 53645 |
| R 1104 | - | 0.25% | 10K1 | 5322 116 53404 |
| R 1106 | MRS25 | 1% | 61E9 | 5322 116 53645 |
| R 1107 | - | 0.25% | 900K | 5322 116 53414 |
| R 1108 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 1109 | MRS25 | 1% | 21K5 | 5322 116 53241 |
| R 1111 | - | 0.25% | 111K | 5322 116 53409 |
| R 1112 | - | 0.25% | 750K | 5322 116 53588 |
| R 1113 | - | 0.25% | 1M | 5322 116 53398 |
| R 1114 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 1116 | MRS25 | 1% | 21K5 | 5322 116 53241 |
| R 1117 | - | 0.25% | 250K | 5322 116 53587 |
| R 1118 | MRS25 | 1% | 10E | 4822 116 52891 |
| R 1119 | - | 0.25% | 990K | 5322 116 53415 |
| R 1122 | MRS25 | 1% | 61E9 | 5322 116 53645 |
| R 1123 | VR25 | 10% | 22M | 5322 116 51785 |
| R 1124 | MRS25 | 1% | 10E | 4822 116 52891 |
| R 1126 | MRS25 | 1% | 51E1 | 5322 116 53213 |
| R 1127 | VR25 | 10% | 22M | 5322 116 51785 |
| R 1128 | MRS25 | 1% | 10E | 4822 116 52891 |
| R 1129 | - | 0.25% | 1M | 5322 116 53398 |
| R 1131 | VR25 | 10% | 22M | 5322 116 51785 |
| R 1132 | MRS25 | 1% | 10E | 4822 116 52891 |
| R 1133 | VR25 | 10% | 22M | 5322 116 51785 |
| R 1134 | MRS25 | 1% | 1M | 4822 116 52843 |

25-30

| POS NR | DESCRIPTION |  |  | ORDERING CODE |
| --- | --- | --- | --- | --- |
| R 1135 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 1136 | 0.3W | 25% | 22K | 5322 105 20035 |
| R 1137 | MRS25 | 1% | 100K | 4822 116 52973 |
| R 1138 | VR25 | 10% | 22M | 5322 116 51785 |
| R 1139 | MRS25 | 1% | 1K96 | 5322 116 53237 |
| R 1140 | MRS25 | 1% | 287E | 5322 116 53221 |
| R 1141 | MRS25 | 1% | 1K96 | 5322 116 53237 |
| R 1143 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 1144 | MRS25 | 1% | 825E | 5322 116 53541 |
| R 1145 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 1146 | MRS25 | 1% | 511E | 5322 116 53135 |
| R 1147 | MRS25 | 1% | 2K15 | 5322 116 53239 |
| R 1148 | MRS25 | 1% | 5K11 | 5322 116 53494 |
| R 1149 | MRS25 | 1% | 1K47 | 5322 116 53185 |
| R 1150 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 1151 | MRS25 | 1% | 681E | 4822 116 53123 |
| R 1152 | MRS25 | 1% | 1K78 | 5322 116 53208 |
| R 1153 | - | 25% | 250E | 5322 116 53406 |
| R 1154 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 1155 | MRS25 | 1% | 1K78 | 5322 116 53208 |
| R 1156 | - | 0.25% | 375E | 5322 116 53407 |
| R 1157 | - | 0.25% | 150E | 5322 116 53399 |
| R 1158 | - | 0.25% | 150E | 5322 116 53399 |
| R 1161 | MRS25 | 1% | 237E | 5322 116 53259 |
| R 1162 | MRS25 | 1% | 133E | 5322 116 53424 |
| R 1163 | MRS25 | 1% | 26K1 | 5322 116 53261 |
| R 1164 | 0.3W | 25% | 10K | 4822 105 10455 |
| R 1166 | MRS25 | 1% | 16K2 | 5322 116 53589 |
| R 1167 | MRS25 | 1% | 12K1 | 4822 116 52957 |
| R 1168 | MRS25 | 1% | 133E | 5322 116 53424 |
| R 1169 | 0.3W | 25% | 100E | 5322 105 20029 |
| R 1171 | MRS25 | 1% | 26K1 | 5322 116 53261 |
| R 1172 | 0.3W | 25% | 10K | 4822 105 10455 |
| R 1173 | MRS25 | 1% | 4K64 | 5322 116 53212 |
| R 1174 | MRS25 | 1% | 5K62 | 5322 116 53495 |
| R 1176 | 0.3W | 25% | 100E | 5322 105 20029 |
| R 1177 | MRS25 | 1% | 31E6 | 5322 116 54964 |
| R 1178 | MRS25 | 1% | 12K1 | 4822 116 52957 |
| R 1179 | MRS25 | 1% | 1K62 | 5322 116 53257 |
| R 1181 | MRS25 | 1% | 511E | 5322 116 53135 |
| R 1182 | MRS25 | 1% | 100K | 4822 116 52973 |
| R 1183 | MRS25 | 1% | 11K | 4822 116 52907 |
| R 1184 | MRS25 | 1% | 82K5 | 5322 116 53581 |
| R 1186 | MRS25 | 1% | 12K1 | 4822 116 52957 |
| R 1187 | MRS25 | 1% | 1M | 4822 116 52843 |
| R 1188 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 1189 | MRS25 | 1% | 422E | 5322 116 53592 |
| R 1191 | 0.3W | 25% | 100E | 5322 105 20029 |
| R 1192 | MRS25 | 1% | 10E | 4822 116 52891 |
| R 1193 | MRS25 | 1% | 422E | 5322 116 53592 |
| R 1194 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 1196 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 1197 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 1198 | MRS25 | 1% | 1K21 | 4822 116 52956 |
| R 1199 | MRS25 | 1% | 1K21 | 4822 116 52956 |
| R 1201 | MRS25 | 1% | 1K | 4822 116 53108 |
| R 1202 | MRS25 | 1% | 61E9 | 5322 116 53645 |

25-31

| POS NR | DESCRIPTION |  |  | ORDERING CODE |
| --- | --- | --- | --- | --- |
| R 1203 | - | 0.1% | 1M | 5322 116 51605 |
| R 1204 | VR25 | 10% | 22M | 5322 116 51785 |
| R 1206 | MRS25 | 1% | 1K96 | 5322 116 53237 |
| R 1207 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 1208 | MRS25 | 1% | 825E | 5322 116 53541 |
| R 1209 | MRS25 | 1% | 1M | 4822 116 52843 |
| R 1211 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 1213 | MRS25 | 1% | 1M | 4822 116 52843 |
| R 1217 | 0.3W | 25% | 22K | 5322 105 20035 |
| R 1218 | MRS25 | 1% | 100K | 4822 116 52973 |
| R 1219 | MRS25 | 1% | 1K47 | 5322 116 53185 |
| R 1221 | MRS25 | 1% | 681E | 4822 116 53123 |
| R 1222 | MRS25 | 1% | 2K87 | 5322 116 53513 |
| R 1223 | MRS25 | 1% | 1K33 | 5322 116 53512 |
| R 1224 | MRS25 | 1% | 1K | 4822 116 53108 |
| R 1226 | MRS25 | 1% | 5K11 | 5322 116 53494 |
| R 1227 | MRS25 | 1% | 1K33 | 5322 116 53512 |
| R 1228 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 1229 | MRS25 | 1% | 750E | 5322 116 53265 |
| R 1231 | MRS25 | 1% | 750E | 5322 116 53265 |
| R 1232 | MRS25 | 1% | 1E | 4822 116 52976 |
| R 1233 | MRS25 | 1% | 348E | 5322 116 53591 |
| R 1234 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 1236 | MRS25 | 1% | 162E | 5322 116 53523 |
| R 1237 | MRS25 | 1% | 2K61 | 5322 116 53327 |
| R 1238 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 1239 | MRS25 | 1% | 7K5 | 4822 116 53028 |
| R 1401 | MRS25 | 1% | 5E11 | 4822 116 52999 |
| R 1402 | MRS25 | 1% | 5E11 | 4822 116 52999 |
| R 1403 | MRS25 | 1% | 5E11 | 4822 116 52999 |
| R 1404 | MRS25 | 1% | 5E11 | 4822 116 52999 |
| R 1421 | MRS25 | 1% | 5E11 | 4822 116 52999 |
| R 1422 | MRS25 | 1% | 5E11 | 4822 116 52999 |
| R 1423 | MRS25 | 1% | 5E11 | 4822 116 52999 |
| R 1424 | MRS25 | 1% | 5E11 | 4822 116 52999 |
| R 1441 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 1442 | MRS25 | 1% | 5E11 | 4822 116 52999 |
| R 1443 | MRS25 | 1% | 5E11 | 4822 116 52999 |
| R 2001 | MRS25 | 1% | 10E | 4822 116 52891 |
| R 2002 | MRS25 | 1% | 10E | 4822 116 52891 |
| R 2003 | MRS25 | 1% | 51E1 | 5322 116 53213 |
| R 2004 | MRS25 | 1% | 51E1 | 5322 116 53213 |
| R 2101 | MRS25 | 1% | 10E | 4822 116 52891 |
| R 2102 | MRS25 | 1% | 10E | 4822 116 52891 |
| R 2103 | MRS25 | 1% | 51E1 | 5322 116 53213 |
| R 2104 | MRS25 | 1% | 51E1 | 5322 116 53213 |
| R 2201 | MRS25 | 1% | 75K | 5322 116 53266 |
| R 2202 | MRS25 | 1% | 12K1 | 4822 116 52957 |
| R 2203 | MRS25 | 1% | 215K | 5322 116 53425 |
| R 2204 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 2205 | MRS25 | 1% | 2K15 | 5322 116 53239 |
| R 2206 | MRS25 | 1% | 75K | 5322 116 53266 |
| R 2207 | MRS25 | 1% | 12K1 | 4822 116 52957 |
| R 2208 | MRS25 | 1% | 215K | 5322 116 53425 |
| R 2209 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 2210 | MRS25 | 1% | 2K15 | 5322 116 53239 |
| R 2211 | MRS25 | 1% | 5K62 | 5322 116 53495 |

25-32

| POS NR | DESCRIPTION |  |  | ORDERING CODE |
| --- | --- | --- | --- | --- |
| R 2212 | 0.3W | 25% | 10K | 4822 105 10455 |
| R 2213 | MRS25 | 1% | 23K7 | 5322 116 53537 |
| R 2214 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 2215 | MRS25 | 1% | 2K15 | 5322 116 53239 |
| R 2216 | MRS25 | 1% | 5K62 | 5322 116 53495 |
| R 2222 | MRS25 | 1% | 1K96 | 5322 116 53237 |
| R 2225 | MRS25 | 1% | 23K7 | 5322 116 53537 |
| R 2230 | MRS25 | 1% | 147E | 5322 116 53569 |
| R 2231 | MRS25 | 1% | 422E | 5322 116 53592 |
| R 2232 | MRS25 | 1% | 383E | 5322 116 53332 |
| R 2234 | MRS25 | 1% | 42E2 | 5322 116 53515 |
| R 2236 | MRS25 | 1% | 681E | 4822 116 53123 |
| R 2237 | MRS25 | 1% | 383E | 5322 116 53332 |
| R 2239 | MRS25 | 1% | 348E | 5322 116 53591 |
| R 2241 | MRS25 | 1% | 1K | 4822 116 53108 |
| R 2242 | MRS25 | 1% | 383E | 5322 116 53332 |
| R 2243 | MRS25 | 1% | 681E | 4822 116 53123 |
| R 2244 | MRS25 | 1% | 42E2 | 5322 116 53515 |
| R 2246 | MRS25 | 1% | 422E | 5322 116 53592 |
| R 2247 | MRS25 | 1% | 383E | 5322 116 53332 |
| R 2251 | MRS25 | 1% | 75E | 5322 116 53339 |
| R 2252 | MRS25 | 1% | 750E | 5322 116 53265 |
| R 2253 | MRS25 | 1% | 750E | 5322 116 53265 |
| R 2254 | MRS25 | 1% | 75E | 5322 116 53339 |
| R 2255 | MRS25 | 1% | 287E | 5322 116 53221 |
| R 2301 | MRS25 | 1% | 19K6 | 5322 116 53258 |
| R 2302 | MRS25 | 1% | 19K6 | 5322 116 53258 |
| R 2303 | MRS25 | 1% | 5K62 | 5322 116 53495 |
| R 2304 | MRS25 | 1% | 5K62 | 5322 116 53495 |
| R 2311 | MRS25 | 1% | 2K87 | 5322 116 53513 |
| R 2317 | MRS25 | 1% | 681E | 4822 116 53123 |
| R 2318 | MRS25 | 1% | 681E | 4822 116 53123 |
| R 2319 | MRS25 | 1% | 5E11 | 4822 116 52999 |
| R 2324 | MRS25 | 1% | 5K62 | 5322 116 53495 |
| R 2325 | MRS25 | 1% | 5K62 | 5322 116 53495 |
| R 2326 | MRS25 | 1% | 2K87 | 5322 116 53513 |
| R 2327 | MRS25 | 1% | 3K83 | 4822 116 53079 |
| R 2328 | MRS25 | 1% | 2K87 | 5322 116 53513 |
| R 2329 | MRS25 | 1% | 825E | 5322 116 53541 |
| R 2330 | 0.3W | 25% | 10K | 4822 105 10455 |
| R 2333 | MRS25 | 1% | 5K62 | 5322 116 53495 |
| R 2334 | MRS25 | 1% | 5K62 | 5322 116 53495 |
| R 2335 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 2336 | MRS25 | 1% | 31E6 | 5322 116 54964 |
| R 2337 | MRS25 | 1% | 162E | 5322 116 53523 |
| R 2338 | MRS25 | 1% | 2K61 | 5322 116 53327 |
| R 2339 | MRS25 | 1% | 237E | 5322 116 53259 |
| R 2341 | MRS25 | 1% | 31E6 | 5322 116 54964 |
| R 2342 | MRS25 | 1% | 162E | 5322 116 53523 |
| R 2344 | MRS25 | 1% | 511E | 5322 116 53135 |
| R 2345 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 2346 | MRS25 | 1% | 681E | 4822 116 53123 |
| R 2348 | MRS25 | 1% | 8K25 | 5322 116 53267 |
| R 2350 | MRS25 | 1% | 4K22 | 5322 116 53246 |
| R 2351 | MRS25 | 1% | 562E | 5322 116 53214 |
| R 2352 | MRS25 | 1% | 825E | 5322 116 53541 |
| R 2357 | MRS25 | 1% | 681E | 4822 116 53123 |

25-33

| POS NR |  | DESCRIPTION |  |  | ORDERING CODE |
| --- | --- | --- | --- | --- | --- |
| R 2358 | MRS25 |  | 1% | 511E | 5322 116 53135 |
| R 2360 | MRS25 |  | 1% | 100E | 5322 116 53126 |
| R 2361 | MRS25 |  | 1% | 4K22 | 5322 116 53246 |
| R 2365 | MRS25 |  | 1% | 23K7 | 5322 116 53537 |
| R 2366 | MRS25 |  | 1% | 10K | 4822 116 53022 |
| R 2367 | MRS25 |  | 1% | 16K2 | 5322 116 53589 |
| R 2369 | MRS25 |  | 1% | 82KS | 5322 116 53581 |
| R 2371 | MRS25 |  | 1% | 422E | 5322 116 53592 |
| R 2372 | MRS25 |  | 1% | 511E | 5322 116 53135 |
| R 2373 | MRS25 |  | 1% | 90K9 | 5322 116 53582 |
| R 2374 | MRS25 |  | 1% | 511E | 5322 116 53135 |
| R 2375 | MRS25 |  | 1% | 23K7 | 5322 116 53537 |
| R 2376 | VR25 |  | 10% | 22M | 5322 116 51785 |
| R 2377 | VR25 |  | 10% | 22M | 5322 116 51785 |
| R 2378 | VR25 |  | 10% | 22M | 5322 116 51785 |
| R 2379 | VR25 |  | 10% | 22M | 5322 116 51785 |
| R 2380 | MRS25 |  | 1% | 750E | 5322 116 53265 |
| R 2381 | MRS25 |  | 1% | 2K61 | 5322 116 53327 |
| R 2382 | MRS25 |  | 1% | 2K61 | 5322 116 53327 |
| R 2383 | MRS25 |  | 1% | 1K | 4822 116 53108 |
| R 2384 | MRS25 |  | 1% | 750E | 5322 116 53265 |
| R 2386 | MRS25 |  | 1% | 1K | 4822 116 53108 |
| R 2387 | MRS25 |  | 1% | 750E | 5322 116 53265 |
| R 2388 | MRS25 |  | 1% | 1K | 4822 116 53108 |
| R 2389 | MRS25 |  | 1% | 1K | 4822 116 53108 |
| R 2391 | MRS25 |  | 1% | 42E2 | 5322 116 53515 |
| R 2393 | MRS25 |  | 1% | 3K48 | 4822 116 53315 |
| R 2394 | MRS25 |  | 1% | 100E | 5322 116 53126 |
| R 2395 | 0.3W |  | 25% | 220E | 5322 105 20031 |
| R 2396 | MRS25 |  | 1% | 3K48 | 4822 116 53315 |
| R 2397 | MRS25 |  | 1% | 42E2 | 5322 116 53515 |
| R 2398 | MRS25 |  | 1% | 237E | 5322 116 53259 |
| R 2403 | MRS25 |  | 1% | 42E2 | 5322 116 53515 |
| R 2404 | MRS25 |  | 1% | 1K33 | 5322 116 53512 |
| R 2406 | MRS25 |  | 1% | 1K62 | 5322 116 53257 |
| R 2407 | 0.3W |  | 25% | 220E | 5322 105 20031 |
| R 2408 | MRS25 |  | 1% | 1K33 | 5322 116 53512 |
| R 2409 | MRS25 |  | 1% | 1K62 | 5322 116 53257 |
| R 2410 | 0.3W |  | 25% | 1K | 5322 105 20032 |
| R 2411 | MRS25 |  | 1% | 42E2 | 5322 116 53515 |
| R 2412 | MRS25 |  | 1% | 1K33 | 5322 116 53512 |
| R 2416 | MRS25 |  | 1% | 1K | 4822 116 53108 |
| R 2418 | MRS25 |  | 1% | 4K22 | 5322 116 53246 |
| R 2419 | MRS25 |  | 1% | 1K1 | 5322 116 53473 |
| R 2420 | MRS25 |  | 1% | 909E | 4822 116 53533 |
| R 2421 | MRS25 |  | 1% | 4K22 | 5322 116 53246 |
| R 2422 | MRS25 |  | 1% | 1K | 4822 116 53108 |
| R 2430 | MRS25 |  | 1% | 100K | 4822 116 52973 |
| R 2431 | MRS25 |  | 1% | 100K | 4822 116 52973 |
| R 2432 | MRS25 |  | 1% | 100K | 4822 116 52973 |
| R 2433 | MRS25 |  | 1% | 100K | 4822 116 52973 |
| R 2434 | MRS25 |  | 1% | 10K | 4822 116 53022 |
| R 2435 | MRS25 |  | 1% | 10K | 4822 116 53022 |
| R 2601 | MRS25 |  | 1% | 3K48 | 4822 116 53315 |
| R 2602 | MRS25 |  | 1% | 5E11 | 4822 116 52999 |
| R 2603 | MRS25 |  | 1% | 5K11 | 5322 116 53494 |
| R 2604 | MRS25 |  | 1% | 5K11 | 5322 116 53494 |

25-34

| POS NR | DESCRIPTION |  |  | ORDERING CODE |
| --- | --- | --- | --- | --- |
| R 2605 | MRS25 | 1% | 12K1 | 4822 116 52957 |
| R 2606 | MRS25 | 1% | 1E | 4822 116 52976 |
| R 2610 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 2611 | MRS25 | 1% | 1K | 4822 116 53108 |
| R 2621 | MRS25 | 1% | 422E | 5322 116 53592 |
| R 2622 | MRS25 | 1% | 681E | 4822 116 53123 |
| R 2623 | MRS25 | 1% | 1K1 | 5322 116 53473 |
| R 2624 | MRS25 | 1% | 3K48 | 4822 116 53315 |
| R 2625 | MRS25 | 1% | 681E | 4822 116 53123 |
| R 2626 | MRS25 | 1% | 6K81 | 5322 116 53252 |
| R 2627 | MRS25 | 1% | 287E | 5322 116 53221 |
| R 2628 | MRS25 | 1% | 2K37 | 5322 116 53536 |
| R 2629 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 2631 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 2632 | MRS25 | 1% | 383E | 5322 116 53332 |
| R 2635 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 2701 | MRS25 | 1% | 1E | 4822 116 52976 |
| R 2702 | MRS25 | 1% | 31E6 | 5322 116 54964 |
| R 2704 | MRS25 | 1% | 5E11 | 4822 116 52999 |
| R 2712 | MRS25 | 1% | 5E11 | 4822 116 52999 |
| R 2713 | MRS25 | 1% | 5E11 | 4822 116 52999 |
| R 2714 | MRS25 | 1% | 5E11 | 4822 116 52999 |
| R 2721 | MRS25 | 1% | 5E11 | 4822 116 52999 |
| R 2722 | MRS25 | 1% | 5E11 | 4822 116 52999 |
| R 2723 | MRS25 | 1% | 5E11 | 4822 116 52999 |
| R 2724 | MRS25 | 1% | 5E11 | 4822 116 52999 |
| R 2740 | MRS25 | 1% | 5E11 | 4822 116 52999 |
| R 2741 | MRS25 | 1% | 31E6 | 5322 116 54964 |
| R 2742 | MRS25 | 1% | 5E11 | 4822 116 52999 |
| R 3001 | MRS25 | 1% | 147E | 5322 116 53569 |
| R 3002 | MRS25 | 1% | 316E | 5322 116 53514 |
| R 3003 | MRS25 | 1% | 1K47 | 5322 116 53185 |
| R 3004 | MRS25 | 1% | 422E | 5322 116 53592 |
| R 3006 | MRS25 | 1% | 2K37 | 5322 116 53536 |
| R 3007 | 0.3W | 25% | 2K2 | 5322 105 20033 |
| R 3008 | MRS25 | 1% | 121E | 4822 116 52955 |
| R 3009 | MRS25 | 1% | 3K83 | 4822 116 53079 |
| R 3011 | MRS25 | 1% | 121E | 4822 116 52955 |
| R 3012 | MRS25 | 1% | 316E | 5322 116 53514 |
| R 3013 | 0.3W | 25% | 10K | 4822 105 10455 |
| R 3014 | MRS25 | 1% | 1K21 | 4822 116 52956 |
| R 3015 | MRS25 | 1% | 316E | 5322 116 53514 |
| R 3016 | MRS25 | 1% | 2K37 | 5322 116 53536 |
| R 3017 | 0.3W | 25% | 22K | 5322 105 20035 |
| R 3018 | MRS25 | 1% | 8K25 | 5322 116 53267 |
| R 3020 | MRS25 | 1% | 10E | 4822 116 52891 |
| R 3021 | MRS25 | 1% | 464E | 5322 116 53232 |
| R 3022 | MRS25 | 1% | 750E | 5322 116 53265 |
| R 3023 | MRS25 | 1% | 348E | 5322 116 53591 |
| R 3024 | MRS25 | 1% | 750E | 5322 116 53265 |
| R 3025 | MRS25 | 1% | 10E | 4822 116 52891 |
| R 3026 | MRS25 | 1% | 464E | 5322 116 53232 |
| R 3027 | MRS25 | 1% | 42E2 | 5322 116 53515 |
| R 3028 | MRS25 | 1% | 42E2 | 5322 116 53515 |
| R 3029 | MRS25 | 1% | 681E | 4822 116 53123 |
| R 3031 | MRS25 | 1% | 511E | 5322 116 53135 |
| R 3032 | MRS25 | 1% | 31E6 | 5322 116 54964 |

25-35

| POS NR | DESCRIPTION |  |  | ORDERING CODE |
| --- | --- | --- | --- | --- |
| R 3034 | MRS25 | 1% | 162E | 5322 116 53523 |
| R 3036 | 0.3W | 25% | 100E | 5322 105 20029 |
| R 3037 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 3038 | 0.3W | 25% | 470E | 5322 105 20028 |
| R 3039 | MRS25 | 1% | 42E2 | 5322 116 53515 |
| R 3041 | MRS25 | 1% | 316E | 5322 116 53514 |
| R 3042 | MR52 | 1% | 1K33 | 5322 116 52164 |
| R 3043 | MR52 | 1% | 1K33 | 5322 116 52164 |
| R 3044 | MR52 | 1% | 1K33 | 5322 116 52164 |
| R 3046 | MR52 | 1% | 1K33 | 5322 116 52164 |
| R 3047 | MRS25 | 1% | 42E2 | 5322 116 53515 |
| R 3048 | MRS25 | 1% | 42E2 | 5322 116 53515 |
| R 3049 | MRS25 | 1% | 100K | 4822 116 52973 |
| R 3050 | MRS25 | 1% | 42E2 | 5322 116 53515 |
| R 3051 | MRS25 | 1% | 100K | 4822 116 52973 |
| R 3052 | MRS25 | 1% | 42E2 | 5322 116 53515 |
| R 3100 | MRS25 | 1% | 42E2 | 5322 116 53515 |
| R 3101 | MRS25 | 1% | 5K62 | 5322 116 53495 |
| R 3102 | MRS25 | 1% | 562E | 5322 116 53214 |
| R 3103 | MRS25 | 1% | 1K21 | 4822 116 52956 |
| R 3104 | MRS25 | 1% | 6K81 | 5322 116 53252 |
| R 3106 | MRS25 | 1% | 42E2 | 5322 116 53515 |
| R 3107 | MRS25 | 1% | 2K87 | 5322 116 53513 |
| R 3108 | MRS25 | 1% | 825E | 5322 116 53541 |
| R 3109 | MRS25 | 1% | 6Kl9 | 5322 116 53263 |
| R 3110 | MRS25 | 1% | 42E2 | 5322 116 53515 |
| R 3111 | MRS25 | 1% | 42E2 | 5322 116 53515 |
| R 3112 | MRS25 | 1% | 7K5 | 4822 116 53028 |
| R 3113 | MRS25 | 1% | 1K21 | 4822 116 52956 |
| R 3114 | MRS25 | 1% | 5K62 | 5322 116 53495 |
| R 3115 | MRS25 | 1% | 42E2 | 5322 116 53515 |
| R 3116 | MRS25 | 1% | 562E | 5322 116 53214 |
| R 3117 | MRS25 | 1% | 4K64 | 5322 116 53212 |
| R 3118 | 0.3W | 25% | 1K | 5322 105 20032 |
| R 3119 | MRS25 | 1% | 4K64 | 5322 116 53212 |
| R 3120 | MRS25 | 1% | 42E2 | 5322 116 53515 |
| R 3121 | MRS25 | 1% | 46K4 | 5322 116 53314 |
| R 3122 | MRS25 | 1% | 6K81 | 5322 116 53252 |
| R 3124 | MRS25 | 1% | 619E | 5322 116 53337 |
| R 3125 | MRS25 | 1% | 42E2 | 5322 116 53515 |
| R 3126 | MRS25 | 1% | 14K7 | 4822 116 53531 |
| R 3127 | MRS25 | 1% | 1K33 | 5322 116 53512 |
| R 3128 | MRS25 | 1% | 825E | 5322 116 53541 |
| R 3129 | MRS25 | 1% | 1K1 | 5322 116 53473 |
| R 3130 | MRS25 | 1% | 42E2 | 5322 116 53515 |
| R 3131 | MRS25 | 1% | 1K33 | 5322 116 53512 |
| R 3132 | MRS25 | 1% | 825E | 5322 116 53541 |
| R 3133 | MRS25 | 1% | 6K19 | 5322 116 53263 |
| R 3134 | MRS25 | 1% | 14K7 | 4822 116 53531 |
| R 3136 | MRS25 | 1% | 1K | 4822 116 53108 |
| R 3137 | MRS25 | 1% | 46K4 | 5322 116 53314 |
| R 3138 | MRS25 | 1% | 6K81 | 5322 116 53252 |
| R 3139 | MRS25 | 1% | 619E | 5322 116 53337 |
| R 3141 | MRS25 | 1% | 316E | 5322 116 53514 |
| R 3142 | MRS25 | 1% | 316E | 5322 116 53514 |
| R 3143 | MRS25 | 1% | 10E | 4822 116 52891 |
| R 3144 | MRS25 | 1% | 10E | 4822 116 52891 |

25-36

| POS NR | DESCRIPTION |  |  | ORDERING CODE |
| --- | --- | --- | --- | --- |
| R 3146 | MRS25 | 1% | 316E | 5322 116 53514 |
| R 3147 | 0.5W | 10% | 3K3 | 5322 116 30234 |
| R 3148 | MRS25 | 1% | 9K09 | 5322 116 53253 |
| R 3200 | MRS25 | 1% | 8K25 | 5322 116 53267 |
| R 3201 | MRS25 | 1% | 1K21 | 4822 116 52956 |
| R 3202 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 3203 | MRS25 | 1% | 16K2 | 5322 116 53589 |
| R 3204 | MRS25 | 1% | 562E | 5322 116 53214 |
| R 3205 | MRS25 | 1% | 4K64 | 5322 116 53212 |
| R 3206 | MRS25 | 1% | 4K64 | 5322 116 53212 |
| R 3207 | MRS25 | 1% | 82K5 | 5322 116 53581 |
| R 3208 | MRS25 | 1% | 7K5 | 4822 116 53028 |
| R 3209 | MRS25 | 1% | 1K | 4822 116 53108 |
| R 3210 | MRS25 | 1% | 42E2 | 5322 116 53515 |
| R 3211 | MRS25 | 1% | 1K | 4822 116 53022 |
| R 3212 | MRS25 | 1% | 1K47 | 5322 116 53185 |
| R 3213 | MRS25 | 1% | 23K7 | 5322 116 53537 |
| R 3214 | MRS25 | 1% | 51K1 | 4822 116 53121 |
| R 3215 | MRS25 | 1% | 4K64 | 5322 116 53212 |
| R 3216 | MRS25 | 1% | 178K | 5322 116 53555 |
| R 3217 | MRS25 | 1% | 511E | 5322 116 53135 |
| R 3218 | MRS25 | 1% | 51K1 | 4822 116 53121 |
| R 3219 | MRS25 | 1% | 1M | 4822 116 52843 |
| R 3221 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 3222 | MRS25 | 1% | 100K | 4822 116 52973 |
| R 3223 | MRS25 | 1% | 51K1 | 4822 116 53121 |
| R 3224 | MRS25 | 1% | 2K37 | 5322 116 53536 |
| R 3226 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 3250 | MRS25 | 1% | 2K37 | 5322 116 53536 |
| R 3251 | MRS25 | 1% | 1M | 4822 116 52843 |
| R 3253 | MRS25 | 1% | 75K | 5322 116 53266 |
| R 3254 | MRS25 | 1% | 1K | 4822 116 53108 |
| R 3256 | MRS25 | 1% | 178K | 5322 116 53555 |
| R 3257 | MRS25 | 1% | 825K | 5322 116 53341 |
| R 3258 | VR25 | 5% | 3M3 | 4822 110 72201 |
| R 3259 | VR25 | 5% | 3M3 | 4822 110 72201 |
| R 3261 | VR25 | 5% | 3M3 | 4822 110 72201 |
| R 3262 | VR25 | 5% | 7M5 | 5322 116 60131 |
| R 3263 | VR25 | 5% | 3M3 | 4822 110 72201 |
| R 3267 | - | 25% | 47K | 5322 105 20037 |
| R 3268 | MRS25 | 1% | 681K | 5322 116 53593 |
| R 3269 | MRS25 | 1% | 15K4 | 5322 116 53234 |
| R 3270 | MRS25 | 1% | 23K7 | 5322 116 53537 |
| R 3271 | MRS25 | 1% | 14K7 | 4822 116 53531 |
| R 3301 | MRS25 | 1% | 10E | 4822 116 52891 |
| R 3302 | MRS25 | 1% | 1E | 4822 116 52976 |
| R 3303 | MRS25 | 1% | 5E11 | 4822 116 52999 |
| R 3304 | MRS25 | 1% | 5E11 | 4822 116 52999 |
| R 3306 | MRS25 | 1% | 2K87 | 5322 116 53513 |
| R 3308 | MRS25 | 1% | 10E | 4822 116 52891 |
| R 3309 | MRS25 | 1% | 5E11 | 4822 116 52999 |
| R 3311 | MRS25 | 1% | 5E11 | 4822 116 52999 |
| R 3312 | MRS25 | 1% | 5E11 | 4822 116 52999 |
| R 3313 | MRS25 | 1% | 10E | 4822 116 52891 |
| R 4000 | MRS25 | 1% | 51E1 | 5322 116 53213 |
| R 4001 | MRS25 | 1% | 619E | 5322 116 53337 |
| R 4002 | MRS25 | 1% | 511E | 5322 116 53135 |
| R 4003 | MRS25 | 1% | 511E | 5322 116 53135 |

25-37

| POS NR |  |  | DESCRIPTION |  |  | ORDERING CODE |
| --- | --- | --- | --- | --- | --- | --- |
| R 4004 |  |  | MRS25 | 1% | 6Kl9 | 5322 116 53263 |
| R 4005 |  |  | MRS25 | 1% | 100E | 5322 116 53126 |
| R 4006 |  |  | MRS25 | 1% | 51E1 | 5322 116 53213 |
| R 4007 |  |  | MRS25 | 1% | 1K47 | 5322 116 53185 |
| R 4008 |  |  | MRS25 | 1% | 100E | 5322 116 53126 |
| R 4009 |  |  | 0.3W | 25% | 1K | 5322 105 20032 |
| R 4010 |  |  | MRS25 | 1% | 511E | 5322 116 53135 |
| R 4011 |  |  | MRS25 | 1% | 5K11 | 5322 116 53494 |
| R 4012 |  |  | MRS25 | 1% | 1K78 | 5322 116 53208 |
| R 4013 |  |  | MRS25 | 1% | 1M | 4822 116 52843 |
| R 4014 |  |  | MRS25 | 1% | 5K11 | 5322 116 53494 |
| R 4015 |  |  | MRS25 | 1% | 1K | 4822 116 53108 |
| R 4016 |  |  | MRS25 | 1% | 5K11 | 5322 116 53494 |
| R 4017 |  |  | MRS25 | 1% | 2K87 | 5322 116 53513 |
| R 4018 |  |  | MRS25 | 1% | 5K11 | 5322 116 53494 |
| R 4019 |  |  | MRS25 | 1% | 681K | 5322 116 53593 |
| R 4020 |  |  | MRS25 | 1% | 1K62 | 5322 116 53257 |
| R 4021 |  |  | MRS25 | 1% | 10K | 4822 116 53022 |
| R 4022 |  |  | MRS25 | 1% | 4K22 | 5322 116 53246 |
| R 4023 | MRS25 |  | 1% | 12K1 | 4822 116 52957 |
| R 4024 | MRS25 |  | 1% | 1K | 4822 116 53108 |
| R 4025 | MRS25 |  | 1% | 1K | 4822 116 53108 |
| R 4026 | MRS25 |  | 1% | 5K11 | 5322 116 53494 |
| R 4027 | MRS25 |  | 1% | 2K15 | 5322 116 53239 |
| R 4051 | MRS25 |  | 1% | 10K | 4822 116 53022 |
| R 4052 | MRS25 |  | 1% | 10K | 4822 116 53022 |
| R 4101 | MRS25 |  | 1% | 100K | 4822 116 52973 |
| R 4102 | MRS25 |  | 1% | 4K64 | 5322 116 53212 |
| R 4103 | MRS25 |  | 1% | 11K | 4822 116 52907 |
| R 4104 | MRS25 |  | 1% | 46K4 | 5322 116 53314 |
| R 4106 | MRS25 |  | 1% | 422E | 5322 116 53592 |
| R 4107 | 0.3W |  | 25% | 10K | 4822 105 10455 |
| R 4108 | 0.3W |  | 25% | 10K | 4822 105 10455 |
| R 4109 | MRS25 |  | 1% | 5K11 | 5322 116 53494 |
| R 4111 | MRS25 |  | 1% | 12K1 | 4822 116 52957 |
| R 4117 | MRS25 |  | 1% | 3K16 | 4822 116 53021 |
| R 4118 | - |  | 0.25% | 50E | 5322 116 53405 |
| R 4119 | - |  | 0.25% | 50E | 5322 116 53405 |
| R 4120 | MRS25 |  | 1% | 1K | 4822 116 53108 |
| R 4121 | - |  | 0.25% | 150E | 5322 116 53399 |
| R 4122 | - |  | 0.25% | 250E | 5322 116 53406 |
| R 4123 | - |  | 0.25% | 500E | 5322 116 53408 |
| R 4124 | - |  | 0.25% | 1K5 | 5322 116 53401 |
| R 4125 | MRS25 |  | 1% | 100E | 5322 116 53126 |
| R 4126 | MRS25 |  | 1% | 9K09 | 5322 116 53253 |
| R 4127 | MRS25 |  | 1% | 1K62 | 5322 116 53257 |
| R 4128 | MRS25 |  | 1% | 5K11 | 5322 116 53494 |
| R 4129 | MRS25 |  | 1% | 1M | 4822 116 52843 |
| R 4130 | MRS25 |  | 1% | 1K | 4822 116 53108 |
| R 4131 | MRS25 |  | 1% | 5K11 | 5322 116 53494 |
| R 4132 | MRS25 |  | 1% | 5K11 | 5322 116 53494 |
| R 4133 | MRS25 |  | 1% | 316E | 5322 116 53514 |
| R 4134 | MRS25 |  | 1% | 10K | 4822 116 53022 |
| R 4135 | MRS25 |  | 1% | 1K | 4822 116 53108 |
| R 4136 | MRS25 |  | 1% | 10K | 4822 116 53022 |
| R 4137 | MRS25 |  | 1% | 14K7 | 4822 116 53531 |
| R 4138 | MRS25 |  | 1% | 5E11 | 4822 116 52999 |

25-38

| POS NR | DESCRIPTION |  |  | ORDERING CODE |
| --- | --- | --- | --- | --- |
| R 4139 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 4140 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 4141 | MRS25 | 1% | 14K7 | 4822 116 53531 |
| R 4142 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 4143 | - | 0.1% | 20K | 5322 116 52697 |
| R 4144 | - | 0.1% | 202E | 5322 116 53413 |
| R 4145 | MRS25 | 1% | 1K | 4822 116 53108 |
| R 4146 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 4147 | MRS25 | 1% | 511E | 5322 116 53135 |
| R 4148 | MRS25 | 1% | 21K5 | 5322 116 53241 |
| R 4149 | MRS25 | 1% | 31E6 | 5322 116 54964 |
| R 4150 | MRS25 | 1% | 9E09 | 5322 116 53516 |
| R 4151 | MRS25 | 1% | 2K61 | 5322 116 53327 |
| R 4152 | MRS25 | 1% | 162E | 5322 116 53523 |
| R 4153 | MRS25 | 1% | 1K1 | 5322 116 53473 |
| R 4154 | MRS25 | 1% | 1K78 | 5322 116 53208 |
| R 4155 | MRS25 | 1% | 2K15 | 5322 116 53239 |
| R 4156 | MRS25 | 1% | 1M | 4822 116 52843 |
| R 4157 | MRS25 | 1% | 1E | 4822 116 52976 |
| R 4158 | MRS25 | 1% | 1M | 4822 116 52843 |
| R 4159 | MRS25 | 1% | 2K15 | 5322 116 53239 |
| R 4160 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 4161 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 4162 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 4163 | MRS25 | 1% | 5E11 | 4822 116 52999 |
| R 4164 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 4301 | MRS25 | 1% | 51K1 | 4822 116 53121 |
| R 4302 | t'iRS25 | 1% | 51K1 | 4822 116 53121 |
| R 4303 | MRS25 | 1% | 6K81 | 5322 116 53252 |
| R 4304 | MRS25 | 1% | 5K11 | 5322 116 53494 |
| R 4305 | MRS25 | 1% | 51K1 | 4822 116 53121 |
| R 4306 | MRS25 | 1% | 681E | 4822 116 53123 |
| R 4307 | MRS25 | 1% | 5K11 | 5322 116 53494 |
| R 4308 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 4309 | MRS25 | 1% | 8K25 | 5322 116 53267 |
| R 4310 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 4311 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 4312 | MRS25 | 1% | 9K09 | 5322 116 53253 |
| R 4313 | MRS25 | 1% | 7K5 | 4822 116 53028 |
| R 4314 | MRS25 | 1% | 8K25 | 5322 116 53267 |
| R 4330 | MRS25 | 1% | 5K11 | 5322 116 53494 |
| R 4331 | MRS25 | 1% | 21K5 | 5322 116 53241 |
| R 4332 | MRS25 | 1% | 4K22 | 5322 116 53246 |
| R 4334 | MRS25 | 1% | 2K15 | 5322 116 53239 |
| R 4501 | MRS25 | 1% | 13K3 | 5322 116 53489 |
| R 4502 | MRS25 | 1% | 4K22 | 5322 116 53246 |
| R 4503 | MRS25 | 1% | 6K81 | 5322 116 53252 |
| R 4504 | MRS25 | 1% | 13K3 | 5322 116 53489 |
| R 4505 | MRS25 | 1% | 511E | 5322 116 53135 |
| R 4506 | MRS25 | 1% | 2K15 | 5322 116 53239 |
| R 4507 | MRS25 | 1% | 750E | 5322 116 53265 |
| R 4508 | MRS25 | 1% | 11K | 4822 116 52907 |
| R 4509 | MRS25 | 1% | 2K15 | 5322 116 53239 |
| R 4513 | MRS25 | 1% | 1K47 | 5322 116 53185 |
| R 4521 | MRS25 | 1% | 16K2 | 5322 116 53589 |
| R 4522 | MRS25 | 1% | 23K7 | 5322 116 53537 |
| R 4523 | MRS25 | 1% | 16K2 | 5322 116 53589 |

25-39

| POS NR |  | DESCRIPTION |  |  | ORDERING CODE |
| --- | --- | --- | --- | --- | --- |
| R 4524 | MRS25 |  | 1% | 14K7 | 4822 116 53531 |
| R 4526 |  | MRS25 | 1% | 2K37 | 5322 116 53536 |
| R 4527 |  | MRS25 | 1% | 19K6 | 5322 116 53258 |
| R 4528 |  | MRS25 | 1% | 5K62 | 5322 116 53495 |
| R 4529 |  | MRS25 | 1% | 21K5 | 5322 116 53241 |
| R 4531 |  | MRS25 | 1% | 10K | 4822 116 53022 |
| R 4532 |  | MRS25 | 1% | 10K | 4822 116 53022 |
| R 4533 |  | MRS25 | 1% | 3K48 | 4822 116 53315 |
| R 4601 |  | MRS25 | 1% | 2K37 | 5322 116 53536 |
| R 4602 |  | MRS25 | 1% | 26K1 | 5322 116 53261 |
| R 4603 |  | MRS25 | 1% | 23K7 | 5322 116 53537 |
| R 4604 |  | MRS25 | 1% | 100K | 4822 116 52973 |
| R 4606 |  | MRS25 | 1% | 909E | 4822 116 53533 |
| R 4607 |  | MRS25 | 1% | 100E | 5322 116 53126 |
| R 4608 |  | MRS25 | 1% | 1K | 4822 116 53108 |
| R 4609 |  | MRS25 | 1% | 42E2 | 5322 116 53515 |
| R 4611 |  | MRS25 | 1% | 10K | 4822 116 53022 |
| R 4612 |  | MRS25 | 1% | 7K5 | 4822 116 53028 |
| R 4613 |  | MRS25 | 1% | 7K5 | 4822 116 53028 |
| R 4614 |  | MRS25 | 1% | 8K25 | 5322 116 53267 |
| R 4616 |  | 0.3W | 25% | 1K | 5322 105 20032 |
| R 4617 |  | MRS25 | 1% | 6K81 | 5322 116 53252 |
| R 4618 |  | MRS25 | 1% | 11K | 4822 116 52907 |
| R 4619 |  | MRS25 | 1% | 51K1 | 4822 116 53121 |
| R 4620 |  | MRS25 | 1% | 10K | 4822 116 53022 |
| R 4621 |  | MRS25 | 1% | 909E | 4822 116 53533 |
| R 4622 |  | MRS25 | 1% | 100E | 5322 116 53126 |
| R 4625 |  | MRS25 | 1% | 100E | 5322 116 53126 |
| R 4626 |  | MRS25 | 1% | 100E | 5322 116 53126 |
| R 4627 |  | MRS25 | 1% | 10K | 4822 116 53022 |
| R 4628 |  | MRS25 | 1% | 1K | 4822 116 53108 |
| R 4629 |  | MRS25 | 1% | 8K25 | 5322 116 53267 |
| R 4631 |  | MRS25 | 1% | 1K | 4822 116 53108 |
| R 4632 |  | MRS25 | 1% | 100E | 5322 116 53126 |
| R 4633 |  | MRS25 | 1% | 1K | 4822 116 53108 |
| R 4634 |  | MRS25 | 1% | 1K | 4822 116 53108 |
| R 4636 |  | MRS25 | 1% | 1M | 4822 116 52843 |
| R 4639 |  | MRS25 | 1% | 383E | 5322 116 53332 |
| R 4701 |  | MRS25 | 1% | 42E2 | 5322 116 53515 |
| R 4703 |  | MRS25 | 1% | 562E | 5322 116 53214 |
| R 4705 |  | MRS25 | 1% | 1K | 4822 116 53108 |
| R 4706 |  | MRS25 | 1% | 100E | 5322 116 53126 |
| R 4707 |  | MRS25 | 1% | 511E | 5322 116 53135 |
| R 4708 |  | MRS25 | 1% | 2K87 | 5322 116 53513 |
| R 4709 |  | MRS25 | 1% | 681E | 4822 116 53123 |
| R 4711 |  | MRS25 | 1% | 6Kl9 | 5322 116 53263 |
| R 4712 |  | MRS25 | 1% | 511E | 5322 116 53135 |
| R 4713 |  | MRS25 | 1% | 1M | 4822 116 52843 |
| R 4714 |  | MRS25 | 1% | 1M | 4822 116 52843 |
| R 4716 |  | MRS25 | 1% | 6 K81 | 5322 116 53252 |
| R 4717 |  | MRS25 | 1% | 8K25 | 5322 116 53267 |
| R 4718 |  | MRS25 | 1% | 1K | 4822 116 53108 |
| R 4719 |  | MRS25 | 1% | 100E | 5322 116 53126 |
| R 4721 |  | 0.3W | 25% | 1K | 5322 105 20032 |
| R 4722 |  | MRS25 | 1% | 46K4 | 5322 116 53314 |
| R 4723 |  | MRS25 | 1% | 681K | 5322 116 53593 |
| R 4724 |  | MRS25 | 1% | 42E2 | 5322 116 53515 |

25-41

| POS NR | DESCRIPTION |  |  | ORDERING CODE |
| --- | --- | --- | --- | --- |
| R 4725 | MRS25 | 1% | 4K22 | 5322 116 53246 |
| R 4726 | MRS25 | 1% | 100K | 4822 116 52973 |
| R 4727 | MRS25 | 1% | 6K81 | 5322 116 53252 |
| R 4728 | MRS25 | 1% | 562E | 5322 116 53214 |
| R 4801 | MRS25 | 1% | 5E11 | 4822 116 52999 |
| R 4804 | MRS25 | 1% | 5E11 | 4822 116 52999 |
| R 4807 | MRS25 | 1% | 5E11 | 4822 116 52999 |
| R 4809 | MRS25 | 1% | 5E11 | 4822 116 52999 |
| R 4819 | MRS25 | 1% | 5E11 | 4822 116 52999 |
| R 4820 | MRS25 | 1% | 5E11 | 4822 116 52999 |
| R 4822 | MRS25 | 1% | 5E11 | 4822 116 52999 |
| R 4825 | MRS25 | 1% | 5E11 | 4822 116 52999 |
| R 4829 | MRS25 | 1% | 5E11 | 4822 116 52999 |
| R 4831 | MRS25 | 1% | 5E11 | 4822 116 52999 |
| R 4833 | MRS25 | 1% | 5E11 | 4822 116 52999 |
| R 4835 | MRS25 | 1% | 5E11 | 4822 116 52999 |
| R 4836 | MRS25 | 1% | 5E11 | 4822 116 52999 |
| R 4838 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 4839 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 4841 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 4902 | MRS25 | 1% | 1E | 4822 116 52976 |
| R 4903 | MRS25 | 1% | 1E | 4822 116 52976 |
| R 4904 | MRS25 | 1% | 1E | 4822 116 52976 |
| R 5001 | PP17 | 20% | 10K | 5322 101 30546 |
| R 5002 | PP17 | 20% | 10K | 5322 101 30547 |
| R 5003 | PP17 | 20% | 10K | 5322 101 30546 |
| R 5004 | PP17 | 20% | 10K | 5322 101 30546 |
| R 6001 | 1.7A | 20% | 82E | 4822 116 30069 |
| R 6002 | MRS25 | 1% | 383K | 5322 116 53576 |
| R 6003 | MRS25 | 1% | 383K | 5322 116 53576 |
| R 6004 | MRS25 | 1% | 316E | 5322 116 53514 |
| R 6005 | MRS25 | 1% | 464E | 5322 116 53232 |
| R 6006 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 6007 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 6008 | MRS25 | 1% | 316E | 5322 116 53514 |
| R 6009 | 0.5W | 10% | 1K5 | 4822 116 30248 |
| R 6010 | MRS25 | 1% | 14K7 | 4822 116 53531 |
| R 6011 | MRS25 | 1% | 237E | 5322 116 53259 |
| R 6012 | MRS25 | 1% | 178E | 5322 116 53572 |
| R 6013 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 6014 | MRS25 | 1% | 3E16 | 4822 116 52993 |
| R 6016 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 6017 | MRS25 | 1% | 1E | 4822 116 52976 |
| R 6018 | MRS25 | 1% | 1E | 4822 116 52976 |
| R 6019 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 6020 | MRS25 | 1% | 21E5 | 5322 116 53426 |
| R 6021 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 6022 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 6031 | MRS25 | 1% | 383E | 5322 116 53332 |
| R 6032 | - | 0.25% | 5K62 | 5322 116 80473 |
| R 6033 | - | 0.25% | 7KS | 5322 116 80474 |
| R 6034 | MRS25 | 1% | 6Kl9 | 5322 116 53263 |
| R 6036 | MRS25 | 1% | 7K5 | 4822 116 53028 |
| R 6037 | MRS25 | 1% | 31K6 | 5322 116 53262 |
| R 6038 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 6039 | MRS25 | 1% | 10E | 4822 116 52891 |
| R 6041 | MRS25 | 1% | 3K83 | 4822 116 53079 |

25-42

| POS NR | DESCRIPTION |  |  | ORDERING CODE |
| --- | --- | --- | --- | --- |
| R 6042 | MRS25 | 1% | 3K83 | 4822 116 53079 |
| R 6043 | MRS25 | 1% | 100K | 4822 116 52973 |
| R 6044 | MRS25 | 1% | 100K | 4822 116 52973 |
| R 6101 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 6102 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 6103 | MRS25 | 1% | 1K | 4822 116 53108 |
| R 6131 | MRS25 | 1% | 10E | 4822 116 52891 |
| R 6132 | MRS25 | 1% | 100K | 4822 116 52973 |
| R 6133 | MRS25 | 1% | 100K | 4822 116 52973 |
| R 6134 | MRS25 | 1% | 1K | 4822 116 53108 |
| R 6136 | MRS25 | 1% | 4K64 | 5322 116 53212 |
| R 6137 | MRS25 | 1% | 316E | 5322 116 53514 |
| R 6138 | MRS25 | 1% | 1K | 4822 116 53108 |
| R 6139 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 6201 | - | 0.25% | 160K | 5322 116 53412 |
| R 6202 | VR37 | 1% | 31M6 | 5322 116 64103 |
| R 6203 | MRS25 | 1% | 316K | 4822 116 53058 |
| R 6204 | MRS25 | 1% | 10K | 4822 116 53022 |
| R 6206 | MRS25 | 1% | 16K2 | 5322 116 53589 |
| R 6207 | MRS25 | 1% | 51E1 | 5322 116 53213 |
| R 6208 | MRS25 | 1% | 464E | 5322 116 53232 |
| R 6209 | MRS25 | 1% | 4K64 | 5322 116 53212 |
| R 6211 | MRS25 | 1% | 46K4 | 5322 116 53314 |
| R 6212 | MRS25 | 1% | 4K64 | 5322 116 53212 |
| R 6213 | MRS25 | 1% | 215E | 5322 116 53325 |
| R 6214 | VR25 | 5% | 10M | 4822 110 72214 |
| R 6216 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 6217 | MRS25 | 1% | 1E | 4822 116 52976 |
| R 6300 | MRS25 | 1% | 2K61 | 5322 116 53327 |
| R 6301 | MRS25 | 1% | 464E | 5322 116 53232 |
| R 6302 | MRS25 | 1% | 909E | 4822 116 53533 |
| R 6303 | MRS25 | 1% | 3K83 | 4822 116 53079 |
| R 6304 | MRS25 | 1% | 6K81 | 5322 116 53252 |
| R 6311 | MRS25 | 1% | 750E | 5322 116 53265 |
| R 6312 | MRS25 | 1% | 4K22 | 5322 116 53246 |
| R 6313 | MRS25 | 1% | 1K1 | 5322 116 53473 |
| R 6401 | MRS25 | 1% | 1K78 | 5322 116 53208 |
| R 6402 | MRS25 | 1% | 178K | 5322 116 53555 |
| R 6403 | MRS25 | 1% | 215E | 5322 116 53325 |
| R 6404 | MRS25 | 1% | 6K81 | 5322 116 53252 |
| R 6406 | MRS25 | 1% | 26K1 | 5322 116 53261 |
| R 6407 | MRS25 | 1% | 3K48 | 4822 116 53315 |
| R 6408 | MTP10 | 20% | 10K | 5322 100 10113 |
| R 6501 | MRS25 | 1% | 511E | 5322 116 53135 |
| R 6502 | MRS25 | 1% | 100K | 4822 116 52973 |
| R 6503 | MRS25 | 1% | 5K11 | 5322 116 53494 |
| R 6504 | MRS25 | 1% | 19K6 | 5322 116 53258 |
| R 6506 | MRS25 | 1% | 5K62 | 5322 116 53495 |
| R 6507 | MRS25 | 1% | 511E | 5322 116 53135 |
| R 6508 | - | 0.25% | 3K67 | 5322 116 53411 |
| R 6509 | - | 0.25% | 500E | 5322 116 53408 |
| R 6511 | MRS25 | 1% | 562E | 5322 116 53214 |
| R 7001 | MRS25 | 1% | 1K | 4822 116 53108 |
| R 7002 | MRS25 | 1% | 1K | 4822 116 53108 |
| R 7003 | MRS25 | 1% | 75K | 5322 116 53266 |
| R 7004 | MRS25 | 1% | 5K11 | 5322 116 53494 |
| R 7005 | PP17 | 20% | 10K | 5322 101 30546 |
| R 7006 | PP17 | 20% | 10K | 5322 101 30546 |

25-43

| POS NR | DESCRIPTION |  |  | ORDERING CODE |
| --- | --- | --- | --- | --- |
| R 7007 | PP17 | 20% | 10K | 5322 101 30546 |
| R 7008 | PP17 | 20% | 10K | 5322 101 30546 |
| R 7009 | PP17 | 20% | 10K | 5322 101 30546 |
| R 7010 | PP17 | 20% | 10K | 5322 101 30546 |
| R 7011 | PP17 | 20% | 10K | 5322 101 30546 |
| R 7012 | PP17 | 20% | 10K | 5322 101 30546 |
| R 7013 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 7014 | MRS25 | 1% | 162E | 5322 116 53523 |
| R 7016 | 0.5W | 10% | 2K2 | 4822 116 30254 |
| R 7017 | MRS25 | 1% | 1K1 | 5322 116 53473 |
| R 7018 | MRS25 | 1% | 1M | 4822 116 52843 |
| R 7019 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 7102 | MRS25 | 1% | 100E | 5322 116 53126 |
| R 7103 | MRS25 | 1% | 5E11 | 4822 116 52999 |
| R 8001 | MCR18 | 1% | 10K | 4822 111 90249 |

25-44

25. 4.3	  SEMI-CONDUTORS

| POS NR | DESCRIPTION | ORDERING CODE |
| --- | --- | --- |
| V 0200 | BC548C | 4822 130 44196 |
| V 0201 | BAW62 | 4822 130 30613 |
| V 0202 | BAW62 | 4822 130 30613 |
| V 0203 | BC548C | 4822 130 44196 |
| V 0204 | BC548C | 4822 130 44196 |
| V 0206 | BAW62 | 4822 130 30613 |
| V 0207 | BC548C | 4822 130 44196 |
| V 0208 | BC548C | 4822 130 44196 |
| V 0209 | BC548C | 4822 130 44196 |
| V 0301 | BAT85 | 4822 130 31983 |
| V 0302 | BAT85 | 4822 130 31983 |
| V 0501 | BZX79-C3V6 | 5322 130 34834 |
| V 0502 | BAW62 | 4822 130 30613 |
| V 0503 | BAT85 | 4822 130 31983 |
| V 0504 | BAW62 | 4822 130 30613 |
| V 0506 | BAT85 | 4822 130 31983 |
| V 0512 | LM336Z-2.5 | 5322 209 81329 |
| V 0521 | BC548C | 4822 130 44196 |
| V 0522 | BC548C | 4822 130 44196 |
| V 0523 | BZX79-C5V1 | 4822 130 34233 |
| V 0531 | BC548C | 4822 130 44196 |
| V 0532 | BC548C | 4822 130 44196 |
| V 0551 | BC558B | 4822 130 44197 |
| V 0552 | BC558B | 4822 130 44197 |
| V 0553 | BAW62 | 4822 130 30613 |
| V 0554 | BAW62 | 4822 130 30613 |
| V 0556 | BAW62 | 4822 130 30613 |
| V 0557 | BAW62 | 4822 130 30613 |
| V 0558 | BC548C | 4822 130 44196 |
| V 0566 | BZX79-C5V1 | 4822 130 34233 |
| V 0567 | BF370 | 4822 130 42589 |
| V 0568 | BC548C | 4822 130 44196 |
| V 0569 | BC558B | 4822 130 44197 |
| V 0591 | BZX79-CSV1 | 4822 130 34233 |
| V 0592 | BAW62 | 4822 130 30613 |
| V 0593 | BC548C | 4822 130 44196 |
| V 0601 | BC548C | 4822 130 44196 |
| V 0602 | BC558B | 4822 130 44197 |
| V 0603 | BZV46-C1V5 | 5322 130 34865 |
| V 0604 | BC558B | 4822 130 44197 |
| V 0606 | BC548C | 4822 130 44196 |
| V 0607 | BZX79-C6V2 | 4822 130 34167 |
| V 0608 | BC548C | 4822 130 44196 |
| V 0609 | BAW62 | 4822 130 30613 |
| V 0611 | BAW62 | 4822 130 30613 |
| V 0611 | BC548C | 4822 130 44196 |
| V 0612 | BAW62 | 4822 130 30613 |
| V 0612 | BC558B | 4822 130 44197 |
| V 0613 | BAW62 | 4822 130 3û613 |
| V 0613 | BD435 | 5322 130 50405 |
| V 0614 | BAW62 | 4822 130 30613 |
| V 0614 | BZX79-C27 | 4822 130 34379 |
| V 0615 | BAW62 | 4822 130 30613 |
| V 0616 | BC548C | 4822 130 44196 |
| V 0616 | BAW62 | 4822 130 30613 |
| V 0617 | BC548C | 4822 130 44196 |
| V 0618 | BAW62 | 4822 130 30613 |

25-45

| POS NR | DESCRIPTION | ORDERING CODE |
| --- | --- | --- |
| V 0619 | BAW62 | 4822 130 30613 |
| V 0621 | BC548C | 4822 130 44196 |
| V 0622 | BC548C | 4822 130 44196 |
| V 0623 | BAW62 | 4822 130 30613 |
| V 0624 | BAW62 | 4822 130 30613 |
| V 0626 | BC548C | 4822 130 44196 |
| V 0627 | BC548C | 4822 130 44196 |
| V 0628 | BC548C | 4822 130 44196 |
| V 0629 | BC548C | 4822 130 44196 |
| V 0630 | BC548C | 4822 130 44196 |
| V 0631 | BC548C | 4822 130 44196 |
| V 0632 | BC548C | 4822 130 44196 |
| V 0633 | BC548C | 4822 130 44196 |
| V 0634 | BAW62 | 4822 130 30613 |
| V 0636 | BAW62 | 4822 130 30613 |
| V 0701 | BCW33 | 5322 130 44337 |
| V 0702 | BCW33 | 5322 130 44337 |
| V 0703 | BFR92R | 5322 130 44606 |
| V 0704 | BFR92 | 5322 130 42145 |
| V 0706 | BCW30 | 5322 130 44335 |
| V 0707 | BAW56 | 5322 130 30691 |
| V 0708 | BAW56 | 5322 130 30691 |
| V 0721 | BCW33 | 5322 130 44337 |
| V 0730 | BF550 | 4822 130 42131 |
| V 0731 | BCW30 | 5322 130 44335 |
| V 0732 | BF550 | 4822 130 42131 |
| V 0733 | BF550 | 4822 130 42131 |
| V 0734 | BCW33 | 5322 130 44337 |
| V 0736 | BCW33 | 5322 130 44337 |
| V 0760 | BF550 | 4822 130 42131 |
| V 0761 | BCW30 | 5322 130 44335 |
| V 0762 | BF550 | 4822 130 42131 |
| V 0763 | BF550 | 4822 130 42131 |
| V 0764 | BCW33 | 5322 130 44337 |
| V 0766 | BCW33 | 5322 130 44337 |
| V 0814 | BC337 | 4822 130 40855 |
| V 0827 | BC337 | 4822 130 40855 |
| V 0844 | BC337 | 4822 130 40855 |
| V 0857 | BC337 | 4822 130 40855 |
| V 0862 | BC558B | 4822 130 44197 |
| V 0863 | BZV46-C1V5 | 5322 130 34865 |
| V 0864 | BZV46-C2V0 | 4822 130 31248 |
| V 0865 | BAW62 | 4822 130 30613 |
| V 0866 | BAW62 | 4822 130 30613 |
| V 0867 | BFQ22S | 5322 130 42031 |
| V 0871 | BF370 | 4822 130 42589 |
| V 0872 | BZX79-C3V0 | 4822 130 31881 |
| V 0903 | BFQ13 | 5322 130 44404 |
| V 0908 | BFQ13 | 5322 130 44404 |
| V 0913 | BFQ13 | 5322 130 44404 |
| V 0918 | BFQ13 | 5322 130 44404 |
| V 0981 | BZX79-C27 | 4822 130 34379 |
| V 0992 | BZV46-C2V0 | 4822 130 31248 |
| V 1000 | BA483 | 4822 130 32656 |
| V 1001 | BF324 | 4822 130 41448 |
| V 1002 | BF324 | 4822 130 41448 |
| V 1003 | BF410C | 4822 130 41482 |

25-46

| POS NR | DESCRIPTION | ORDERING CODE |
| --- | --- | --- |
| V 1004 | BA483 | 4822 130 32656 |
| V 1005 | BA483 | 4822 130 32656 |
| V 1006 | BF410C | 4822 130 41482 |
| V 1007 | BA483 | 4822 130 32656 |
| V 1008 | BA4E3 | 4822 130 32656 |
| V 1009 | BA483 | 4822 130 32656 |
| V 1010 | BZX79-C8V2 | 4822 130 34382 |
| V 1011 | BF410C | 4822 130 41482 |
| V 1012 | BA483 | 4822 130 32656 |
| V 1013 | BA483 | 4822 130 32656 |
| V 1014 | BA483 | 4822 130 32656 |
| V 1016 | BF410C | 4822 130 41482 |
| V 1017 | BA483 | 4822 130 32656 |
| V 1019 | BF199 | 4822 130 44154 |
| V 1021 | BF199 | 4822 130 44154 |
| V 1022 | BF324 | 4822 130 41448 |
| V 1023 | BZX79-C5V6 | 4822 130 34173 |
| V 1024 | BF370 | 4822 130 42589 |
| V 1061 | BAW62 | 4822 130 30613 |
| V 1062 | BAW62 | 4822 130 30613 |
| V 1063 | BF324 | 4822 130 41448 |
| V 1064 | BF324 | 4822 130 41448 |
| V 1100 | BA483 | 4822 130 32656 |
| V 1101 | BF324 | 4822 130 41448 |
| V 1102 | BF324 | 4822 130 41448 |
| V 1103 | BF410C | 4822 130 41482 |
| V 1104 | BA483 | 4822 130 32656 |
| V 1105 | BA483 | 4822 130 32656 |
| V 1106 | BF410C | 4822 130 41482 |
| V 1107 | BA483 | 4822 130 32656 |
| V 1108 | BA483 | 4822 130 32656 |
| V 1109 | BA483 | 4822 130 32656 |
| V 1110 | BZX79-C8V2 | 4822 130 34382 |
| V 1111 | BF410C | 4822 130 41482 |
| V 1112 | BA483 | 4822 130 32656 |
| V 1113 | BA483 | 4822 130 32656 |
| V 1114 | BA483 | 4822 130 32656 |
| V 1116 | BF410C | 4822 130 41482 |
| V 1117 | BA483 | 4822 130 32656 |
| V 1119 | BF199 | 4822 130 44154 |
| V 1121 | BF199 | 4822 130 44154 |
| V 1122 | BF324 | 4822 130 41448 |
| V 1123 | BZX79-C5V6 | 4822 130 34173 |
| V 1124 | BF370 | 4822 130 42589 |
| V 1161 | BAW62 | 4822 130 30613 |
| V 1162 | BAW62 | 4822 130 30613 |
| V 1163 | BF324 | 4822 130 41448 |
| V 1164 | BF324 | 4822 130 41448 |
| V 1200 | BZV46-C1V5 | 5322 130 34865 |
| V 1201 | BF410C | 4822 130 41482 |
| V 1202 | BA483 | 4822 130 32656 |
| V 1203 | BA483 | 4822 130 32656 |
| V 1204 | BF199 | 4822 130 44154 |
| V 1205 | BZX79-C8V2 | 4822 130 34382 |
| V 1206 | BF199 | 4822 130 44154 |
| V 1207 | BF324 | 4822 130 41448 |
| V 1208 | BZX79-C5V6 | 4822 130 34173 |

25-47

| POS NR | DESCRIPTION | ORDERING CODE |
| --- | --- | --- |
| V 1209 | BF199 | 4822 130 44154 |
| V 1211 | BF324 | 4822 130 41448 |
| V 1212 | BF324 | 4822 130 41448 |
| V 1213 | BF324 | 4822 130 41448 |
| V 2001 | BZV46-C2V0 | 4822 130 31248 |
| V 2002 | BZV46-C2V0 | 4822 130 31248 |
| V 2003 | BZX79-C3V0 | 4822 130 31881 |
| V 2101 | BZV46-C2V0 | 4822 130 31248 |
| V 2102 | BZV46-C2V0 | 4822 130 31248 |
| V 2103 | BZX79-C3V0 | 4822 130 31881 |
| V 2305 | BZV46-C1V5 | 5322 130 34865 |
| V 2306 | BZV46-C1V5 | 5322 130 34865 |
| V 2308 | BZX79-C4V3 | 4822 130 31554 |
| V 2309 | BZX79-C4V3 | 4822 130 31554 |
| V 2310 | BC558B | 4822 130 44197 |
| V 2311 | BC558B | 4822 130 44197 |
| V 2313 | BAW62 | 4822 130 30613 |
| V 2314 | BAW62 | 4822 130 30613 |
| V 2314 | BC558B | 4822 130 44197 |
| V 2316 | BF324 | 4822 130 41448 |
| V 2317 | BC548C | 4822 130 44196 |
| V 2318 | BF324 | 4822 130 41448 |
| V 2319 | BF324 | 4822 130 41448 |
| V 2321 | BF324 | 4822 130 41448 |
| V 2325 | BAW62 | 4822 130 30613 |
| V 2326 | BAW62 | 4822 130 30613 |
| V 2327 | BC558B | 4822 130 44197 |
| V 2328 | BZX79-C5V1 | 4822 130 34233 |
| V 2329 | BZX79-C9V1 | 4822 130 30862 |
| V 2331 | BC558B | 4822 130 44197 |
| V 2332 | BC558B | 4822 130 44197 |
| V 2333 | BC558B | 4822 130 44197 |
| V 2334 | BC558B | 4822 130 44197 |
| V 2341 | BF199 | 4822 130 44154 |
| V 2342 | BF199 | 4822 130 44154 |
| V 2347 | BF199 | 4822 130 44154 |
| V 2349 | BF199 | 4822 130 44154 |
| V 2356 | BC548C | 4822 130 44196 |
| V 2357 | BC548C | 4822 130 44196 |
| V 2366 | BAW62 | 4822 130 30613 |
| V 2367 | BAW62 | 4822 130 30613 |
| V 2368 | BAW62 | 4822 130 30613 |
| V 2369 | BAW62 | 4822 130 30613 |
| V 2370 | BC548C | 4822 130 44196 |
| V 2371 | BC558B | 4822 130 44197 |
| V 2601 | BZX79-C6V2 | 4822 130 34167 |
| V 2602 | BC548C | 4822 130 44196 |
| V 2611 | BF199 | 4822 130 44154 |
| V 2612 | BF199 | 4822 130 44154 |
| V 2615 | BC548C | 4822 130 44196 |
| V 2616 | BZV46-C1V5 | 5322 130 34865 |
| V 3001 | BF324 | 4822 130 41448 |
| V 3002 | BF324 | 4822 130 41448 |
| V 3003 | BC558B | 4822 130 44197 |
| V 3004 | BF324 | 4822 130 41448 |
| V 3006 | BF324 | 4822 130 41448 |
| V 3007 | BC548C | 4822 130 44196 |

25-48

| POS NR | DESCRIPTION | ORDERING CODE |
| --- | --- | --- |
| V 3008 | BF370 | 4822 130 42589 |
| V 3009 | BF370 | 4822 130 42589 |
| V 3011 | 2N3866-01 | 5322 130 41799 |
| V 3012 | 2N3866-01 | 5322 130 41799 |
| V 3013 | BZX79-C27 | 4822 130 34379 |
| V 3014 | BZX79-C27 | 4822 130 34379 |
| V 3101 | BF324 | 4822 130 41448 |
| V 3102 | BF324 | 4822 130 41448 |
| V 3103 | BF324 | 4822 130 41448 |
| V 3104 | BC558B | 4822 130 44197 |
| V 3106 | BF324 | 4822 130 41448 |
| V 3108 | 2N5401 | 5322 130 42534 |
| V 3109 | BF370 | 4822 130 42589 |
| V 3111 | BF370 | 4822 130 42589 |
| V 3112 | 2N5551 | 5322 130 44491 |
| V 3113 | BZX79-B5V6 | 4822 130 34173 |
| V 3114 | 2N5551 | 5322 130 44491 |
| V 3116 | 2N5401 | 5322 130 42534 |
| V 3200 | BF370 | 4822 130 42589 |
| V 3201 | BF370 | 4822 130 42589 |
| V 3202 | 2N5401 | 5322 130 42534 |
| V 3203 | 2N5551 | 5322 130 44491 |
| V 3204 | BF423 | 4822 130 41646 |
| V 3205 | BZX79-B5V6 | 4822 130 34173 |
| V 3206 | BAW62 | 4822 130 30613 |
| V 3207 | BC548C | 4822 130 44196 |
| V 3208 | BF423 | 4822 130 41646 |
| V 3209 | BAW62 | 4822 130 30613 |
| V 3211 | BAW62 | 4822 130 30613 |
| V 3212 | BZX79-C68 | 4822 130 30864 |
| V 3213 | BC548C | 4822 130 44196 |
| V 3214 | BAW62 | 4822 130 30613 |
| V 3215 | BAW62 | 4822 130 30613 |
| V 3216 | BZX79-C9Vl | 4822 130 30862 |
| V 3217 | BAW62 | 4822 130 30613 |
| V 3251 | BF423 | 4822 130 41646 |
| V 3252 | BZX79-C6V2 | 4822 130 34167 |
| V 3253 | BF423 | 4822 130 41646 |
| V 3254 | BF423 | 4822 130 41646 |
| V 3256 | BF423 | 4822 130 41646 |
| V 3301 | BZX79-C6V2 | 4822 130 34167 |
| V 4001 | BF199 | 4822 130 44154 |
| V 4002 | BF199 | 4822 130 44154 |
| V 4003 | BF199 | 4822 130 44154 |
| V 4004 | BC548C | 4822 130 44196 |
| V 4005 | BC558B | 4822 130 44197 |
| V 4006 | BF199 | 4822 130 44154 |
| V 4007 | BAW62 | 4822 130 30613 |
| V 4008 | BAW62 | 4822 130 30613 |
| V 4009 | BC548C | 4822 130 44196 |
| V 4011 | BZX79-C5V1 | 4822 130 34233 |
| V 4012 | BC548C | 4822 130 44196 |
| V 4013 | BZX79-C3V6 | 5322 130 34834 |
| V 4014 | BAW62 | 4822 130 30613 |
| V 4016 | BC548C | 4822 130 44196 |
| V 4017 | BC548C | 4822 130 44196 |
| V 4018 | BC548C | 4822 130 44196 |

25-49

| POS NR | DESCRIPTION | ORDERING CODE |
| --- | --- | --- |
| V 4019 | BZX79-C3V6 | 5322 130 34834 |
| V 4020 | BAW62 | 4822 130 ~0613 |
| V 4101 | BC558B | 4822 130 44197 |
| V 4102 | BAW62 | 4822 130 30613 |
| V 4103 | BAW62 | 4822 130 30613 |
| V 4104 | BC548C | 4822 130 44196 |
| V 4106 | BAW62 | 4822 130 30613 |
| V 4107 | BC327 | 4822 130 40854 |
| V 4108 | BC548C | 4822 130 44196 |
| V 4109 | BC558B | 4822 130 44197 |
| V 4110 | BAW62 | 4822 130 30613 |
| V 4111 | BC558B | 4822 130 44197 |
| V 4112 | BSX20 | 4822 130 41705 |
| V 4113 | BAW62 | 4822 130 30613 |
| V 4114 | BSX20 | 4822 130 41705 |
| V 4115 | BZX79-C6V2 | 4822 130 34167 |
| V 4116 | BAW62 | 4822 130 30613 |
| V 4117 | BC548C | 4822 130 44196 |
| V 4118 | BC548C | 4822 130 44196 |
| V 4119 | BF199 | 4822 130 44154 |
| V 4120 | BAT85 | 4822 130 31983 |
| V 4121 | BC548C | 4822 130 44196 |
| V 4122 | BAW62 | 4822 130 30613 |
| V 4123 | BAW62 | 4822 130 30613 |
| V 4300 | BZX79-C6V2 | 4822 130 34167 |
| V 4301 | BC558B | 4822 130 44197 |
| V 4302 | BC548C | 4822 130 44196 |
| V 4304 | BC558B | 4822 130 44197 |
| V 4305 | BZX79-C9V1 | 4822 130 30862 |
| V 4306 | BAW62 | 4822 130 30613 |
| V 4307 | BC548C | 4822 130 44196 |
| V 4308 | BZV46-C1V5 | 5322 130 34865 |
| V 4309 | BC548C | 4822 130 44196 |
| V 4321 | BAW62 | 4822 130 30613 |
| V 4322 | BC548C | 4822 130 44196 |
| V 4323 | BC548C | 4822 130 44196 |
| V 4500 | BAW62 | 4822 130 30613 |
| V 4501 | BC548C | 4822 130 44196 |
| V 4502 | BC548C | 4822 130 44196 |
| V 4503 | BC548C | 4822 130 44196 |
| V 4504 | BC548C | 4822 130 44196 |
| V 4505 | BAW62 | 4822 130 30613 |
| V 4506 | BC548C | 4822 130 44196 |
| V 4510 | BC558B | 4822 130 44197 |
| V 4511 | BC558B | 4822 130 44197 |
| V 4512 | BC558B | 4822 130 44197 |
| V 4513 | BC558B | 4822 130 44197 |
| V 4514 | BC558B | 4822 130 44197 |
| V 4516 | BAW62 | 4822 130 30613 |
| V 4517 | BAW62 | 4822 130 30613 |
| V 4518 | BAW62 | 4822 130 30613 |
| V 4519 | BAW62 | 4822 130 30613 |
| V 4521 | BAW62 | 4822 130 30613 |
| V 4522 | BAW62 | 4822 130 30613 |
| V 4523 | BC548C | 4822 130 44196 |
| V 4601 | BAW62 | 4822 130 30613 |
| V 4602 | BAW62 | 4822 130 30613 |

25-50

| POS NR | DESCRIPTION | ORDERING CODE |
| --- | --- | --- |
| V 4611 | BF199 | 4822 130 44154 |
| V 4612 | BF199 | 4822 130 44154 |
| V 4613 | BAW62 | 4822 130 30613 |
| V 4614 | BAW62 | 4822 130 30613 |
| V 4616 | BC548C | 4822 130 44196 |
| V 4617 | BAW62 | 4822 130 30613 |
| V 4618 | BAW62 | 4822 130 30613 |
| V 4702 | BF324 | 4822 130 41448 |
| V 4703 | BAW62 | 4822 130 30613 |
| V 4704 | BAW62 | 4822 130 30613 |
| V 4706 | BF324 | 4822 130 41448 |
| V 4707 | BC558B | 4822 130 44197 |
| V 4708 | BF324 | 4822 130 41448 |
| V 4709 | BC558B | 4822 130 44197 |
| V 4710 | BC548C | 4822 130 44196 |
| V 4711 | BAW62 | 4822 130 30613 |
| V 4712 | BF324 | 4822 130 41448 |
| V 4713 | BAW62 | 4822 130 30613 |
| V 4801 | BZV46-C1V5 | 5322 130 34865 |
| V 4806 | BAX12 | 5322 130 33756 |
| V 4807 | BAX12 | 5322 130 33756 |
| V 4808 | BAX12 | 5322 130 33756 |
| V 4809 | BAX12 | 5322 130 33756 |
| V 6001 | BYV96E | 5322 130 34979 |
| V 6002 | BYV96E | 5322 130 34979 |
| V 6003 | BYV96E | 5322 130 34979 |
| V 6004 | BYV96E | 5322 130 34979 |
| V 6007 | BAX12 | 5322 130 33756 |
| V 6008 | BAX12 | 5322 130 33756 |
| V 6009 | BC337 | 4822 130 40855 |
| V 6011 | BAX12 | 5322 130 33756 |
| V 6012 | BZX79-C15 | 4822 130 34281 |
| V 6013 | BRY39 | 5322 130 40482 |
| V 6014 | BUZ80 | 5322 130 43926 |
| V 6016 | BYV27-150 | 4822 130 31628 |
| V 6017 | BYV27-150 | 4822 130 31628 |
| V 6018 | BUW12A | 5322 130 42114 |
| V 6019 | BYV26C | 4822 130 32343 |
| V 6021 | BZX79-C3V0 | 4822 130 31881 |
| V 6031 | BZX79-C3V6 | 5322 130 34834 |
| V 6101 | BYV43-45 | 5322 130 33656 |
| V 6102 | BYV28-150 | 5322 130 32043 |
| V 6103 | BYV27-150 | 4822 130 31628 |
| V 6104 | BYV28-150 | 5322 130 32043 |
| V 6106 | BYV27-150 | 4822 130 31628 |
| V 6107 | BYV95C | 4822 130 41487 |
| V 6108 | BYV27-150 | 4822 130 31628 |
| V 6109 | BYV95C | 4822 130 41487 |
| V 6110 | BYV27-150 | 4822 130 31628 |
| V 6112 | BT151-500R | 5322 130 24081 |
| V 6113 | BYV95C | 4822 130 41487 |
| V 6115 | BYV27-150 | 4822 130 31628 |
| V 6116 | BYV27-150 | 4822 130 31628 |
| V 6131 | BAX12 | 5322 130 33756 |
| V 6132 | BAW62 | 4822 130 30613 |
| V 6133 | BZX79-C6V2 | 4822 130 34167 |
| V 6134 | BC337 | 4822 130 40855 |

25-51

| POS NR | DESCRIPTION | ORDERING CODE |
| --- | --- | --- |
| V 6136 | BF423 | 4822 130 41646 |
| V 6137 | BF423 | 4822 130 41646 |
| V 6138 | BZX79-C5V6 | 4822 130 34173 |
| V 6201 | BC327 | 4822 130 40854 |
| V 6202 | BZX79-C15 | 4822 130 34281 |
| V 6203 | BAV21 | 4822 130 30842 |
| V 6204 | BAV21 | 4822 130 30842 |
| V 6206 | BAV21 | 4822 130 30842 |
| V 6207 | BYV27-150 | 4822 130 31628 |
| V 6208 | BUV26A | 5322 130 42722 |
| V 6209 | BY509 | 4822 130 41485 |
| V 6211 | BC337 | 4822 130 40855 |
| V 6301 | BC548C | 4822 130 44196 |
| V 6302 | BC558B | 4822 130 44197 |
| V 6303 | BC337 | 4822 130 40855 |
| V 6304 | BC327 | 4822 130 40854 |
| V 6311 | BC337 | 4822 130 40855 |
| V 6312 | BDX78 | 5322 130 44278 |
| V 6401 | BZVll | 5322 130 34294 |
| V 6402 | BAX12 | 5322 130 33756 |
| V 6403 | BC337 | 4822 130 40855 |

25-52

25.4.4   INTERGRATED CIRCUITS

| POS NR | DESCRIPTION | ORDERING CODE |
| --- | --- | --- |
| D 0201 | 74F138PC | 5322 209 82366 |
| D 0202 | PC74HCT138P | 5322 209 11111 |
| D 0203 | PC74HCT132P | 4822 209 83044 |
| D 0204 | PC74HCT390P | 5322 209 11483 |
| D 0206 | PC74HCT390P | 5322 209 11483 |
| D 0207 | PC74HCT4040P | 5322 209 72465 |
| D 0208 | PC74HCT10P | 5322 209 11107 |
| D 0209 | 74F11PC | 5322 209 81536 |
| D 0211 | 74F02PC | 5322 209 81535 |
| D 0212 | 74F04PC | 5322 209 81577 |
| D 0213 | PC74HCT32P | 5322 209 11266 |
| D 0214 | MC68008P8 | 5322 209 11593 |
| D 0216 | D27010 250V05 | 5322 209 51425 |
| D 0218 | P8254 | 5322 209 82406 |
| D 0219 | PC74HCT259P | 5322 209 11115 |
| D 0221 | PC74HCT244P | 5322 209 11116 |
| D 0222 | PC74HCT259P | 5322 209 11115 |
| D 0223 | PC74HCT03P | 5322 209 11316 |
| D 0301 | PC74HCT244P | 5322 209 11116 |
| D 0302 | PC74HCT244P | 5322 209 11116 |
| D 0303 | PC74HCT245P | 5322 209 11117 |
| D 0304 | HM62256LP-12 | 5322 209 72129 |
| D 0306 | OQ 0209 | 5322 209 11603 |
| D 0307 | PC74HCT86P | 5322 209 11473 |
| D 0309 | OQ 0209 | 5322 209 11603 |
| D 0311 | PC74HCT174P | 5322 209 11478 |
| D 0312 | PC74HCT174P | 5322 209 11478 |
| D 0313 | PC74HCT259P | 5322 209 11115 |
| D 0314 | CB1536RC | 5322 209 72515 |
| D 0316 | PC74HCT138P | 5322 209 11111 |
| D 0318 | HEF4066BP | 5322 209 10357 |
| D 0401 | PC74HCT04P | 4822 209 82341 |
| D 0402 | PC74HCT74P | 5322 209 11109 |
| D 0403 | PC74HCT74P | 5322 209 11109 |
| D 0404 | PC74HCT74P | 5322 209 11109 |
| D 0406 | PC74HCTOOP | 5322 209 11105 |
| D 0407 | PC74HCT08P | 5322 209 11265 |
| D 0408 | PC74HCT10P | 5322 209 11107 |
| D 0409 | PC74HCT163P | 5322 209 11267 |
| D 0411 | PAL16R8A-2CNMMI | 5322 209 51424 |
| D 0413 | PC74HCT574P | 5322 209 11489 |
| D 0416 | PC74HCT08P | 5322 209 11265 |
| D 0503 | PC74HCT4053P | 4822 209 71584 |
| D 0504 | HEF4104BP | 4822 209 10273 |
| D 0505 | HEF4066BP | 5322 209 10357 |
| D 0512 | PC74HCT4053P | 4822 209 71584 |
| D 0601 | PLIFIER | 5322 209 80991 |
| D 0601 | OQ 0020 | 5322 209 80991 |
| D 0602 | PLIFIER | 5322 209 80991 |
| D 0602 | OQ 0020 | 5322 209 80991 |
| D 0603 | PC74HCT4053P | 4822 209 71584 |
| D 0801 | OQ 0210 | 5322 209 11604 |
| D 0876 | 74F08PC | 5322 209 81574 |
| D 0887 | PC74HCT160P | 5322 209 72516 |
| D 0901 | PC74HCT4052P | 4822 209 71583 |

25-53

| POS NR | DESCRIPTION | ORDERING CODE |
| --- | --- | --- |
| D 0903 | HEF4066BP | 5322 209 10357 |
| D 0904 | HEF4066BP | 5322 209 10357 |
| D 0911 | PC74HCT4052P | 4822 209 71583 |
| D 0914 | HEF4066BP | 5322 209 10357 |
| D 0921 | HEF4104BP | 4822 209 10273 |
| D 0922 | PC74HCT08P | 5322 209 11265 |
| D 1001 | TEA1017/N8 | 5322 209 70023 |
| D 1061 | OQ 0203 | 5322 209 70393 |
| D 1101 | TEA1017/N8 | 5322 209 70023 |
| D 1161 | OQ 0203 | 5322 209 70393 |
| D 2002 | OQ 0205 | 5322 209 70392 |
| D 2102 | OQ 0205 | 5322 209 70392 |
| D 2203 | ARRAY OQ 0127 | 5322 209 80992 |
| D 2301 | OQ 0205 | 5322 209 70392 |
| D 2302 | PLI FIER | 5322 209 80991 |
| D 2303 | PLI FIER | 5322 209 80991 |
| D 2304 | OQ 0128 | 5322 209 82925 |
| D 2601 | HEF4053BP | 5322 209 10576 |
| D 2602 | TEA10l7/N8 | 5322 209 70023 |
| D 2603 | OQ 0200 | 5322 209 82924 |
| D 4001 | TEA10l7/N8 | 5322 209 70023 |
| D 4002 | TEA1017/N8 | 5322 209 70023 |
| D 4101 | HEF4053BP | 5322 209 10576 |
| D 4102 | HEF4051BP | 4822 209 10262 |
| D 4103 | OQ$0201 | 5322 209 70391 |
| D 6201 | - | 5322 321 21597 |
| D 6501 | HEF4066BP | 5322 209 10357 |
| D 7001 | PCF8574P | 5322 209 10883 |
| D 7002 | PCF8574P | 5322 209 10883 |
| D 7003 | PCF8574P | 5322 209 10883 |
| D 8001 | PCF8577T | 5322 209 70024 |
| D 8002 | PCF8577T | 5322 209 70024 |
| D 8003 | PCF8577T | 5322 209 70024 |

25-54

25.4.5

| POS NR | DESCRIPTION | ORDERING CODE |
| --- | --- | --- |
| N 0201 | LM393N | 4822 209 80797 |
| N 0501 | LF356N | 5322 209 86422 |
| N 0502 | LF356N | 5322 209 86422 |
| N 0503 | TL082CP | 5322 209 86064 |
| N 0504 | LM358N | 4822 209 70672 |
| N 0506 | DAC-08EP | 5322 209 11253 |
| N 0507 | DAC-10FX | 5322 209 71665 |
| N 0511 | LF356N | 5322 209 86422 |
| N 0512 | LM358N | 4822 209 70672 |
| N 0513 | TL082CP | 5322 209 86064 |
| N 0601 | LM324N | 4822 209 80587 |
| N 0701 | LM358D | 5322 209 82941 |
| N 0901 | TL082CP | 5322 209 86064 |
| N 0903 | TL082CP | 5322 209 86064 |
| N 0904 | TL082CP | 5322 209 86064 |
| N 0905 | TL082CP | 5322 209 86064 |
| N 0913 | TL082CP | 5322 209 86064 |
| N 0914 | TL082CP | 5322 209 86064 |
| N 0921 | TL082CP | 5322 209 86064 |
| N 0922 | TL082CP | 5322 209 86064 |
| N 0927 | TL082CP | 5322 209 86064 |
| N 0947 | TL082CP | 5322 209 86064 |
| N 0987 | LM337T | 5322 209 81236 |
| N 0988 | LM337T | 5322 209 81236 |
| N 1001 | UA714TC | 5322 209 70275 |
| N 1101 | UA714TC | 5322 209 70275 |
| N 1201 | LF356N | 5322 209 86422 |
| N 4101 | LM324N | 4822 209 80587 |
| N 4102 | UA714TC | 5322 209 70275 |
| N 4103 | TL080CP | 5322 209 72464 |
| N 4601 | TCA240 | 4822 209 80629 |
| N 6001 | LM358N | 4822 209 70672 |
| N 6002 | LM358N | 4822 209 70672 |
| N 7001 | LM339AN | 4822 209 80631 |
| N 7002 | LM324N | 4822 209 80587 |
| N 7003 | LM324N | 4822 209 80587 |

25-55

25-4-6   COILS

| POS NR | DESCRIPTION | ORDERING CODE |
| --- | --- | --- |
| L 0201 | 15uH | 5322 157 52539 |
| L 0301 | 82uH | 4822 158 10563 |
| L 0401 | 82uH | 4822 158 10563 |
| L 0501 | 82uH | 4822 158 10563 |
| L 0502 | 82uH | 4822 158 10563 |
| L 0503 | 82uH | 4822 158 10563 |
| L 0504 | 82uH | 4822 158 10563 |
| L 0881 | 82uH | 4822 158 10563 |
| L 0882 | 82uH | 4822 158 10563 |
| L 0883 | 82uH | 4822 158 10563 |
| L 0884 | 82uH | 4822 158 10563 |
| L 0886 | 82uH | 4822 158 10563 |
| L 0887 | 82uH | 4822 158 10563 |
| L 1001 | 0.22uH 10% | 5322 157 53284 |
| L 1101 | 0.22uH 10% | 5322 157 53284 |
| L 1401 | 1500uH | 4822 156 21293 |
| L 1402 | 1500uH | 4822 156 21293 |
| L 1403 | 1500uH | 4822 156 21293 |
| L 1421 | 1500uH | 4822 156 21293 |
| L 1422 | 1500uH | 4822 156 21293 |
| L 1423 | 1500uH | 4822 156 21293 |
| L 3001 | 2.2uH | 4822 157 51757 |
| L 3002 | 2.2uH | 4822 157 51757 |
| L 4101 | 2.2uH | 4822 157 51757 |
| L 4801 | 0.01H | 5322 157 53019 |
| L 6000 | 100uH | 5322 157 52363 |
| L 6001 | 100uH | 5322 157 52363 |
| L 6002 | 100uH | 5322 157 52363 |
| L 6003 | 5.6UH | 4822 157 52259 |
| L 6004 | 1000uH | 5322 157 52718 |
| L 6006 | 1000uH | 5322 157 52718 |
| L 6101 | 10uH | 5322 157 52513 |
| L 6102 | 27UH | 4822 158 10551 |
| L 6103 | 100uH | 5322 157 52363 |
| L 6104 | 100uH | 5322 157 52363 |
| L 6106 | 82uH | 4822 158 10563 |
| L 6107 | 82uH | 4822 158 10563 |
| L 6108 | 82uH | 4822 158 10563 |
| L 6109 | 82uH | 4822 158 10563 |
| L 6111 | 15uH | 5322 157 52539 |
| L 6201 | 82uH | 4822 158 10563 |
| L 6501 | 82uH | 4822 158 10563 |
| L 7101 | 15uH | 5322 157 52539 |

25-56

25.4.6  MISCELLANEOUS

| POS NR | DESCRIPTION |  | ORDERING CODE |
| --- | --- | --- | --- |
| E 0001 | T13/4 | 28V 80MA | 5322 134 40534 |
| E 8001 | MGG9012 | 60MA | 5322 134 40849 |
| G 0201 | LOCO16.0 | - | 5322 216 61456 |
| G 0801 | X-TAL | 100MHZ | 5322 242 71737 |
| H 6001 | CNX35 | - | 5322 130 90137 |
| K 1001 | EEO-RELAIS | 12V | 5322 280 20125 |
| - | REED CONTACT | - | 5322 280 20126 |
| K 1002 | EEO-RELAIS | 12V | 5322 280 20125 |
| - | REED CONTACT | - | 5322 280 20126 |
| K 1003 | EEO-RELAIS | 12V | 5322 280 20125 |
| - | REED CONTACT | - | 5322 280 20126 |
| K 1004 | EEO-RELAIS | 12V | 5322 280 20125 |
| - | REED CONTACT | - | 5322 280 20126 |
| K 1006 | EEO-RELAIS | 12V | 5322 280 20125 |
| - | REED CONTACT | - | 5322 280 20126 |
| K 1007 | EEO-RELAIS | 12V | 5322 280 20125 |
| - | REED CONTACT | - | 5322 280 20126 |
| K 1008 | EEO-RELAIS | 12V | 5322 280 20125 |
| - | REED CONTACT | - | 5322 280 20126 |
| K 1101 | EEO-RELAIS | 12V | 5322 280 20125 |
| - | REED CONTACT | - | 5322 280 20126 |
| K 1102 | EEO-RELAIS | 12V | 5322 280 20125 |
| - | REED CONTACT | - | 5322 280 20126 |
| K 1103 | EEO-RELAIS | 12V | 5322 280 20125 |
| - | REED CONTACT | - | 5322 280 20126 |
| K 1104 | EEO-RELAIS | 12V | 5322 280 20125 |
| - | REED CONTACT | - | 5322 280 20126 |
| K 1106 | EEO-RELAIS | 12V | 5322 280 20125 |
| - | REED CONTACT | - | 5322 280 20126 |
| K 1107 | EEO-RELAIS | 12V | 5322 280 20125 |
| - | REED CONTACT | - | 5322 280 20126 |
| K 1108 | EEO-RELAIS | 12V | 5322 280 20125 |
| - | REED CONTACT | - | 5322 280 20126 |
| K 1201 | EEO-RELAIS | 12V | 5322 280 20125 |
| - | REED CONTACT | - | 5322 280 20126 |
| K 4101 | - | 12V | 5322 280 20125 |

25-57

25.4.7	   SWITCHES

| POS NR | DESCRIPTION |  | ORDERING CODE |
| --- | --- | --- | --- |
| S 6001 | SWITCH | - | 5322 276 11859 |
| S 7001 | SWITCH | - | 5322 277 10878 |
| S 7003 | SWITCH | - | 5322 276 11857 |
| S 7004 | SWITCH | - | 5322 276 11856 |
| S 7005 | SWITCH | - | 5322 276 11856 |
| S 7006 | SWITCH | - | 5322 276 11856 |
| S 7007 | SWITCH | - | 5322 276 11856 |
| S 7008 | SWITCH | - | 5322 276 11856 |
| S 7009 | SWITCH | - | 5322 277 10878 |
| S 7011 | SWITCH | - | 5322 276 11856 |
| S 7012 | SWITCH | - | 5322 276 11856 |
| S 7013 | SWITCH | - | 5322 276 11856 |
| S 7014 | SWITCH | - | 5322 277 10878 |
| S 7016 | SWITCH | - | 5322 276 10878 |
| S 7017 | SWITCH | - | 5322 276 11856 |
| S 7018 | SWITCH | - | 5322 276 11856 |
| S 7019 | SWITCH | - | 5322 276 11856 |
| S 7020 | SWITCH | - | 5322 276 11856 |
| S 7021 | SWITCH | - | 5322 276 11856 |
| S 7022 | SWITCH | - | 5322 277 10878 |
| S 7025 | SWITCH | - | 5322 276 11856 |
| S 7026 | SWITCH | - | 5322 276 11856 |
| S 7027 | SWITCH | - | 5322 277 10878 |
| S 7029 | SWITCH | - | 5322 276 11856 |
| S 7030 | SWITCH | - | 5322 276 11856 |
| S 7031 | SWITCH | - | 5322 276 11856 |
| S 7032 | SWITCH | - | 5322 276 11856 |