## 2024 Summary
2024 Summary
02 ELA | X
03 SLA | X
04 NWK | X
05 TEM | X
06 SCT |  | 2022
08 SDM | X
09 WHD |  | 2017
11 LAN |  | 2022
12 CVS | X
13 LKD | X
14 IDT |  | 2018
15 PRV | X
16 CAS | X
17 LMT | X
18 AVA | X
21 CEN |  | 2018
22 LHS | X
26 PLM | X
27 MDR |  | 2018
29 WAL | X
95 AERO |  | 2022
EOB |  | 2022
SCC | X
23 | 15
Complete | 65.22%
2022 Inventory
2020 Inventory

## 02 ELA
District: 2 |  |  | Location: EOC Room, Basement |  |  |  | Prepared By: K. Sayano, B001 | Date: 1/15/24
Mfg | Model | Band(s) | Serial # | County Prop. | Operational |  | Comments
|  |  |  | Tag Number | Yes | No
ICOM | IC-2200H | 2 m | 528271 | AA006619 | X
Motorola | CDM1550-LST | 2 m | none | none visible | X
Astron | RS-20A |  | 8912476 | no tag | X
Astron | RS-20A |  | 9204525 | no tag | X
Astron | RS-20A |  | NONE | no tag | X
Alinco | DR435 | 220 MHz | M002214MXIII AA006586 | AA006586 | X
Yaesu | FT-8900R | Quad Band | 9G020090 | AA006571 | X
Yaesu | FT-8900R | Quad Band | 9G020085 | AA006575 | X
Antennas | [6 empty] | Surplus
Report any Issues in the box below | [6 empty] | Report Surplus Equipment in the box below
Other Equipment
Mfg | Model | Type | Serial # | County Prop. | Operational |  | Comments
|  |  |  | Tag Number | Yes | No
6 m and 10 m antenna connection not working. Transmissions on either band are not getting out (was working at one point).
6 m and 10 m antenna connection not working. Transmissions on either band are not getting out (was working at one point).
6 m and 10 m antenna connection not working. Transmissions on either band are not getting out (was working at one point).

## 03 SLA
District: 03 - SLA |  |  | Location: SLA IT Room |  |  |  | Prepared By: Diana Feinberg S-60 / Deane Bouvier S-50 | Date: | 2024-02-12
Mfg | Model | Band(s) | Serial # | County Prop. | Operational |  | Comments
|  |  |  | Tag Number | Yes | No
Motorola | CDM-1550LS+ | 2-meter | 001TJS1187 | Hidden | Yes |  | Antenna measurements not made. Self contained power supply. Standard code plug (needs slight update).
Icom | IC-2200H | 2-meter | 0528313 | AA006629 | Yes* |  | Good antenna performance on 2m; power supply insufficient.
Alinco | DR-235 MkIII | 220 | M002226 | AA006599 | Marginal** |  | Good antenna performance on 220; radio receiver has failed in the typical Alinco mode. Replace!
Yaesu | FT 8900R | 6/10/2/440 | 9G020270 | AA006560 | Yes*** |  | Single band 10m antenna with good performance, SWR on 440 marginal, no other bands possible
Yaesu | FT 8900R | 6/10/2/440 | 9G020081 | AA006572 | Yes*** |  | Single band 6m antenna with good performance, SWR on 440 marginal, no other bands possible
Yaesu | FT 897 | All HF bands | 9H100423 | AA006497 | Yes**** |  | Trap vertical with resonance on ham bands. Antenna is bent; no roof radials
Astron | RM12ABB | n/a | 2020600020 | None seen | Yes* |  | Rack mount power supply; 9 amp continuous; powers the IC-2200H [15a]; underpowered.
Astron | RM12ABB | n/a | 2020600018 | None seen | Yes |  | Rack mount power supply; 9 amp continuous; powers the DR-235 [8a]
Astron | RM60M | n/a | 9502004 | None seen | Yes |  | Rack mount power supply; 50 amp continuous for HF radio; powers FT-897 [22a] + the two FT-8900s [17a]
Tigertronics | SignaLink USB | [5 empty] | DCS NBEMS kit; works well
| Manual RJ45 switch, DR-235 adapter and cables | [5 empty] | DCS NBEMS kit; works well; 2m digital not possible because of the lack of antennas on the FT-8900 or FT-897
Antennas | [6 empty] | Surplus
Report any Issues in the box below | [6 empty] | Report Surplus Equipment in the box below
*IC-2200H requires 15 amps continuous. 9 amp power supply needs to be replaced. RS-20A [16 amps continuous] would work. **Alinco DR-235 has the typical receiver failure. Install a BC-220. ***FT8900s are very capable quad band radios but are connected to signal band antennas. 440 is required at SLA to communicate with the contact city groups. Dual band antennas and duplexers to combine the signals are needed make these radios fully functional. ****Roof radials for the trap vertical HF antenna will improve performance, but the placement on the roof is too close to the edge. Antenna is bent even though the wind is not bad at SLA. Suggest replacement with the USA 1942 centered on the roof. plus the Diamond X-50 for UHF/VHF.
Other Equipment
Mfg | Model | Type | Serial # | County Prop. | Operational |  | Comments
|  |  |  | Tag Number | Yes | No
None

## 04 NWK
District: 04 NWK | Location: DCS Room B-17 | [5 empty] | Prepared By: Almada, Harry D-01 | Date: 2/10/2020
[7 empty] | Updated by: Ken Carlson | Date: 1/26/2024
Mfg | Model | Band(s) | Serial # | County Prop. | Operational |  | Comments
|  |  |  | Tag Number | Yes | No
Alinco | DR235II | 220 | M002212 | V0010088 |  | X | Now a Bridgecom Need a SignalLink , computer, as well as associated wiring for these.
Bridgecom | BCM-220 | 220 | AA106255 | n/a | X
Motorola | CDM1550LS | County 2 M | n/a | n/a | X
Icom | IC2200H | Local 2 M | 528568 | V0010157 | X
Yaesu | FT8900R | 6 M | 9G020268 | V0010049 | X
Yaesu | FT8900R | 10 M | 9G020221 | V0010046 | X
Icom | IC726 | HF | 3185 | 550547 | X
AOR | AR2002 | Scanner | 13605 | 1138 | X
Tower obstruction light (red light) out. No tests on radios or antennas performed.

## 05 TEM
District: 5 |  |  | Location: TEMPLE CITY |  |  |  | Prepared By: Michele Chimienti, E01 | Date: 1/14/24
Mfg | Model | Band(s) | Serial # | County Prop. | Operational |  | Comments
|  |  |  | Tag Number | Yes | No
Icom | IC 726 | 6 Meter | 3140 | 550549 | Unknown |  | Radio turns on but unable to receive or transmit
Icom | PS-55 |  | 13272 | none | Yes
Icom | 2200H | 2 Meter | AA06625 | V0010149 | Yes |  | Not as strong a reciever as the Motorola, Sierra Madre and Pasadena temple members aren't heard but when we use the motorola we can capture them.
Astro | RS 20A |  | 8912552 | none | Yes
Motorola | CDM 1550 | 2 Meters | None | None | Yes
ICOM | IC 726 | 10 Meter | 3132 | 550550 | Unknown |  | keying the mike impacts the simplex frequency
ICOM | PS-55 |  | 13283 | none | Yes
Alinco | 235MK III | 220 Meter | AA006588 | None | Intermittent |  | Able to hear but can't transmit reliably
Antennas | [6 empty] | Surplus
Report any Issues in the box below | [6 empty] | Report Surplus Equipment in the box below
Other Equipment
Mfg | Model | Type | Serial # | County Prop. | Operational |  | Comments
|  |  |  | Tag Number | Yes | No
1) 6 Meter is not working, Radio turns on but we can not receve or transmit, suspect antenna system is not working.
2) Have tested the 10 M and we are able to recieve and transmit and but when keying the mike it appears to impact our simplex frequency.
File cabinet 269158
Fire Extinguisher V0029688 (expired)
Dell Computer - not hooked up
montor 3606 Opti Quest - not hooked up
HP Laserjet SMP -not hooked up
HP MXL3211KC QC985AV with NEC monitor - we dont have access to log on but it appears to work
HP ScanJet ADF - not hooked up
chairs - 10
Desk 3 + 3 built-in
white boards - 2
phones 7 working - 4 non-used.
1) 6 Meter is not working, Radio turns on but we can not receve or transmit, suspect antenna system is not working.
2) Haven't tested the 10 M recently. In the past we are able to recieve and transmit and but when keying the mike it appears to impact our simplex frequency.
3) The 220 M Alinco we are able to recieved but can not reliably transmit.
4) 2M Icom doesn't alway recieve reliabily but the 2M Motorrola does pick up local members that the ICOM doesn't register.
5) Did a impromptu testing of the anennas and it appears that the antenna cables need to replaced for all radios. I can forward the photos I took for that testing.
File cabinet 269158
Fire Extinguisher V0029688 (expired)
HP MXL3211KC QC985AV with NEC monitor - we dont have access to log on but it appears to work
chairs - 10
Desk 3 + 3 built-in
white boards - 2
phones 7 working - 4 non-used.

## 06 SCT
District: 06 SCT |  |  | Radio Room |  |  |  | F-02 / Steve Hoebink | 2022-06-19
Mfg | Model | Band(s) | Serial # | County Prop. | Operational |  | Comments
|  |  |  | Tag Number | Yes | No
ICOM | IC 220H | VHF | 527707 | V0010148 | X |  | Asset No.AA006624
Yaesu | FT-8900R | 10M/6M/2M/70CM | 9G020228 | V0010058 | X |  | Asset No.AA006562
Alinco | DR-235 MK3 | 220mhz | M006184 | NONE |  | X | Asset No.NONE; The coax has pulled out of the connector rendering the radio unusable.
Yaesu | FT-8900R | 10M/6M/2M/70CM | 9G020224 | V0010055 | X |  | Asset No.AA006552
Yaesu | FT-897D | HF/VHF/UHF | Not Visible | V0010013 |  | X | Asset No.AA006509 (Mic Missing)
Motorola | CDM1550-LS | VHF | Not Visible | NONE | X |  | Asset No.NONE
Antennas | [6 empty] | Surplus
Report any Issues in the box below
Other Equipment
Mfg | Model | Type | Serial # | County Prop. | Operational |  | Comments
|  |  |  | Tag Number | Yes | No
Astrom | RS-20A | Power Supply | Not Visible | NONE | X |  | Asset No. None
Astrom | RS-20A | Power Supply | 9204368 | NONE | X |  | Asset No. None
Astrom | RS-50M AP | Power Supply | 2021010002 | NONE | X |  | Asset No. None
Signalink |  |  |  | NONE |  |  | Asset No. None
MT-VIKI |  | Network Switch |  | NONE |  |  | Asset No. None
Astrom | RS-50M AP | Power Supply | Not Visible | NONE | X |  | Asset No. None
|  | Headsets |  |  |  |  | Count:
|  | Motorola table mic |  |  |  |  | Count:
ICOM IC 220H -> CELLWAVEP220-2
YAESU FT-8900R -> DIAMOND X50A /DIAMOND CP610 6M/10M
ALINCO DR235MK3 -> PD220-8B
YAESU FT8900R -> DIAMOND CP610 6M/10M / DIAMOND X50A
YAESU FT897D -> USAP 1942 NVIS / HYGAIN DX-88/DIAMOND X50A
MOTOROLA CDM1550-LS -> ??? Believe it is connected to DIAMOND X50A
The two 8900 radios are now reprogrammed and working fine. One volume control is slightly bent but is usable.

## 08 SDM
District: 8 |  |  | Location: San Dimas |  |  |  | Prepared By: Keith Prebble | 2024-02-05
Mfg | Model | Band(s) | Serial # | County Prop. | Operational |  | Comments
|  |  |  | Tag Number | Yes | No
Motorola | CDM1550LS | VHF | 001TGA0341 | - | X |  | AAM25KKF9DP6AN
Motorola | CDM1550LS | VHF | 001TGA0345 | - | X |  | AAM25KKF9DP6AN
Icom | IC-2720H | VHF/UHF | 507044 | - | X |  | Not a user friendly radio to operate, not capable of Alpha Tags. Would like to replace with a FT-8900
Icom | IC-706MKIIG | HF | 1513697 | - | X |  | Antenna questionable (see below)
Icom | IC-706MKIIG | HF | 1513696 | - | X |  | Antenna questionable (see below)
Icom | IC-706MKIIG | HF | 1513698 | - | X |  | Antenna questionable (see below)
Alinco | DR-235TMKIII | 220 XCVR |  | V0010085 | X
AA006581 (2nd tag)
Antennas | [6 empty] | Surplus
Report any Issues in the box below | [6 empty] | Report Surplus Equipment in the box below
Other Equipment
Mfg | Model | Type | Serial # | County Prop. | Operational |  | Comments
|  |  |  | Tag Number | Yes | No
Astron | RS-20A-BB | Power Supply | - | - | X
Astron | RS-20A-BB | Power Supply | - | - | X
Astron | RM-20A-BB | Power Supply | 201020009 | - | X
Astron | RM-20A-BB | Power Supply | 201020001 | - | X
Astron | RM-20A-BB | Power Supply | 201020006 | - | X
Kantronics | 3+ | Packet | 42L05-11223 | - | X |  | New Unused Packet Communicator 3+
Kantronics | 3+ | Packet | 42L05-11142 | - | X |  | New Unused Packet Communicator 3+
Yaesu | FT-2800 | 2M Radio | - | - | X |  | Donated to DCS by San Dimas Station Sheriff's Boosters.
Yaesu | FT-2800 | 2M Radio | - | - | X |  | Donated to DCS by San Dimas Station Sheriff's Boosters. Installed in an ammo can for portable use. Currently used for APRS
Reception to Mt. Disappointment on 145.300 is marginal at best. - Outstanding repair order
HF antennas do not work as well as they should. The 6 and 10 M radios are tied to the same antenna preventing simultaneous operation. - Outstanding repair order
Reception to Mt. Disappointment on 145.300 is marginal at best. - Outstanding repair order
HF antennas do not work as well as they should. The 6 and 10 M radios are tied to the same antenna preventing simultaneous operation. - Outstanding repair order

## 09 WHD
District: 9 WHD |  | 2018 | Location: West Hollywood |  |  |  | Prepared By: Cary Charlin J-119 and Robert Sussin S-10 | Date: January 5, 2017
Mfg | Model | Band(s) | Serial # | County Prop. | Operational |  | Comments
|  |  |  | Tag Number | Yes | No
KENWOOD | TM741A | 2m 440 | 31100393 | 1267 |  | x | No Antenna
KENWOOD | TM641A | 2m 220 440 | 30600007 | 1317 | x |  | 440 only; Radio not programmed
ICOM | IC 726 | 6m | 2940 | 550553 |  | x | No Antenna
ICOM | IC 726 | 10m | 2995 | 550559 |  | x | No Antenna
MOTOROLA | CDM1550 | 2m |  |  | x |  | Serial # and Tag not visible without removing radio
ICOM | IC 2200H | 2m | AA006632 | V0010156 | x |  | A 2m Antenna is connected to the IC-2200H
ICOM | PS-55 | PS | none | none | x
ASTRON | RS-20A | PS | none | none | x
ASTRON | RS-20A | PS | none | none |  | x | Disconnected but left on the shelf - should be discarded
ASTRON | R-50A | PS |  |  | x |  | The unit is bolted down - tags can't be seen
Antennas | [6 empty] | Surplus
Report any Issues in the box below | [6 empty] | Report Surplus Equipment in the box below
Other Equipment
Mfg | Model | Type | Serial # | County Prop. | Operational |  | Comments
|  |  |  | Tag Number | Yes | No
As far as we know the antenna system is notin good working order
The 2 meter system is only available
File Cabinet --26915 B
Fire Extinguisher--V0029688
Dell Computer --ERFBW & Hard Drive
Moniter--3606
Printer--1HR5081
Chairs --6
Deskes--3
White Boards--2
Phones--6
Only the Motorola 1550 and ICOM 2200H are operational
Astron RS-20A - Burned out - should be removed from the radio room
x1 The HF (HF position 1 left side) radio is not working. See Repair Request SCT-16-01-A . Updated and resubmitted as SCT-17-02b.
x2 The HF (HF position 2 right side) radio is not working on all bands. See Repair Request SCT-16-01-B. Updated and resubmitted as SCT-17-01b
x3 This radio has been replaced the old number is AA006585. It had low audio output. The problem could not be verified. This repair request was submitted 9-14-2017 as SCT-17-04. It should be considered CLOSED.
x4 There is no NBEMS digital capability at the station. Repair Request SCT-17-03a was submitted 4-28-2017.
The computer and printer (above) are not used and should be considered surplus equipment.
As far as we know the antenna system is notin good working order
The 2 meter system is only available
File Cabinet --26915 B
Fire Extinguisher--V0029688
Dell Computer --ERFBW & Hard Drive
Moniter--3606
Printer--1HR5081
Chairs --6
Deskes--3
White Boards--2
Phones--6
Only the Motorola 1550 and ICOM 2200H are operational
Astron RS-20A - Burned out - should be removed from the radio room

## 11 LAN
District: 11 LAN |  |  | Location: Lancaster |  |  |  | Prepared By: Keith French | Date: 2022
Mfg | Model | Band(s) | Serial # | County Prop. | Operational |  | Comments
|  |  |  | Tag Number | Yes | No
ICOM | IC-2200H | 2M FM | 528518 | AA006710 | X
KENWOOD | TS-690S | 6M FM | 70300007 | U0026544 | X |  | CONNECTER TO 6M ANTENNA
KENWOOD | TS-690S | 10M FM | 70300028 | U0026545 | X |  | CONNECTER TO 10M ANTENNA
KENWOOD | TM-641 | 2M/220 FM | 30600008 | 1318 | X
MICOM | 2072097140 | HF SSB | MZT6104 | ARINC302835 | X |  | * Z TRUNK MODEL FOR ALE (URGENTLINK) USES HF DIPOLE ON ROOF
KENWOOD | TS690S | 10M - 80M | 70300005 | U0026546 | X |  | ** USES HI-GAIN DX-88 VERTICAL ON ROOF
KENWOOD | TM-741A | 4M 70CM FM | 31100498 | 1272 | X
MOTOROLA | CDM1550LST | 2M FM | N/A | AA083640 | X |  | RADIO IN ENCLOSURE W/POWER SUPPLY, HEADPHONE AND MIC JACK
(4) HEADPHONES
Antennas (5) 2M | (1) 220 | (1) 70 CM | (1) 10M FM | (1) 6M FM | * | ** | Surplus
Report any Issues in the box below | [6 empty] | Report Surplus Equipment in the box below
Other Equipment
1318
Mfg | Model | Type | Serial # | County Prop. | Operational |  | Comments
|  |  |  | Tag Number | Yes | No
ASTRON | RS20A | DC POWER | N/A | N/A | X
ASTRON | RS20A | DC POWER | 95072133 | N/A | X
ASTRON | RS20A | DC POWER | 9506864 | N/A | X
ASTRON | RS20A | DC POWER | N/A | N/A | X
ASTRON | RS20A | DC POWER | 95072129 | N/A | x
ASTRON | RS20A | DC POWER | 8012485 | N/A | x
DURACOM | ? | DC POWER | N/A | ARINC 302795 | x |  | USED ON MICOM URGENTLINK RADIO,
N/A
SEE OTHER EQUIPMENT
(1) ASTRON RM 35 M POWER SUPPLY
N/A
SEE OTHER EQUIPMENT
1) CMD1550LSD NEEDS HEADPHONES.
(1) ASTRON RM 35 M POWER SUPPLY
N/A
SEE OTHER EQUIPMENT
1) CMD1550LSD NEEDS HEADPHONES.
(1) ASTRON RM 35 M POWER SUPPLY
2) MS DOS Computer tower, CRT Monitor and keyboard, Dell v313W multifunction printer/copier

## 12 CVS
[7 empty] | Prepared By: Terry Priesont, M-01 | 2018-03-06
District: 12 CVS |  |  | Location: DCS Radio Room |  |  |  | Revised by Eric Christensen M-02 01/16/2024 | 2022-06-05
2024-01-15
Mfg | Model | Band(s) | Serial # | County Prop. | Operational |  | Comments
|  |  |  | Tag Number | Yes | No
Motorola | CDM-1550 |  | 88009686 | AA08364 | x |  | Used as County Radio
Astron | RS 35A |  | 9312473 |  | x
Astron | RS20A |  | 8912560 |  | x
Astron | RS20A |  | 9204302 |  | x
Astron | RS20A |  | 8912504 |  | x
Alinco | DR-235 | 220 mhz | M002465 | AA006582 | x |  | Used as 220 mhz radio. (Replaces Kenwood TM-TM-641a)
Icom | IC2200 | 2m | 528519 | AA006707 | x |  | Used as 2m district net radio (replaces Kenwood TM-G707a)
Icom | IC726 | HF/6 | 02972 | 550557 | x |  | Used as County radio (10M)
Icom | IC726 | HF/6 | 3173 | 550581 | x |  | Not in use (spare) may use in future field pack
Icom | PS 55 |  | 14527 |  | x |  | Power supply for Icom IC-726
Icom | AH-3 | HF/6 | 10821 |  |  |  | Auto Tuner
Kenwood | TM231A | 2M | 100210 |  | x |  | FLDigi Radio (not in use)
Kenwood | TM241A | 2M | 21000248 |  | x |  | Not in use (spare) may use in future field pack
Kenwood | TM641A | 2m/220 | 30600293 | 1333 | x |  | Removed from service, defective. Replaced by Alinco DR-235
Kenwood | TM741A | 2M/440 | 31100446 | 1261 | x |  | Not in use (spare) may use in future field pack
Kenwood | TMG707 | 2M/440 | 60700113 |  | x |  | Removed from service. May use in future field pack
Kenwood | TMG707 | 2M/440 | 60700112 |  | x |  | Removed from service. May use in future field pack
Yaesu | FT-8900R | 6m/10m/2m/70cm | 4N320511 |  | x |  | Used as County radio (6M)
Yaesu | FT-60R | 2M/440 | 2K570188 |  | x |  | For member loan outs
Yaesu | FT-60R | 2M/440 | 2K570187 |  | x |  | "
Yaesu | FT-60R | 2M/440 | 2K570186 |  | x |  | "
Yaesu | FT-60R | 2M/440 | 2K570182 |  | x |  | "
Uniden | BC-796 | 320Z54003619 |  |  | x |  | Digital Scanner
Tigertronics | SLUSB | We have 2 Signalink units, possibly left by former member Jim Stoker. |  |  | x |  | Soundcard interface for 2m FLDIGI station
West Mountain | RigBlaster 8 |  |  |  | x |  | Soundcard interface for HF station
Antennas | [6 empty] | Surplus No changes Eric J Christensen K6EJC M-02 01/16/2024
Updated 01/16/2024 Eric J Christensen K6EJC M-02 Other comments are in 2nd box below. | [6 empty] | Report Surplus Equipment in the box below
Other Equipment
Notes:
Burbank, Station 12A does not have an County radios. City Nets on Monday Nights 446.860R 123.0
We are using the Motorla CDM-1550 as the District Radio and another TM-G707 as the Country radio. When running the District Net at 7:30, the signal overloads the front end of the County radio . The Country radio cannot be used while the District Net is in session.
Our HF station radio (Icom IC-726) shares a Cushcraft R-8 vertical antenna with the Yaesu FT-8900R radio (used for 6m). Radio selection is by use of a Alpha Delta 2B antenna switch. Our station has a new in package Diamond V-2000 2m/440/6m base station vertical antenna that was purchased by Station Booster group. We would like to request ISD install the V-2000 antenna on CVS station roof and connect via new coax cable run to the Yaesu FT-8900R transceiver. This would allow that radio to be used on 2m/440 and 6m.
An alternative to above plan is to install (CFMB stock Comet 6m/10m base antenna along with appropriate duplexer to allow use with existing new in package Diamond V-2000 to provide 2m/440/6m/10m operation as back up VHF/UHF transceiver to permit interoperability communications with local city groups (Burbank, Glendale, San Fernando) which use UHF and VHF frequencies. 6m and 10m modes would be for DCS net operations.
We do not presently have a NVIS antenna. We would like to request ISD evaluate installation of NVIS antenna and connect to our existing Icom IC-726 HF/6m transceiver using existing Alpha Delta 2B antenna switch. (2 position). Position 1 is existing Cushcraft R8 HF/6m vertical, Position 2 new pending NVIS antenna.
Our 2m FL-Digi station radio (old Kenwood TM-231) running on an unknown type base station antenna provides fair quality performance. We would like to request ISD to check the antenna and coax.
PC Electronics, Amateur Television Transceiver, Asset # 1003
Realistic TRC-46, CB Radio, Asset 365355
We are using the Motorla CDM-1550 as the District Radio and an Icom IC-2200H as the District radio.
Our HF station radio (Icom IC-726) shares a Cushcraft R-8 vertical antenna with the Yaesu FT-8900R radio (used for 6m). Radio selection is by use of a Alpha Delta 2B antenna switch. Our station has a new in package Diamond V-2000 2m/440/6m base station vertical antenna that was purchased by Station Booster group. We would like to request ISD install the V-2000 antenna on CVS station roof and connect via new coax cable run to the Yaesu FT-8900R transceiver. This would allow that radio to be used on 2m/440 and 6m.
An alternative to above plan is to install (CFMB stock Comet 6m/10m base antenna along with appropriate duplexer to allow use with existing new in package Diamond V-2000 to provide 2m/440/6m/10m operation as back up VHF/UHF transceiver to permit interoperability communications with local city groups (Burbank, Glendale, San Fernando) which use UHF and VHF frequencies. 6m and 10m modes would be for DCS net operations.
We do not presently have a NVIS antenna. We would like to request ISD evaluate installation of NVIS antenna and connect to our existing Icom IC-726 HF/6m transceiver using existing Alpha Delta 2B antenna switch. (2 position). Position 1 is existing Cushcraft R8 HF/6m vertical, Position 2 new pending NVIS antenna.
Our 2m FL-Digi station radio (old Kenwood TM-231) running on an unknown type base station antenna provides fair quality performance. We would like to request ISD to check the antenna and coax.
Updated 06/05/2022 EJC k6EJC M02
PC Electronics, Amateur Television Transceiver, Asset # 1003
Realistic TRC-46, CB Radio, Asset 365355
Kenwood TM-241A SN 21000248
Kenwood TM-641A SN 30600293
Kenwood TM-741A SN 31100446
above Kenwood radios are in blak go box kit for future depolyment use
Extra IC-726 HF/6m SN 002976 Secondary radio, in original package
Icom AH-3 auto tuner for above SN 010621
Neither Icom units above are inuse, they are in their origina boxes.
Updated 06/05/2022 EJC K6EJC M02
We are using the Motorla CDM-1550 as the District Radio and another TM-G707 as the Country radio. When running the District Net at 7:30, the signal overloads the front end of the County radio . The Country radio cannot be used while the District Net is in session.
Our HF station radio (Icom IC-726) shares a Cushcraft R-8 vertical antenna with the Yaesu FT-8900R radio (used for 6m). Radio selection is by use of a Alpha Delta 2B antenna switch. Our station has a new in package Diamond V-2000 2m/440/6m base station vertical antenna that was purchased by Station Booster group. We would like to request ISD install the V-2000 antenna on CVS station roof and connect via new coax cable run to the Yaesu FT-8900R transceiver. This would allow that radio to be used on 2m/440 and 6m.
An alternative to above plan is to install (CFMB stock Comet 6m/10m base antenna along with appropriate duplexer to allow use with existing new in package Diamond V-2000 to provide 2m/440/6m/10m operation as back up VHF/UHF transceiver to permit interoperability communications with local city groups (Burbank, Glendale, San Fernando) which use UHF and VHF frequencies. 6m and 10m modes would be for DCS net operations.
We do not presently have a NVIS antenna. We would like to request ISD evaluate installation of NVIS antenna and connect to our existing Icom IC-726 HF/6m transceiver using existing Alpha Delta 2B antenna switch. (2 position). Position 1 is existing Cushcraft R8 HF/6m vertical, Position 2 new pending NVIS antenna.
Our 2m FL-Digi station radio (old Kenwood TM-231) running on an unknown type base station antenna provides fair quality performance. We would like to request ISD to check the antenna and coax.
PC Electronics, Amateur Television Transceiver, Asset # 1003
Realistic TRC-46, CB Radio, Asset 365355
Revised 01/15/2024 Eric J Christensen K6EJC M-02
The CVS radio room has been out of service for almost 3 years due to flood damage from a pipe break in the wall between the jail and the radio room. Cournty services was finally able to repair the plumbing, reapair and repain the wall, repaint and remount the radio cubbies. They also installed new carpet. Our first net in the radio room was 01/08/2024.
Chris Galante, Terry Priesont, and myself (Eric K6EJC) spent several hours re-installing the coax cable runs to cubbies and re installing the county and district net radios. On 01/15/2024, I finished installing the HF, FT-8900R, DR-235 radiio.
Equipment inventory has not changed.
We are using the Motorla CDM-1550 as the District Radio and an Icom IC-2200H as the District radio. 0n 01/15/2024 we updated the progamming in the IC 2200. Our 220 station is an Alinco DR-235. We have a Signalink for it for future use on NBEMS. I will be donating my former Dell Windows 10 laptop for NBEMS use until CFMB provides one.
Our HF station radio (Icom IC-726) shares a Cushcraft R-8 vertical antenna with the Yaesu FT-8900R radio (used for 6m). Radio selection is by use of a Alpha Delta 2B antenna switch. Our station has a new in package Diamond V-2000 2m/440/6m base station vertical antenna that was purchased by Station Booster group. We would like to request ISD install the V-2000 antenna on CVS station roof and connect via new coax cable run to the Yaesu FT-8900R transceiver. This would allow that radio to be used on 2m/440 and 6m.
The Icom IC-726 is an older generation HF radio and still works. If one is available from CFMB, we would like to upgrade it to a Yaesu FT-897, using s available CFMB stock.
An alternative to above plan is to install (CFMB stock Comet 6m/10m base antenna along with appropriate duplexer to allow use with existing new in package Diamond V-2000 to provide 2m/440/6m/10m operation as back up VHF/UHF transceiver to permit interoperability communications with local city groups (Burbank, Glendale, San Fernando) which use UHF and VHF frequencies. 6m and 10m modes would be for DCS net operations.
We do not presently have a NVIS antenna. We would like to request ISD evaluate installation of NVIS antenna and connect to our existing Icom IC-726 HF/6m transceiver using existing Alpha Delta 2B antenna switch. (2 position). Position 1 is existing Cushcraft R8 HF/6m vertical, Position 2 new pending NVIS antenna.
Our 2m FL-Digi station radio (old Kenwood TM-231) running on an unknown type base station antenna provides fair quality performance. We would like to request ISD to check the antenna and coax. We are planning to install a Signalink to work with our Alinco DR-235 220 mhz radio for LADCS NBMES activity.
We have in our radio room a Kenwood TK-290 commerical HT, SN 00100514, DCS # 129, LASD inventory # AA030605.
It has a drop in charger and 2 additional batteries. I believe this may have come from Randy Benson, SK.
Updated 06/05/2022 re updated 01/15/2024 EJC k6EJC M02
PC Electronics, Amateur Television Transceiver, Asset # 1003
Realistic TRC-46, CB Radio, Asset 365355
Kenwood TM-241A SN 21000248
Kenwood TM-641A SN 30600293
Kenwood TM-741A SN 31100446
above Kenwood radios are in blak go box kit for future depolyment use
Extra IC-726 HF/6m SN 002976 Secondary radio, in original package
Icom AH-3 auto tuner for above SN 010621
Neither Icom units above are inuse, they are in their origina boxes.
Updated 01/15/2024 06/05/2022 EJC K6EJC M02
We are using the Motorla CDM-1550 as the District Radio and another TM-G707 as the Country radio. When running the District Net at 7:30, the signal overloads the front end of the County radio . The Country radio cannot be used while the District Net is in session.
Our HF station radio (Icom IC-726) shares a Cushcraft R-8 vertical antenna with the Yaesu FT-8900R radio (used for 6m). Radio selection is by use of a Alpha Delta 2B antenna switch. Our station has a new in package Diamond V-2000 2m/440/6m base station vertical antenna that was purchased by Station Booster group. We would like to request ISD install the V-2000 antenna on CVS station roof and connect via new coax cable run to the Yaesu FT-8900R transceiver. This would allow that radio to be used on 2m/440 and 6m.
An alternative to above plan is to install (CFMB stock Comet 6m/10m base antenna along with appropriate duplexer to allow use with existing new in package Diamond V-2000 to provide 2m/440/6m/10m operation as back up VHF/UHF transceiver to permit interoperability communications with local city groups (Burbank, Glendale, San Fernando) which use UHF and VHF frequencies. 6m and 10m modes would be for DCS net operations.
We do not presently have a NVIS antenna. We would like to request ISD evaluate installation of NVIS antenna and connect to our existing Icom IC-726 HF/6m transceiver using existing Alpha Delta 2B antenna switch. (2 position). Position 1 is existing Cushcraft R8 HF/6m vertical, Position 2 new pending NVIS antenna.
Our 2m FL-Digi station radio (old Kenwood TM-231) running on an unknown type base station antenna provides fair quality performance. We would like to request ISD to check the antenna and coax.
PC Electronics, Amateur Television Transceiver, Asset # 1003
Realistic TRC-46, CB Radio, Asset 365355
Revised 01/16/2024 Eric J Christensen K6EJC M-02
The CVS radio room has been out of service for almost 3 years due to flood damage from a pipe break in the wall between the jail and the radio room. Cournty services was finally able to repair the plumbing, reapair and repain the wall, repaint and remount the radio cubbies. They also installed new carpet. Our first net in the radio room was 01/08/2024.
Chris Galante, Terry Priesont, and myself (Eric K6EJC) spent several hours re-installing the coax cable runs to cubbies and re installing the county and district net radios. On 01/15/2024, I finished installing the HF, FT-8900R, DR-235 radiio.
Equipment inventory has not changed.
We are using the Motorla CDM-1550 as the County net Radio and an Icom IC-2200H as the District radio. 0n 01/15/2024 we updated the progamming in the IC 2200.
Our 220 station is an Alinco DR-235. We have a Signalink for it for future use on NBEMS. I will be donating my former Dell Windows 10 laptop for NBEMS use until CFMB provides one. We do not have a functioning 2m or 220 mhz digital station.
Our 2m FL-Digi station radio (old Kenwood TM-231) is presently un installed. It had been running on an unknown type base station antenna that provides fair quality performance. We would like to request ISD to check the antenna and coax. We are planning to install a Signalink to work with our Alinco DR-235 220 mhz radio for LADCS NBMES activity. This station was removed during rebuild of radio room and has not yet been re-installed.
Our HF station radio (Icom IC-726) shares a Cushcraft R-8 vertical antenna with the Yaesu FT-8900R radio (used for 6m). Radio selection is by use of a Alpha Delta 2B antenna switch. Our station has a new in package Diamond V-2000 2m/440/6m base station vertical antenna that was purchased by Station Booster group. We would like to request ISD install the V-2000 antenna on CVS station roof and connect via new coax cable run to the Yaesu FT-8900R transceiver. This would allow that radio to be used on 2m/440 and 6m. (We have 2 unused 500 foot rolls of coax avialable - kept under radio desk).
An alternative to above plan is to install (CFMB stock Comet 6m/10m base antenna along with appropriate duplexer to allow use with existing new in package Diamond V-2000 to provide 2m/440/6m/10m operation as back up VHF/UHF transceiver to permit interoperability communications with local city groups (Burbank, Glendale, San Fernando) which use UHF and VHF frequencies. 6m and 10m modes would be for DCS net operations.
The Icom IC-726 is an older generation HF radio and still works. If one is available from CFMB, we would like to upgrade it to a Yaesu FT-897, using available CFMB stock.
We do not presently have a NVIS antenna. We would like to request ISD evaluate installation of NVIS antenna and connect to our existing Icom IC-726 HF/6m transceiver using existing Alpha Delta 2B antenna switch. (2 position). Position 1 is existing Cushcraft R8 HF/6m vertical, Position 2 new pending NVIS antenna.
Our 2m FL-Digi station radio (old Kenwood TM-231) running on an unknown type base station antenna provides fair quality performance. We would like to request ISD to check the antenna and coax. We are planning to install a Signalink to work with our Alinco DR-235 220 mhz radio for LADCS NBMES activity. This station was removed during rebuild of radio room and has not yet been re-installed.
We have in our radio room a Kenwood TK-290 commerical HT, SN 00100514, DCS # 129, LASD inventory # AA030605.
It has a drop in charger and 2 additional batteries. I believe this may have come from Randy Benson, SK.
Updated 06/05/2022 re updated 01/15/2024 EJC k6EJC M02
PC Electronics, Amateur Television Transceiver, Asset # 1003
Realistic TRC-46, CB Radio, Asset 365355
Kenwood TM-241A SN 21000248
Kenwood TM-641A SN 30600293
Kenwood TM-741A SN 31100446
above Kenwood radios are in blak go box kit for future depolyment use
Extra IC-726 HF/6m SN 002976 Secondary radio, in original package
Icom AH-3 auto tuner for above SN 010621
Neither Icom units above are inuse, they are in their origina boxes.
Updated 01/15/2024 06/05/2022 EJC K6EJC M02
We are using the Motorla CDM-1550 as the District Radio and another TM-G707 as the Country radio. When running the District Net at 7:30, the signal overloads the front end of the County radio . The Country radio cannot be used while the District Net is in session.
Our HF station radio (Icom IC-726) shares a Cushcraft R-8 vertical antenna with the Yaesu FT-8900R radio (used for 6m). Radio selection is by use of a Alpha Delta 2B antenna switch. Our station has a new in package Diamond V-2000 2m/440/6m base station vertical antenna that was purchased by Station Booster group. We would like to request ISD install the V-2000 antenna on CVS station roof and connect via new coax cable run to the Yaesu FT-8900R transceiver. This would allow that radio to be used on 2m/440 and 6m.
An alternative to above plan is to install (CFMB stock Comet 6m/10m base antenna along with appropriate duplexer to allow use with existing new in package Diamond V-2000 to provide 2m/440/6m/10m operation as back up VHF/UHF transceiver to permit interoperability communications with local city groups (Burbank, Glendale, San Fernando) which use UHF and VHF frequencies. 6m and 10m modes would be for DCS net operations.
We do not presently have a NVIS antenna. We would like to request ISD evaluate installation of NVIS antenna and connect to our existing Icom IC-726 HF/6m transceiver using existing Alpha Delta 2B antenna switch. (2 position). Position 1 is existing Cushcraft R8 HF/6m vertical, Position 2 new pending NVIS antenna.
Our 2m FL-Digi station radio (old Kenwood TM-231) running on an unknown type base station antenna provides fair quality performance. We would like to request ISD to check the antenna and coax.
PC Electronics, Amateur Television Transceiver, Asset # 1003
Realistic TRC-46, CB Radio, Asset 365355
Our HF station radio (Icom IC-726) shares a Cushcraft R-8 vertical antenna with the Yaesu FT-8900R radio (used for 6m). Radio selection is by use of a Alpha Delta 2B antenna switch. Our station has a new in package Diamond V-2000 2m/440/6m base station vertical antenna that was purchased by Station Booster group. We would like to request ISD install the V-2000 antenna on CVS station roof and connect via new coax cable run to the Yaesu FT-8900R transceiver. This would allow that radio to be used on 2m/440 and 6m.
An alternative to above plan is to install (CFMB stock Comet 6m/10m base antenna along with appropriate duplexer to allow use with existing new in package Diamond V-2000 to provide 2m/440/6m/10m operation as back up VHF/UHF transceiver to permit interoperability communications with local city groups (Burbank, Glendale, San Fernando) which use UHF and VHF frequencies. 6m and 10m modes would be for DCS net operations.
We do not presently have a NVIS antenna. We would like to request ISD evaluate installation of NVIS antenna and connect to our existing Icom IC-726 HF/6m transceiver using existing Alpha Delta 2B antenna switch. (2 position). Position 1 is existing Cushcraft R8 HF/6m vertical, Position 2 new pending NVIS antenna.
Our 2m FL-Digi station radio (old Kenwood TM-231) running on an unknown type base station antenna provides fair quality performance. We would like to request ISD to check the antenna and coax.
Updated 01/16/2024 EJC k6EJC M02
PC Electronics, Amateur Television Transceiver, Asset # 1003
Realistic TRC-46, CB Radio, Asset 365355
Kenwood TM-241A SN 21000248
Kenwood TM-641A SN 30600293
Kenwood TM-741A SN 31100446
above Kenwood radios are in blak go box kit for future depolyment use
Extra IC-726 HF/6m SN 002976 Secondary radio, in original package
Icom AH-3 auto tuner for above SN 010621
Neither Icom units above are inuse, they are in their origina boxes.
Updated 06/05/2022 EJC K6EJC M02
PC Electronics, Amateur Television Transceiver, Asset # 1003
Realistic TRC-46, CB Radio, Asset 365355
PC Electronics, Amateur Television Transceiver, Asset # 1003
Realistic TRC-46, CB Radio, Asset 365355
Kenwood TM-241A SN 21000248
Kenwood TM-641A SN 30600293
Kenwood TM-741A SN 31100446
above Kenwood radios are in blak go box kit for future depolyment use
Extra IC-726 HF/6m SN 002976 Secondary radio, in original package
Icom AH-3 auto tuner for above SN 010621
Neither Icom units above are inuse, they are in their original boxes.
Updated 01/15/2024 06/05/2022 EJC K6EJC M02

## 13 LKD
Info new in 2024 noted In red.
District: 13 LKD |  |  | Location: DCS Radio Room |  |  |  | Prepared By: Bob Brammer S-/71, N-01 | 2024-01-11
Mfg | Model | Band(s) | Serial # | County Prop. | Operational |  | Comments
|  |  |  | Tag Number | Yes | No
LAKEWOOD STATION DCS Radio Room off EOC
2022 09 suggestions: Re-attaching the old under-counter console at the room's rear left county is needed along with possible strengthening of the shelf brackets on that side of the room. A suggestion to facilitate digital traffic: Adding a data-capable 2m radio adjacent to the Signalink would be very workable using an A/B switch to the Motorola's 2m antenna would be very helpful. It has been tested using jumpers and allows for both Winlink and NBEMS to be worked well. HF antenna needed for the Kenwood 2000.
1-Icom | IC-2200H | 2 M | 510777 | N/A | X |  | Memories update refreshed with thorough listing drawn from LMT's 2 meter Icom memories. Notably, in 2019, the Icom 2m radio seems to work but underperforms the Motorola 1550 by 4 S units. Noted on LKD Tac 1 simplex during local net check-ins from members in Buena Park and Seal Beach. During 2019 ShakeOut the City of Paramount could not be heard. In 3/2020 we got static from a South OC RACES operator doing a check but heard him full on the 1550. Radio is adequate for quite local operation. The inability to receive Paramount is of greatest concern.
2-Alinco | DR-235T | 220 MHz | M10447 | N/A | X |  | Unit functioning normally. Stored in LKD radio room as a backup. Replaced in 2024 by Bridgecom BCM 220.
3-Motorola | CDM-1250 | 2M-VHF | 1036TGQ0878 N/A | N/A | X |  | LASD Monitor, no mic
4-Alinco | DR-M06 | 6 M | 20716 | N/A | X |  | The unit worked OK reaching Carson and LMT during 2023/24 nets. The hand mic showed ware and we have swapped it with used mic.
5-Macom | KRY101162/12 | 10 M | R4BRE31546 | N/A | X |  | 2023 unit tested with S-50 to ID the correct codeplug channel. Limited 10m traffic has not allowed any contacts yet.
6-Motorola | CDM-1550 | LASD | 103TCNF789 | N/A | X |  | Unit functioning normally. A headset would be a welcome addition.
7-Kenwood | TS-2000 | HF-400 | 81000078 | N/A |  | X | 2023 radio tested during visit by S-50 and is workable on 40m only due to marginal antenna. Follow-up testing with an operator on a proper antenna showed the radio may still be workable. A proper HF antenna is needed. 2022/09/28: In 02/2022 the unit was been troubleshot and repaired by Jerry Kendrick with some follow-on cable work by Lakewood DCS member N-106 with OK by Jerry. COVID shut down further work.
8-Micom | Z-Trunk | HF Trunking | 6180 | N/A | X |  | Testing planned for 3/2020 per CFMB Dep Mana.
9-Astron | RM-50A | Pwr. Supply | Bolted Down | N/A | X
10-Astron | RS-35M | Pwr. Supply | Bolted Down | N/A | X
11-Astron | RS-35M | Pwr. Supply | Bolted Down | N/A | X
12-Tigertronics | Signalink kit |  |  | N/A | X |  | "Standard Config" kit working well and includes a Signalink, switch and cables for Yaesu and Bridgecom. This has been used for the MNN and the digital MNN and switched back and forth between 2m and 220 nets. Works well.
13-Urgentlink |  |  |  | N/A | X |  | This unit was serviced by Dep Elliot/ISD and updated in 2022. 2022 09 A firmware update was done by Z-09 for Dep Mana by her following his instructions on how to cycle the radio. We believe it was tested in 2023 by S-17.
14-Bridgecom | BCM-220 | 220 MHz |  | Acquiring # | X |  | Fall 2023 - DCS replacement unit installed. Operating normally. Radio bracket needs an additional screw mounted.
15-Yaesu | 8900 | 2m-VHF/70CM |  | Acquiring # | X |  | Fall 2023 - DCS replacement unit installed. Operating normally. To facilitate hosting the digital net and do NBEMS and Winlink training, it shares an antenna with station Motorola 2m radio. This was tested to be adequate to hit 440 repeaters safely with S-50 in 2023. A dual-band antenna would be preferred.
16 - Powerwerx | SS-30DV | Pwr. Supply | Temporary | N/A | X |  | Temporary use. This needs to surplanted with wiring to reach the room's Astron power supply.
Antennas: HF used by the Kenwood 2000 needs replacement. Marginally workable on 40m only. 2023 tests were done during a visit with S-50. Currently, 8900 is sharing the 2m antenna used by the Motorola 1550 via a switch. This allows the use of the Standard Configuration Signalink and Switcher to train staff. 8900 tested during the visit showed 70cm/440. It does work for local repeaters and is safe for 2m radio, but it is not ideal. A dual-band antenna would be better. Lakewood receives limited K6CPT-1 distortion on both Icom and Motorolla radios. The headset makes Icom 2300 preferred for MNN. | [6 empty] | Surplus 1.2GHz antenna Comet GP-21
N/A - All equipment is bolted down and property tags, if present, are not visible.
Mfg | Model | Band(s) | Serial # | County Prop. | Operational |  | Comments
|  |  |  | Tag Number | Yes | No
ARTESIA CITY HALL Planning Office https://photos.google.com/album/AF1QipMcVxe469smQQslJqZDY_Il6o7jZOwizXeA3C5-
Kenwood | TM-231a | 2 M | ? | ? | X |  | Artesia City Hall planning office 2023 location visited and spot-checked. The radio is functional on VFO, but memories do not seem to work. It's been suggested we swap in a new battery to see if it will then hold memories. Artesia Disaster Coordinator had mention considering moving the radio to an EOC at a commnity center. This has been tabled with COVID and staff change-over. 2022 09 07: Recent contacts have the city wanting to update their primary tired radio. They also want to shift the location to an adjacent office. No time set for this. A new Yaesu 6000, 2m/70cm radio or equivalent with data port and 220 rig have been suggested to them.
Astron | 20A | Pwr Supply | ? | ? | X
Comet | CX-333 triband | Antenna |  |  | X |  | Confirmed 08/2022: We got on the roof and confirmed a CX-333 tribander there. Adding a triplexer/duplexer would allow them to harness 2m, 440, and 220.
BELLFLOWER CITY HALL Planning office https://photos.google.com/album/AF1QipOMky2AZQu36SU7gQaoeOtIv5Oz87vmtaIPS9IO
Kenwood | TM-241a |  | ? | ? | X |  | Bellflower City Hall planning office 2023 location visited and spot-checked.
Astron | RS-35m | Pwr Supply | ? | ? | X
Astron | RS-7a | Pwr Supply | ? | ? | X
LAKEWOOD CITY HALL
Off-brand 2m mobile |  | Pwr Supply | ? | ? | X |  | Lakewood City Hall (now in the city hall-adjacent The Centre)
Off-brand 220 mobile |  | Pwr Supply | ? | ? | X |  | 2023 Fall - move to the new EOC location adjacent to city hall completed. EOC in the "art room" at the south end of The Centre 5000 Clark Ave. The scheduled DCS visit was delayed due to a city staffing issue. Test needed. DCS had been operating quarterly in the Pan Am location. We need to transition ops and test the new room. Some discussion done at Cerritos Car Shows.
Kenwood TH-F6a X 2 |  |  |  |  | X
CERRITOS CITY HALL/CERRITOS STATION
2023 and 2022; LASD contacts show renewed interest restarting DCS activity there and review of gear per discussion at a recent car show there. They appear to have had some discussions with Dep Elliot and ISD.

## 14 IDT
District: 14 IDT |  |  | Location: DCS RADIO ROOM |  |  |  | Prepared by: MARIO GUTIERREZ P-02 | DATE 3-18-2018
Mfg | Model | Band(s) | Serial # | County Prop. | Operational |  | Comments
|  |  |  | Tag Number | Yes | No
KENWOOD | TM-741A | 2M / 440 | 31100499 | 1270 | YES
KENWOOD | TM-241A | 2 METER | 31101241 | 1296 | YES
KENWOOD | TM-641A | 220 MHZ | 30600286 | 1321 | YES
KENWOOD | TM-531A | 1200 MHZ | 20528 | NONE | YES
ICOM | IC-726 | 6 METER | NONE | 550561 | YES |  | NO WORKING ANTENNA
ICOM | IC-726 |  | NONE | 550599 | YES |  | NO WORKING ANTENNA
Antennas | [6 empty] | Surplus
Report any Issues in the box below | [6 empty] | Report Surplus Equipment in the box below
Other Equipment
Mfg | Model | Type | Serial # | County Prop. | Operational |  | Comments
|  |  |  | Tag Number | Yes | No
ASTRON | RS-20A | POWER SUP92031460 | 92031460 | NONE | YES
ASTRON | RS-20A | POWER SUP92031460 | NONE | NONE | YES
ASTRON | RS-20A | POWER SUP92031460 | NONE | NONE | YES
ICOM | IC-55 | POWER SUP92031460 | NONE | NONE | YES
ICOM | IC-55 | POWER SUP | NONE | NONE | YES
RS ARCHER | HEADSET | HEADSET | NONE | YELLOW LASD | YES
RS ARCHER | HEADSET | HEADSET | NONE | YELLOW LASD | YES
RS ARCHER | HEADSET | HEADSET | NONE | YELLOW LASD | YES
RS ARCHER | HEADSET | HEADSET | NONE | YELLOW LASD | YES
WOOD FILE CABINET |  | 2 DRAWER | NONE | NONE | YES
INDUSTYRY 14 DOES NOT HAVE A DCS RADIO ROOM
WE DO NOT HAVE ANY ANTENNAS
ALL THE RADIO EQUIPMENT IS IN BOXES AT THE STATION
INDUSTYRY 14 DOES NOT HAVE A DCS RADIO ROOM
WE DO NOT HAVE ANY ANTENNAS
ALL THE RADIO EQUIPMENT IS IN BOXES AT THE STATION

## 15 PRV
District: 15 PRV |  |  | Location: Pico Rivera |  |  |  | Report by: Dave Olney, Q 01, WA6QZD | Date: (update 01/02/2024
Mfg | Model | Band(s) | Serial # | County Prop. | Operational |  | Comments
|  |  |  | Tag Number | Yes | No
Motorola | CDM 1550 | 2M | 001TJS1341 | U0054122 | X |  | Installed by Tech Team - Primary Radio
Icom | IC726 | 6M, 10M | 3033 | 550563 |  | X | Purchased October, 1992
Icom | IC726 | 6M, 10M | 3032 | 550564 |  | X | Purchased October, 1992
Icom | PS55 | power sup. | 13832 | none | X |  | Purchased October, 1992
Icom | PS55 | power sup. | 13831 | none |  | X | Purchased October, 1992 - not attached to any equipment
Kenwood | TM641A | 220M | 30600287 | 1322 |  | X | Purchased October, 1992
Kenwood | TM741A | 2M | 31100500 | 1271 |  | X | Purchased October, 1992
Astron | RS20A | power sup. | none | none | X |  | Purchased October, 1992
Astron | RS20A | power sup. | none | none | X |  | Purchased October, 1992
Antennas | [6 empty] | Surplus
Report any Issues in the box below | [6 empty] | Report Surplus Equipment in the box below
Other Equipment
Mfg | Model | Type | Serial # | County Prop. | Operational |  | Comments
|  |  |  | Tag Number | Yes | No
None | N/A | N/A | none | none
2 meter antenna SWR is 1.6:1 @ 145.300 and 147.270
440 antenna SWR is infinity: 1
6 meter antenna SWR is 1.5:1 @ 51.50 MHz
HF antenna SWR is 3.5:1 @29.50 MHz
HF antenna SWR is Infinity: 1 on all other frequencies
Tests performed by Keith Prebble, S-12, KD6PYD on 08/13/2015
DCS Technical Team Repair/Installation Report # PRV-01 issued on 08/13/2015, awaiting approval and Finalization.
Motorola unit installed per request and info supplied by ISD November, 2016. This is primary radio now, and used for all Station 15 communications performed on location. Antenna system is under current evaluation, with repair and/or replacement imminent as of 01/09/2017.
One pair of Archer headphones with 1/4" plug. Tag says: "Property of Los Angeles County Sheriff"
One Kenwood model TM271 radio (2M) no serial # - City of Pico Rivera # 12009 (this unit is used for most DCS net communications, as it is newer and more reliable. Donated by the city.)
Two Pac Comm Tiny 2 packet converters
One Kenwood model TM231A radio for packet communications
One Kenwood model TM531A radio for packet communications
One Astron RS20A power supply for packet communications
2 meter antenna SWR is 1.6:1 @ 145.300 and 147.270
440 antenna SWR is infinity: 1
6 meter antenna SWR is 1.5:1 @ 51.50 MHz
HF antenna SWR is 3.5:1 @29.50 MHz
HF antenna SWR is Infinity: 1 on all other frequencies
Tests performed by Keith Prebble, S-12, KD6PYD on 08/13/2015
DCS Technical Team Repair/Installation Report # PRV-01 issued on 08/13/2015, awaiting approval and Finalization.
Motorola unit installed per request and info supplied by ISD November, 2016. This is primary radio now, and used for all Station 15 communications performed on location. Antenna system is under current evaluation, with repair and/or replacement imminent as of 01/09/2017.
One pair of Archer headphones with 1/4" plug. Tag says: "Property of Los Angeles County Sheriff"
One Kenwood model TM271 radio (2M) no serial # - City of Pico Rivera # 12009 (this unit is used for most DCS net communications, as it is newer and more reliable. Donated by the city.)
Two Pac Comm Tiny 2 packet converters
One Kenwood model TM231A radio for packet communications
One Kenwood model TM531A radio for packet communications
One Astron RS20A power supply for packet communications
2 meter antenna SWR is 1.6:1 @ 145.300 and 147.270
440 antenna SWR is infinity: 1
6 meter antenna SWR is 1.5:1 @ 51.50 MHz
HF antenna SWR is 3.5:1 @29.50 MHz
HF antenna SWR is Infinity: 1 on all other frequencies
Tests performed by Keith Prebble, S-12, KD6PYD on 08/13/2015
DCS Technical Team Repair/Installation Report # PRV-01 issued on 08/13/2015, approved and installed.
Motorola unit installed per request and info supplied by Tech Team. This is primary radio now,
and used for all Station 15 communications performed on location.
One pair of Archer headphones with 1/4" plug. Tag says: "Property of Los Angeles County Sheriff"
One Kenwood model TM271 radio (2M) no serial # - City of Pico Rivera # 12009 (This unit was donated by the city, but no longer functional.)
Two Pac Comm Tiny 2 packet converters
One Kenwood model TM231A radio for packet communications
One Kenwood model TM531A radio for packet communications
One Astron RS20A power supply for packet communications
2 meter antenna SWR is 1.6:1 @ 145.300 and 147.270
440 antenna SWR is infinity: 1
6 meter antenna SWR is 1.5:1 @ 51.50 MHz
HF antenna SWR is 3.5:1 @29.50 MHz
HF antenna SWR is Infinity: 1 on all other frequencies
Tests performed by Keith Prebble, S-12, KD6PYD on 08/13/2015
DCS Technical Team Repair/Installation Report # PRV-01 issued on 08/13/2015, awaiting approval and Finalization.
Motorola unit installed per request and info supplied by ISD November, 2016. This is primary radio now, and used for all Station 15 communications performed on location. Antenna system is under current evaluation, with repair and/or replacement imminent as of 01/09/2017.
One pair of Archer headphones with 1/4" plug. Tag says: "Property of Los Angeles County Sheriff"
One Kenwood model TM271 radio (2M) no serial # - City of Pico Rivera # 12009 (this unit is used for most DCS net communications, as it is newer and more reliable. Donated by the city.)
Two Pac Comm Tiny 2 packet converters
One Kenwood model TM231A radio for packet communications
One Kenwood model TM531A radio for packet communications
One Astron RS20A power supply for packet communications
2 meter antenna SWR is 1.6:1 @ 145.300 and 147.270
440 antenna SWR is infinity: 1
6 meter antenna SWR is 1.5:1 @ 51.50 MHz
HF antenna SWR is 3.5:1 @29.50 MHz
HF antenna SWR is Infinity: 1 on all other frequencies
Tests performed by Keith Prebble, S-12, KD6PYD on 08/13/2015
DCS Technical Team Repair/Installation Report # PRV-01 issued on 08/13/2015, approved and installed.
Motorola unit installed per request and info supplied by Tech Team. This is primary radio now,
and used for all Station 15 communications performed on location.
One pair of Archer headphones with 1/4" plug. Tag says: "Property of Los Angeles County Sheriff"
One Kenwood model TM271 radio (2M) no serial # - City of Pico Rivera # 12009 (This unit was donated by the city, but no longer functional.)
Two Pac Comm Tiny 2 packet converters
One Kenwood model TM231A radio for packet communications
One Kenwood model TM531A radio for packet communications
One Astron RS20A power supply for packet communications

## 16 CAS
District: 16 CAS |  |  | Carson |  |  |  | Joseph Lanphen-R-01, WB6MYD | 2023-12-27
Mfg | Model | Band(s) | Serial # | County Prop. | Operational |  | Comments
|  |  |  | Tag Number | Yes | No
Yaesu | FT-897 | HF | 9H100381 | V0010038 | yes
Yaesu | FT-8900R | 6m,2m,70cm | 9G020084 | V0010080 | yes
Bridgecom | BCM-220 | 1 1/4m | VK0006 | AA 106223 | yes |  | Unit working properly. Mainly used for digital transmissions
ICOM | IC2200H | 2m | 5285667 | V0010155 | yes
Motorola | CDM 1550.L5+ | 2m |  |  |  |  | No serial or County tag visible
Astron | RS-20A |  | 8912518 | none | yes
Astron | RS-20A |  | 9204559 | none | yes
Astron | RS-20A |  | 9204538 | none | yes
Signalink USB with Network switch available. No interconnect cabling available
Antennas | [6 empty] | Surplus
Report any Issues in the box below | [6 empty] | Report Surplus Equipment in the box below
Other Equipment
Mfg | Model | Type | Serial # | County Prop. | Operational |  | Comments
|  |  |  | Tag Number | Yes | No
ICOM AH-3, HF Antenna tuner. s/n 10444. No tags. Not used.
ICOM AH-3, HF Antenna tuner. s/n 10445. No tags. Not used.
Kenwood TM231A, 2m, s/n 010037 No tags, Not used
Compaq Desk Pro 286e and small Compaq monitor. No tags, Not used.-Previously used for packet stationEX-850 printer. No tags. Not used.
The Yaesu FT-897 seems to cause no other interference with the 6m transceiver at this time.
All antenna's should be analyzed and findings left with the station DCS equipment.
No other issues to report at this time on any equipment
8172022 Need to test Motorola CDM 1550 L5+ with I think proper antenna. Previously connected antenna resulted in receive distortion.
8172022 The Alenco DR235 MKIII continues to have a problem with the squelch circuit.
ICOM AH-3, HF Antenna tuner. s/n 10444. No tags. Not used. 7/18/22 Device no longer present
ICOM AH-3, HF Antenna tuner. s/n 10445. No tags. Not used. 7/18/22 Device no longer available
Kenwood TM231A, 2m, s/n 010037 No tags, Not used 7/18/22 No microphone. Has no numbers
Compaq Desk Pro 286e and small Compaq monitor. No tags, Not used.-Previously used for packet stationEX-850 printer. No tags. Not used. 7/18/22 Devices no longer available
8/17/22. Along with the above notes. No manuals on any radio available. All this items had been removed 2-3 years ago before the remodel was started
ICOM AH-3, HF Antenna tuner. s/n 10444. No tags. Not used.
ICOM AH-3, HF Antenna tuner. s/n 10445. No tags. Not used.
Kenwood TM231A, 2m, s/n 010037 No tags, Not used
Compaq Desk Pro 286e and small Compaq monitor. No tags, Not used.-Previously used for packet stationEX-850 printer. No tags. Not used.
The Yaesu FT-897 seems to cause no other interference with the 6m transceiver at this time.
All antenna's should be analyzed and findings left with the station DCS equipment.
No other issues to report at this time on any equipment
8/17/2022 Need to test Motorola CDM 1550 L5+ with I think proper antenna. Previously connected antenna resulted in receive distortion.
8/17/2022 The Alenco DR235 MKIII continues to have a problem with the squelch circuit.
12/27/2023 Continue having problem with the Yaesu FT-897. Unable to determine whether transmitting or not. Never hear anything being received either.
12/27/2023 Yaesu FT-8900R, hand micro phone cord unraveling
ICOM AH-3, HF Antenna tuner. s/n 10444. No tags. Not used. 7/18/22 Device no longer present
ICOM AH-3, HF Antenna tuner. s/n 10445. No tags. Not used. 7/18/22 Device no longer available
Kenwood TM231A, 2m, s/n 010037 No tags, Not used 7/18/22 No microphone. Has no numbers
Compaq Desk Pro 286e and small Compaq monitor. No tags, Not used.-Previously used for packet station EX-850 printer. No tags. Not used. 7/18/22 Devices no longer available
8/17/22. Along with the above notes. No manuals on any radio available. All this items had been removed 2-3 years ago before the remodel was started
11/28/2-23 Alinco DR 235-MkIII LASD V0010100 AA 006596 stored in cabinet

## 17 LMT
District: 17 - Lomita |  |  | Location: Lomita Station |  |  | Prepared By: | Deane Bouvier, S-50 |  |  |  |  | Date: | 2024-01-23
Installed Equipment |  |  |  | County Prop. | Operational |  | Comments
Mfg | Model | Band(s) | Serial # | Tag Number | Yes | No
Motorola | CDM-1550LS+ | 2-meter | 001TJS1356 | U0054119 AA003830 | Yes |  | Position 1 on antenna #6 top, VHF Station Master
Motorola | XPR4500 | UHF | 038TKA0297 | *Property of W6LMT | Yes |  | Position 1 on Diamond X50 UHF/VHF #1 on the tower.
Icom | IC-2200H | 2-meter | 0527705 | AA006623 | Yes |  | Position 2a on antenna #8 mid, VHF Station Master. Reduced Rx signal strength readings indicates poor receiver sensitivity
Yaesu | FT-8900R | 6m/10m/ 2m/70cm | 81930444 | AA083630 | Yes |  | Position 2b on antenna #2, Tri-band 2m/70cm/12GHz combined with antenna #n, CP 610 6m/10m . Dual simultaneous receive:10m-6m-2m-70cm left side; 2m-70cm only right side. Operates on all 4 bands with duplexer and matching network.
Comet | CF-706 | 1.3-90 MHz 125-470 MHz | Duplexer and NG6R matching network | *Property of W6LMT | Yes |  | Position 2b combining the Triband and dual band 6m/10m antennas together to provide 4 band capability for the the FT-8900.
BridgeCom | BC-220 | 220 | VK0255 | AA106251 | Yes |  | Position #3 on antenna #7 220 colinear. Includes SignaLink interface connector on the data port
Yaesu | FT-897 | HF/2m/440 | 9H120164 | V00010040 AA006536 | Yes |  | Position 4 on antenna #11, USA 1942 HF on the roof and Diamond X-50 UHF/VHF #2 on the tower.
Tigertronics | SignaLink | USB | N/A | *Property of W6LMT | Yes |  | Position #3 shelf
Maituo | Network switch | 4-pushbutton | N/A | *Property of W6LMT | Yes |  | Position #3 shelf
Various | Cabling for above | USB, Ethernet | N/A | *Property of W6LMT | Yes |  | Position #3 shelf
Generic | Network switch | 2-pushbutton | N/A | *Property of W6LMT | Yes |  | Position #2 shelf
Radio Shack | Headsets (3 pr) | Monaural | N/A | *Property of W6LMT | Yes |  | Various positions, desk top
HP Computer | ProDesk 600680 G3 MT | Device Name: LMT-DCS | MXL8171CZ6 | AA016730 | Yes |  | Position #3 shelf. Supports digital modes connected via the SignaLink and network switch to the FT-8900, BCM-220 and FT-897.
Dell Monitor |  |  | CN-0668VC |  | Yes |  | Position #3 shelf
HP Printer | M203dw | LaserJet Pro M203dw | VNB5D02756 |  | Yes |  | Position #2 shelf
DuraComm | HE1U-10012 OG10012 | 100A Power Supply |  |  | Yes |  | Under the operating table. All radios on this power supply. The rack and power strip were purchased and are property of W6LMT.
DuraComm | DP‐10‐LED‐12 | Power Distribution Panel | Date code 2026 |  | Yes |  | Under the operating table
Astron | RS-20A | 20A Power Supply | 9204303 |  | Yes |  | Under the operating table, spare in case of DuraCom failure. 16 A continuous
Astron | RS-20A | 20A Power Supply | could not see |  | Yes |  | Under the operating table, spare in case of DuraCom failure. 16 A continuous
Antennas | Report any Issues in the box below | [5 empty] | Surplus | Report Surplus Equipment in the box below
Position #1 VHF Station Master has greater than 2:1 SWR over approximately a third of the 2m band. Antenna should be adjusted for good (<2:1) SWR over the entire band. Impinging tree limbs have been trimmed but should be removed in vicinity of antenna. 2m antenna shows good (<2:1) SWR when tested over entire 440 band, although currently not used for this band. Position #2: VHF Station Master has relatively good performance over most of the 2m amateur band; only a small portion near the top end of the band (just barely) exceeds 2:1 SWR. Antenna #n is a tri-band 2m/440/1.2 GHz antenna. It has slightly better 2m performance than 2m antenna at Position #1 and excellent 440 performance. 1.2GHz is no longer used by DCS | [6 empty] | Icom | IC-726 | 160-6 | 02920 | 550568 | No | Position 4
[7 empty] | Icom | IC-726 | 160-6 | 02908 | 550580 | No | Position 4
[7 empty] | Bearcat | BC-210 | Scanner | 252010 | C00357 | No | Position 4
Other Equipment |  |  |  | County Prop. | Operational |  | Comments
Mfg | Model | Type | Serial # | Tag Number | Yes | No
Alinco | DR-235 MkIII | 220 | M002215 | AA006587 | Partial |  | Removed from service because of the IF filter receiver problem. In the locked file cabinet 3rd drawer.
Kenwood | TM-V7 | FM 2m/70cm | 81000265 | *Property of W6LMT | Yes |  | Spare, in the locked file cabinet 3rd drawer
*Property of W6LMT indicates non-County-owned donated to or purchased by the District group

## 18 AVA
Info new in 2024 noted In red.
| District: 18 AVA |  | Location: Avalon Station 2nd floor gym, Santa Catalina Island |  |  |  |  | Prepared By: Bob Brammer, S-71/N-01 | Date: 01/11/2024
| Mfg | Model | Band(s) | Serial # | County Prop. | Operational |  | Comments
[5 empty] | Tag Number | Yes | No
| Yaesu | FT-8900R | FM Multiband | 9G020266 | AA006547 | X |  | Tag V0010051
| Yaesu | FT-8900R | FM Multiband | 9G020225 | AA006564 | X |  | Tag V0010060
| ICOM | IC 2200H | 2-meter | 528316 | AA006627 | X ? |  | TAG V0010151
| Alinco | DR-235T | 220 | M002ZZ8 | AA066597 | X ? |  | TAG V0010101 Radio was installed and tested with S60 during 2019 training visit.
| Kenwood | 241a | 2 meter Radio |  |  | ? | ? | Not in use
| ICOM | IC726 | 6 meter Radio | 03180 | 550570 | ? | ? | Old unit. Not in use.
| YAESU | FT-60 | VHF/UHF | 71541734 | N/A | X |  | Radiowith accessory items is in use by volunteer.
| YAESU | FT-60 | VHF/UHF | 2J540433 | N/A | X |  | In storage, in box.
| YAESU | FT-60 | VHF/UHF | 2J540430 | N/A | X |  | In storage, in box.
| YAESU | FT-60 | VHF/UHF | 2J540428 | N/A | X |  | In storage, in box.
| YAESU | FT-60 | VHF/UHF | 2J540429 | N/A | X |  | In storage, in box.
11/2023: DCS members tested both 2m and 220. Also, did a simplex test of 2m reach to Malibu-area 69 Bravo location successfully with LHS. AVA needs a printout of their 8900 code plug. 3/2020: Installation and testing of the Alinco 220 is the biggest change for Avalon. The radio workspace was improved slightly but is still cramped. It shares a niche with a station-wide copier and filing cabinet.
Reporting 4/2018 Unaccounted for Motorola
| Motorolla | CDM 1550-LST | VHF/UHF |  | N/A |  |  | Radio not on site. Volunteers do not remember it ever being present. 8900 has been their primary radio continuously.
| Antennas | [6 empty] | Surplus
| Report any Issues in the box below | [6 empty] | Report Surplus Equipment in the box below
Other Equipment
| Mfg | Model | Type | Serial # | County Prop. | Operational |  | Comments
[5 empty] | Tag Number | Yes | No
| Astron | RS-20A | Power Sply. | 9204524 | N/A | X
| ICOM | PS-55 | Power Sply. |  | N/A |  | X
| Astron | RS-20A | Power Sply. |  | 9204048 | ? | ? | Old unit. Not in use.
1 | HRO 50' cable | 8X/50U 50' (estimated) | Coax cable, PL259s connectors |  |  | ? | ? | Unused in bag.
3 | Diamond | SRH77CA | HT Antennas |  |  | ? | ? | Unused in original package.
3 | For Yasue FT60 | FBA-25A | AA Batt pkg |  |  | ? | ? | Unused in original package.
3 | For Yasue FT60 | E-DC-5B | Power cord |  |  | ? | ? | Unused in original package.
3 | For Yasue FT60 | MH-34 | Hand mic for HT |  |  | ? | ? | Unused in original package.
4 | Generic PA49B | VAC 370B | Rapid charger |  |  | ? | ? | Unused in original package.
4 | MLS 100 | Speakers | 12 watt |  |  | ? | ? | Unused in original package.
- 2-m Vertical Antenna mounted on communications tower (unknown origin)
- 3x 20-foot new antennas stored in Avalon Canyon Storage Area (now defunct because of storage outside, while waiting several years for LA County installers)
- 2-m Vertical Antenna mounted on communications tower (unknown origin)
- 3x 20-foot new antennas stored in Avalon Canyon Storage Area (now defunct because of storage outside, while waiting several years for LA County installers)
- 2-m Vertical Antenna mounted on communications tower (unknown origin)
- 3x 20-foot new antennas stored in Avalon Canyon Storage Area (now defunct because of storage outside, while waiting several years for LA County installers)
NOTES by Brammer 4/9/2018: All text on this page is new info per the 4/8/2018 visit. Ser Diana's detailed notes below on AVA lacking credible 2 meter antenna. This is a key downside found on the trip. (See below)
Positive adds to the inventory include four Yaseu HTs with mic and power accessories though batteries haven't been maintained and may need replacement. AA accessory backs are a plus.
The 220MHz mobile found stored but wasn't tested, and the coax anntenna cable that tested well has value too. They don't use 220MHz much on Catalina generally and rely on 2 meter and 440. They may be a good candidate, per how they operate there, to be part of DCS' using 440. Gus Gustafson has historic and technical knowledge and Cheryl Johnson has a sense of how they operate on the island.
UPDATE 4/9/2018 BY STAFF 60: Bob Brammer, N-01, and I searched extensively yesterday afternoon at the Avalon Station (with station assistance) for the Motorola CDM-1550 DCS radio supposedly there but we did not find it. We also went downstairs into the dispatch area (at Mana's suggestion via cellphone) and they let us thoroughly look there but no CDM-1550 was found and no one recalled seeing such a unit when we showed them the Motorola box I brought. Dispatch there does have a freestanding VHF Motorola CDM-1250 (not encased in a Motorola power supply) which I confirmed is tuned only to L.A. County Fire Department tactical frequencies, Avalon harbor patrol, and marine channels.
I returned home with the Motorola CDM-1550 we brought to install and will get it to Dick Rath so he can return it to CFMB tomorrow pending resolution of the original CDM-1550's status. But even if we exchanged the Motorola CDM-1550 radio as intended it would not have worked well. My RigExpert AA-600 antenna analyzer found the SWR on Avalon DCS' supposed "2-meter/440" antenna was a terrible 3.6-4.0 across the 2-meter band. See attached photos showing SWR of 4.0 on input to the DCS Mt. Disappointment repeater and good SWR of 1.5 on input to the local Avalon 440 repeater that almost everyone in town can reach. As this antenna was fine on 440-450 MHz and above it probably is a commercial UHF antenna. Avalon DCS people told us when they try using 2-meters sometimes it works and other times not. We tested yesterday on a clear sunny day and reached the DCS simulcast system and some other 2-meter repeaters. But on a foggy, rainy, or misty day I suspect there's enough attenuation on the minimal forward power to prevent satisfactory communication.
The 220 MHz amateur antenna there works fine, but the 220 radio is still in its original box (unused) and no place to install it. The one installed DCS Yaesu FT8900 radio is next to a copier machine in the Gym room. A plan to move the DCS radios into the conference room (station EOC) down the hallway never materialized.
More info being sent to Deane today about the technical situation at Avalon DCS (including the station's radio inventory report)...will also be in contact with Dick to return the CDM-1550 tomorrow.
- 2-m Vertical Antenna mounted on communications tower (unknown origin)
- 3x 20-foot new antennas stored in Avalon Canyon Storage Area (now defunct because of storage outside, while waiting several years for LA County installers)
- 2-m Vertical Antenna mounted on communications tower (unknown origin)
- 3x 20-foot new antennas stored in Avalon Canyon Storage Area (now defunct because of storage outside, while waiting several years for LA County installers)
- 2-m Vertical Antenna mounted on communications tower (unknown origin)
- 3x 20-foot new antennas stored in Avalon Canyon Storage Area (now defunct because of storage outside, while waiting several years for LA County installers)
NOTES by Brammer 4/9/2018: All text on this page is new info per the 4/8/2018 visit. Ser Diana's detailed notes below on AVA lacking credible 2 meter antenna. This is a key downside found on the trip. (See below)
Positive adds to the inventory include four Yaseu HTs with mic and power accessories though batteries haven't been maintained and may need replacement. AA accessory backs are a plus.
The 220MHz mobile found stored but wasn't tested, and the coax anntenna cable that tested well has value too. They don't use 220MHz much on Catalina generally and rely on 2 meter and 440. They may be a good candidate, per how they operate there, to be part of DCS' using 440. Gus Gustafson has historic and technical knowledge and Cheryl Johnson has a sense of how they operate on the island.
UPDATE 4/9/2018 BY STAFF 60: Bob Brammer, N-01, and I searched extensively yesterday afternoon at the Avalon Station (with station assistance) for the Motorola CDM-1550 DCS radio supposedly there but we did not find it. We also went downstairs into the dispatch area (at Mana's suggestion via cellphone) and they let us thoroughly look there but no CDM-1550 was found and no one recalled seeing such a unit when we showed them the Motorola box I brought. Dispatch there does have a freestanding VHF Motorola CDM-1250 (not encased in a Motorola power supply) which I confirmed is tuned only to L.A. County Fire Department tactical frequencies, Avalon harbor patrol, and marine channels.
I returned home with the Motorola CDM-1550 we brought to install and will get it to Dick Rath so he can return it to CFMB tomorrow pending resolution of the original CDM-1550's status. But even if we exchanged the Motorola CDM-1550 radio as intended it would not have worked well. My RigExpert AA-600 antenna analyzer found the SWR on Avalon DCS' supposed "2-meter/440" antenna was a terrible 3.6-4.0 across the 2-meter band. See attached photos showing SWR of 4.0 on input to the DCS Mt. Disappointment repeater and good SWR of 1.5 on input to the local Avalon 440 repeater that almost everyone in town can reach. As this antenna was fine on 440-450 MHz and above it probably is a commercial UHF antenna. Avalon DCS people told us when they try using 2-meters sometimes it works and other times not. We tested yesterday on a clear sunny day and reached the DCS simulcast system and some other 2-meter repeaters. But on a foggy, rainy, or misty day I suspect there's enough attenuation on the minimal forward power to prevent satisfactory communication.
The 220 MHz amateur antenna there works fine, but the 220 radio is still in its original box (unused) and no place to install it. The one installed DCS Yaesu FT8900 radio is next to a copier machine in the Gym room. A plan to move the DCS radios into the conference room (station EOC) down the hallway never materialized.
More info being sent to Deane today about the technical situation at Avalon DCS (including the station's radio inventory report)...will also be in contact with Dick to return the CDM-1550 tomorrow.

## 21 CEN
| District: 21 -CEN |  |  | Location: Century Station |  |  |  | Prepared By: Roberta Gobert, A-003 | Date: 02/14/2018
| Mfg | Model | Band(s) | Serial # | County Prop. | Operational |  | Comments
[5 empty] | Tag Number | Yes | No
1 | Alinco | Dr-235 Mk3 | 1.25m | M002211 | AA006583 | x |  | Icom SP-8 Desk Mic
2 | Icom | IC-726 | 6 m | 3158 | 5505701 | x
3 | Icom | IC2200H | 2 m | 528320 | AA06708 | x
4 | Icom | IC-726 | 10 m(160-6) | 3197 | none | x |  | Icom SP-8 Desk Mic
5 | Icom | IC-729 | 160-10 m | 1320 | none | x |  | Icom SP-8 Desk Mic
6 | Motorola | CD<M-1550LS | 2m | not visable | not visable | x | x | radio is inside enclosure - need manual - not able to operate this radio to test it.
| Antennas | [6 empty] | Surplus
| Report any Issues in the box below | [6 empty] | Report Surplus Equipment in the box below
Other Equipment
x+
| Mfg | Model | Type | Serial # | County Prop. | Operational |  | Comments
[5 empty] | Tag Number | Yes | No
1 | Astron | RS-20A | power supply | 91101321 | none | x |  | Alinco DR-235MK3
2 | Astron | RS-20A | power supply | 9204522 | none | x |  | with Icom 726 10 m radio
3 | Astron | RS-20A | power supply | 90081637 | none | x |  | with Icom IC-2000H 2m radio
4 | Icom | PS-55 | power supply | none | none | x |  | With Icom 726 10m radio
5 | Icom | PS-55 | power supply | none | none | x |  | with Icom 729 160-6 m radio
6 | Icom | PS-55 | power supply | none | none | x |  | with Motorola radio
| Kenwood | SM-8 | Headset |  |  | x |  | At all 6 work stations
| CF 360 box | [6 empty] | At 1.25 station and 10 m station
i
Recommend checking all antennas getting a lot of noise
Compaq Deskpro 286E personal computer, County ID tag 512730; has monitor and keyboard; very old, has 5.25" floppy disk drive.
Epson FX850 tractor feed printer. Has L.A.. County Office of Emergency Management property tag 1080. Serial number ODN0023097.
Two PacComm Tiny-2 TNCs: serial number TH286 on the 2m TNC, no serial number on the 1.2 GHZ TNC.
FAX machine: Fujitsu DEX530, L.A. County property tag 550587. Could not determine whether it still works...ink cartridge was dried up and no phone line at machine.
Recommend checking all antennas getting a lot of noise
Compaq Deskpro 286E personal computer, County ID tag 512730; has monitor and keyboard; very old, has 5.25" floppy disk drive.
Epson FX850 tractor feed printer. Has L.A.. County Office of Emergency Management property tag 1080. Serial number ODN0023097.
Two PacComm Tiny-2 TNCs: serial number TH286 on the 2m TNC, no serial number on the 1.2 GHZ TNC.
FAX machine: Fujitsu DEX530, L.A. County property tag 550587. Could not determine whether it still works...ink cartridge was dried up and no phone line at machine.

## 22 LHS
District: 22 LHS |  |  | Location: Malibu/Lost Hills |  |  |  | Prepared By: Tom Cagan K-01 | Date: 12/15/2023
Mfg | Model | Band(s) | Serial # | County Prop. | Operational |  | Comments
|  |  |  | Tag Number | Yes | No
Motorola | CDM-1550-LS | 2M |  | AA083645 | X |  | Radio in station Malibu/Lost Hills Radio Room connected and operable
Antennas | [6 empty] | Surplus
Report any Issues in the box below | [6 empty] | Report Surplus Equipment in the box below
Other Equipment
Mfg | Model | Type | Serial # | County Prop. | Operational |  | Comments
|  |  |  | Tag Number | Yes | No
Deputy Mark P. Winn (KK6LYI), who is responsible for the Station Sub-EOC has requested ISD to provide an antenna to the radio's persent location. Deputy Winn may be contacted at the station direct number 818-878-1808, or by cell phone at 818-522-5153.
Deputy Mark P. Winn (KK6LYI) who was responsable for the Sub-EOC, is now K-05 and has retired from LASD
All other radio equipment at LHS is either Station Inventory or DCS-10 Inc. Inventory.
None
Deputy Mark P. Winn (KK6LYI), who is responsible for the Station Sub-EOC has requested ISD to provide an antenna to the radio's persent location. Deputy Winn may be contacted at the station direct number 818-878-1808, or by cell phone at 818-522-5153.
Deputy Mark P. Winn (KK6LYI) who was responsable for the Sub-EOC, is now K-05 and has retired from LASD.
According to Sergeant R. Armstrong, DCS-22 member Deputy Coleman Garside, K-411 will be put in charge of the Sub-EOC as soon as he is off patrol training .
All other radio equipment at LHS is either Station Inventory or DCS-10 Inc. Inventory.
None

## 26 PLM
Date:
District: 26 PLM |  |  | Location: PALMDALE |  |  |  | Prepared By: KEITH FRENCH L-03 | Revalidated 1/15/2024
Mfg | Model | Band(s) | Serial # | County Prop. | Operational |  | Comments
|  |  |  | Tag Number | Yes | No
ICOM | ID-1 | UNKNOWN | N/A | NONE | UNKNOWN |  | 1.2 GHZ MOUNTED IN CABINET WITH COAX, FACE PLATE AND MICS IN BOX TOP SHELF
ICOM | ID-1 | UNKNOWN | N/A | NONE | UNKNOWN |  | "
MOTOROLA | CMDM1550-LS+ | 480MHZ | WB4076796 | NONE | X |  | PROGRAMMED LASD FREQUENCIES
MOTOROLA | CMDM1550-LS+ VHF | 2M | WB4113207 | U0054112 | X |  | CURRENT DCS CODE PLUG INSTALLED
ALINCO | DR235 | 220 MHZ | M103827 | NONE | X |  | PROGRAMMABLE
ICOM | IC2200H | 2M | 502715 | NONE | X |  | PROGRAMMABLE
ALINCO | DR-M06TH | 6M | T004202 | NONE | X |  | PROGRAMMABLE
KENWOOD | TS-2000 | 2M,70CM,HF | 80200077 | V0027959 | X |  | PROGRAMMABLE
Signalink
(1) MOTOROLA DESK MIC FOR MOTOROLA RADIOS.
(1) HEADSET
POWER SUPPLIES: (2) ASTRON RS35M (1) ASTRON RS35A
Antennas | [6 empty] | Surplus
Report any Issues in the box below | [6 empty] | Report Surplus Equipment in the box below
Other Equipment
Mfg | Model | Type | Serial # | County Prop. | Operational |  | Comments
|  |  |  | Tag Number | Yes | No
MOTOROLA | HMN 3000B | DESK MIC | N/A | NONE | X |  | VERY LOUD AUDIO. FOR MOROROLA RADIOS ONLY
UNKNOWN | N/A | HEAD SET | N/A | NONE | X |  | USES ADAPTER DOES NOT WORK ON MOTOROLA
Signalink |  |  |  |  | X |  | Configured for use with TS-2000
ANTENNA #17: HIGH SWR ON 80M. ANTENNA IS DAMAGED FROM HIGH WINDS AND UPPER ELEMENTS ARE MISSING. REPAIR AND/OR REPLACEMENT PROCESS IN WORK WITH ISD.
THE RADIOS AT STATION 26 ARE IN THE BREIFING ROOM AND CAN BE AT CONFLICT WITH TRAINING, ETC.
RESERVE DEPUTIES MEET IN THIS ROOM THE FIRST MONDAY OF THE MONTH AT 1900.
(2) KANTRINICS KPC3+ TNC'S STILL IN BOX.
NOTE:
PALMDALE CITY HAS FUNED A MOBILE COMMAND POST .SIMILAR TO A CLASS "A" MOTORHOME FOR STATION 26. AS FAR AS I KNOW THIS IS NOT DCS EQUIPTMENT.
IT IS OUTFITTED WITH MUTIPLE DEPARTMENT RADIOS. AS WELL AS A KENWOOD TS-2000 OPERATING ON 2M AND 70CM , A BACKWOODS MULTIBAND VERTICAL ANTENNA IS AVAILABLE FOR HF.
OTHER EQUIPTMENT IN THAT VEHICLE: SEVERAL, MC-60 DESK MICS , AND FLIGHT LINE TYPE HEADSETS WITH NOISE CANCELING MICROPHONES.
ANTENNA #17: HIGH SWR ON 80M. ANTENNA IS DAMAGED FROM HIGH WINDS AND UPPER ELEMENTS ARE MISSING. REPAIR AND/OR REPLACEMENT PROCESS IN WORK WITH ISD.
THE RADIOS AT STATION 26 ARE IN THE BREIFING ROOM AND CAN BE AT CONFLICT WITH TRAINING, ETC.
RESERVE DEPUTIES MEET IN THIS ROOM THE FIRST MONDAY OF THE MONTH AT 1900.
(2) KANTRONICS KPC3+ TNC'S STILL IN BOX.
NOTE:
PALMDALE CITY HAS FUNED A MOBILE COMMAND POST .SIMILAR TO A CLASS "A" MOTORHOME FOR STATION 26. AS FAR AS I KNOW THIS IS NOT DCS EQUIPTMENT.
IT IS OUTFITTED WITH MUTIPLE DEPARTMENT RADIOS. AS WELL AS A KENWOOD TS-2000 OPERATING ON 2M AND 70CM , A BACKWOODS MULTIBAND VERTICAL ANTENNA IS AVAILABLE FOR HF.
OTHER EQUIPTMENT IN THAT VEHICLE: SEVERAL, MC-60 DESK MICS , AND FLIGHT LINE TYPE HEADSETS WITH NOISE CANCELING MICROPHONES.

## 29 WAL
District: 29 |  |  | Location: Walnut |  |  |  | Prepared By: Keith Prebble | 2024-02-05
Mfg | Model | Band(s) | Serial # | County Prop. | Operational |  | Comments
|  |  |  | Tag Number | Yes | No
Icom | IC-726 | HF | 2980 | S50576 | X
Kenwood | TM-641A | 2M/220/440 | H1328 | 30600113 |  | X | Returned to CFMB for salvage 2023 - B.O. unit
Kenwood | TM-271A | 2-meter |  |  | X |  | 2-meter radio was purchased by the Walnut Station Boosters Club to replace the Walnut City
owned 2-meter radio in the DCS radio room. Walnut Station Boosters donated the radio to DCS.
Motorola | CDM1550LS | VHF |  |  | X |  | Radio contained in a radio/power supply box
Bridgecom Systems | BCM-220 | 1.25 Meter | VK0009 | AA106226 |  | X | Receive - Yes, Transmit - No
Yaesu | FT-8900R | 2,6,10M,70CM | 41800453 | AA106258 | X
Antennas | [6 empty] | Surplus
Report any Issues in the box below | [6 empty] | Report Surplus Equipment in the box below
Other Equipment
Mfg | Model | Type | Serial # | County Prop. | Operational |  | Comments
|  |  |  | Tag Number | Yes | No
Astron | RS-20A-BB | Power Supply | - | - | X
Astron | RS-20A-BB | Power Supply | - | - | X
Reception to Mt. Disappointment on 145.300 is marginal at best. - Outstanding repair order
HF antennas do not work as well as they should. The 6 and 10 M radios are tied to the same antenna preventing simultaneous operation. - Outstanding repair order
Old '90 era packet equipment

## 27 MDR
District: 27 MDR |  |  | Location: Marina Del Rey |  |  |  | Prepared By: N. Geitgey, S-65 | Date: 02/11/2018
Mfg | Model | Band(s) | Serial # | County Prop. | Operational |  | Comments
|  |  |  | Tag Number | Yes | No
Motorola | CDM1550 |  | GCN6114C |  | x
Antennas | [6 empty] | Surplus
Report any Issues in the box below | [6 empty] | Report Surplus Equipment in the box below
Other Equipment
Mfg | Model | Type | Serial # | County Prop. | Operational |  | Comments
|  |  |  | Tag Number | Yes | No
None
None
Donated Cushcraft Ringo Ranger ARX2
None
None
Donated Cushcraft Ringo Ranger ARX2
None
None
Donated Cushcraft Ringo Ranger ARX2
None
None
Donated Cushcraft Ringo Ranger ARX2
None

## 95 AERO
District: 95 AERO |  |  | Location: Aero Bureau |  |  |  | Prepared By: Rick Norwood, Staff 11
N21 and N22 comments 3/2022 be,
Mfg | Model | Band(s) | Serial # | County Prop. | Operational |  | low
|  |  |  | Tag Number | Yes | No
Motorola | CDM1550 | VHF |  | AA083648 | X
0
Antennas | [6 empty] | Surplus
Report any Issues in the box below | [6 empty] | Report Surplus Equipment in the box below
Other Equipment
Mfg | Model | Type | Serial # | County Prop. | Operational |  | Comments
|  |  |  | Tag Number | Yes | No
Alinco |  | 220 |  |  | X |  |  | Privately owned radio supplied by Bureau staff
Yaesu |  | 2 Meter |  |  | X |  |  | Privately owned radio supplied by Bureau staff
Motorola | Power PS |  |  | None Visable | X
3/2020 notes from operators: The Alinco 220 works fine on repeater but local VFO reported by N21 and N22 to be off by 5KC's. Discussions with N22 and N21 suggest we try and merge unique items from the code plug with a what is routinely used at LKD13 to see it this adjusts the issue. We have RT Systems software for this. Workspace has been infringed upon by large Aero charging station but it still operations. Headsets borrowed from LKD13 have help operators in the now cramped space.
None
None
None
None

## SCC
District: SCC |  |  | Location: Trailer A |  |  |  | Prepared By: Michele Chimienti, Z01 | Date: 1/15/24
Mfg | Model | Band(s) | Serial # | County Prop. | Operational |  | Comments
|  |  |  | Tag Number | Yes | No
Motorola | CDM1550-LS | VHF | 001TJS1195 | U0054113 | X |  | Asset No.AA003824
Yaesu | FT-897D | HF/VHF/UHF | 9H100389 | V00010022 | X |  | Asset No.AA006518
Bridgecom | BCM-220 | 220mhz |  |  | X |  | Asset No.AA006578
Yaesu | FT-8900R | Quad Band | 9G020269 | V0010048 | X |  | Asset No. AA006544
Antennas | [6 empty] | Surplus
Report any Issues in the box below | [6 empty] | Report Surplus Equipment in the box below
Other Equipment
Mfg | Model | Type | Serial # | County Prop. | Operational |  | Comments
|  |  |  | Tag Number | Yes | No
Signal Link Radio Selector | MT-VIKI |  |  |  | X |  | no tags found
Signal Link USB - Sound Card |  |  |  |  | X |  | no tags found
HP Desktop | ProDesk 600 G3 MT | Y3E03AV | MXL8171CZR |  | X |  | Asset No. AA016735
Panosonic laptop | Tough Book | Harris | RF-3577-23EN | 600740 | X |  | Asset No. AA004488
Dell Monitor |  |  |  |  | X |  | Asset No. AA054198
HP keyboard |  |  |  |  | X |  | no tags found
Astron | RS-35M | Power Supply | 2012060061 | NONE | X |  | Asset No. AA061757

## EOB
District: EOB |  |  | Location: EOB |  |  |  | Prepared By: Jim Longobardo Z-07 | Date: 08-24-2022
Mfg | Model | Band(s) | Serial # | County Prop. | Operational |  | Comments
|  |  |  | Tag Number | Yes | No
Yaesu | FT 897 | HF/2m/440 | 9H120162 | V0010012, AA006508 | X
Astron | RS-20A | Pwr Supply | None Visable | ? | X
Yaesu | FT-8900R | 10m/6m/2m/440 | None Visable | V0010056, AA006551 | X
TPL | 18A, 12.8V | Pwr Supply |  | 355716 | X |  | This unit is non-operational, used as mounting base
Alinco | DR-235 | 220 | None Visable | V0010099, AA006591 | X
TPL | 18A, 12.8V | Pwr Supply | None Visable | 363069 | X |  | This unit is non-operational, used as mounting base
Icom | IC-2200H | 2 Meters | None Visable | AA006706 | X
TPL | 18A, 12.8V | Pwr Supply |  | ? | X |  | This unit is non-operational, used as mounting base
Motorola | CDM 1550-LS | 2 Meters | CA72001438 | None Visable | X
Barrett | 2050 | 1-30MHz | None Visable | AA099115 | X |  | Barrett multi-wire dipole 3-30 MHz
Barrett | 2023 | HF Modem | None Visable | AA099097 | Unk
Barrett | 2022 | Pwr Supply | None Visable | AA099096 | X
Harris | 05DX08-VS | CWIRS | FC00190 | None Visable | X |  | CWIRS unit mounted in Harris Desktop Station
Antennas | [6 empty] | Surplus
Report any Issues in the box below | [6 empty] | Report Surplus Equipment in the box below
Mfg | Model | Type | Serial # | County Prop. | Operational |  | Comments
|  |  |  | Tag Number | Yes | No
Tech Comm |  | Hand Set | 401-25470 | None Visable | Unk |  | Unable to locate
Motorola |  | Pwr Supply | Non visable | None Visable | X |  | Power supply for Moto 1550
Motorola | 1006T | Headset | SHS 1890-15 | None Visable |  |  | Unable to locate
Kenwood | HS-5 | Headset | Non visable | None Visable | X |  | 3 Units
Plantronics |  | Headset | Non visable | None Visable | Unk |  | 5 Units
Rapid M | RM6 | Data/ALE Modem | LACo 610140 | AA099103 | X |  | Connected to Barrett HF Radio
ICOM |  | Desk Mike | 27623 | None Visable | X |  | Connected to IC-2200H
Astron | RM50 | Power Supply |  | None Visable | X
Comments below added by Staff 50, 3/23/2018
*It is unacceptable to have the FT897 and FT8900 limited to a single band. The antenna complement needs to be added to allow these radios to achieve their capability. See the Tech Team Standard Configuration.
**The Icom IC2200H if it is probably connected via a duplexer to the single band 220 antenna for the DR 235 which is unacceptable. The previous antenna that was replaced was a 2m/220 dual band antenna. The Icom needs a dedicated VHF antenna.
THIS IS THE EOB THAT NEEDS TO TALK TO ANYONE ON ANY AMATEUR FREQUENCY!
None
None